December 3, 2001

TO:		Vermont Yankee Stakeholders

FROM:	Bobbi Kilburn – Treasury and Risk Administrator

SUBJECT:  	Vermont Yankee Notification

On Saturday evening, December 1, 2001 the plant staff discovered a fuel leak.  The impact that this has is as follows; every Monday Vermont Yankee performs a Control Rod Drive inspection at 100% power starting at 2000 hours (8:00 PM) to meet specific tech spec surveillance requirements.  This inspection will no longer be able to be performed at 100% power.

Every Monday until further notice the inspection schedule will be as follows:

1950(7:50PM) – 2000(8:00PM) hours		*Plant will reduce to 90% power.

2000(8:00PM) – 2100(9:00PM) hours	*Control Rod Drive Inspection will be completed at 90% power.

2100(9:00PM) – 0700(7:00AM) (Tuesday Morning)	*The plant will start to ramp up to 100% power at 1% per hour for 10 hours reaching 100% power at 0700 the following morning.

Should you have any questions please contact me at (802) 258-4120.