Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Sat., Feb. 9, 2002  ()

| 1005 | Great Lakes | They lost a unit at station 5. Pressure dropped down temporarily to 825. It’s back up to 840 and the volume is back up, a little over 250 now. It had dropped down to 240 temporarily. Hall |
| --- | --- | --- |
| 1005 | NGPL Eddy Co. | George with NGPL called and said that they had an ultrasonic failure at the interconnect so they are shutting in NGPL Eddy Co. Current day nom is 23.449. Spoke to Linda Ward and she was aware of this. Muntz |
| 1019 | NGPL Eddy Co. | Just spoke with Darrell Schoolcraft and Linda Ward. NGPL is going to move their Eddy Co. nom over to Winkler and deliver at that point. Currently Winkler has a 45.458 nom there. Eddy Co. nom for the current day is 23.449. We are going to flow all of this at NGPL Winkler. Muntz |
| 1053 | Beatrice | Called the OCC. They got a hold of the on call Larry. Asked him about 19. He said it’s set up on the “C” line for Trailblazer. I was trying to put it on the “D”. He said to go ahead and try 21 which I have. I’ve got a start command into it. It should come on line and pull that down, get that Trailblazer gas coming in better. Right now I’m showing a 306 on the 325 that just came up at 9:00. Hall |
| 1206 | Stevens 1 | Unit 2 is down. The operator has already called in. He’s headed that direction. Armitage |
| 1227 | Stevens 4 | Unit 4 is down. The operator has already called in. He’s got another one headed to Stevens 4. Armitage |
| 1253 | Stevens 3 | Unit 3 is down. The operators called in and said when they get the other two stations back on then they will go get this one back on. Armitage |
| 1420 | Beatrice | Got a call from George with NGPL on this Trailblazer. Got a 325 nom, only spotting 306. I put on a 2000, trying to get the pressure down which I accomplished. Went from around 600 down to 580 but the volume only increased about 6-8 million. Larry is going to go out and check out at Beatrice to see if there is anything else that may have happened and see if we can get a little more of that gas into our system like we’re supposed to. He’ll let me know. Hall |
| 1427 | Stevens Co. 7 | Unit 4 is down. I notified Steve at Stevens 3. He will get a hold of Bruce and send him over to Stevens 7. Armitage |
| 1435 | Station 7 | Took unit 703 down, no demand. Muntz |
| 1530 |  | Issued Cunningham an order to start withdrawing 200. Armitage |
| 1551 | Beatrice | I just got through talking to Larry. He was out there trying to see if we could boost up the volume a little bit. We now have 4000 HP more on, two 2000’s have been added at Beatrice to the “D” line. We have pulled the header pressure down on the “D” suction. We pulled it down from 585 to 558 and we haven’t gained anything really as far as volume goes, gained very little. The Trailblazer volume has gone from 299 up to 305 and the pressure remains pretty much the same at the 630 coming into us. Trailblazer was supposed to have raised their pressure by 5# but we still aren’t getting the 325 flow rate. Also have somebody headed out to Palmyra to put another unit on up there on the “D” suction so we’ll see if we can pull the “D” pressure on the discharge side at Beatrice down some. Hall |
| 1618 | Ventura | Just talked to Jim. He’s got three verticals and a turbine on. He said that it hasn’t got too nasty out there yet but if it starts getting really bad he’ll be back out there. If he has to go back out to the station he will give us a call and let us know that he’s there. Hall |
| 1710 | GPM Linam Ranch | Talked to Tom over at the plant. Informed him that he needed to come up on rate for the rest of the day. Needs to be flowing about 77 million on a 74 million nom. He said he’d try to get up there as much as he can. They’ve been pretty much running short all day. Right now they’re projected to come in at about 68 million, pretty much averaging that all day long. Braswell |

1830 to 0630 Shift Sat., Feb. 9, 2002  (Moore, Cochran, Barnes, Coash, Alvarado)

| 1825 | Station 4 | I received a unit alarm on #3 there. That was due to we were slowing it down and it got a low temp alarm. It’s been reset by Robert. Moore |
| --- | --- | --- |
| 1830 | Station 2 | We took unit 202 down, no demand. I talked with Hank and we did a remote shut down here. Moore |
| 1900 | Keystone | Sent Joey out to load those units there. Sid Richardson is running about 10 behind at this time. They said they are wide open. So we’re going to speed the unit up to get them on rate. Moore |
| 1919 | Finney Co. 3 | I received a low dehy alarm. I’ve contacted the on call for Finney Co. 3 through OCC. Alvarado |
| 1921 | Stevens Co. 4 | Unit 4 is back on. Alvarado |
| 2238 | WFS LaMaquina | They lost flow there earlier. They lost a heater. It was down for probably about and hour. It has come back up now. We did make some adjustments to keep them on rate at Milagro. They are coming back up at LaMaquina now and I got a high CO2 alarm. I’m showing 4.8. I made a call over there and talked to Mike. He said that it was there with the heater, the downtime, and to give him 10-15 minutes to see if that clears up. He said it should come back down. If not he will get the plant to cut back but if I shut a valve there it’s just going to stay until we open back up. So I’m going to give him a little bit of time and see what happens. Moore |
| 2250 | WFS LaMaquina | The CO2 came up to about 10 so I made a call back over there. I talked with Terry this time. I told him I was going to have to pinch back there at LaMaquina. He made a call out to his plant to find out what it showed on the CO2 coming off the plant. They did show about 8 so he said we might want to just go ahead and shut that in until they get the problem taken care of. I put a zero setpoint in. It’s still flowing 8-9 million and the CO2 has come down to 2.2 at this time. Moore |
| 2300 | WFS LaMaquina | We opening back up at that point now. The CO2 has come down below 1.2 at this time. I talked with Terry over at WFS. He said he’s seeing just a little over 1 there now also. We’ll get them back on rate. Moore |
| 2340 | Red Cedar | Made a call over there and let them know that the CO2 has come up to 2.86. I talked to Mary. She said she would get that back down. Moore |
| 0054 | Hugoton Station | Lost everything. They are having some problems out there. I don’t know if it’s AC related or what at this time. Alvarado |
| 0136 | Hugoton | Units 2, 4 and 5 are back on. JB is advising me that they had a generator that shorted out causing a small fire. Their purchase power did not come on. They had some problems with it. That was the reason that they lost the station. Alvarado |
| 0147 | Hugoton | Units 14, 16 and 17 are on. Alvarado |
| 0149 | Sublette | Took their unit 21 down. They just don’t have enough gas at this time to keep it on. Alvarado |
| 0159 | Hugoton | Units 8 and 15 are on. Alvarado |
| 0359 | Stevens Co. 2 | Unit 7 has gone down. I’ve contacted OCC. I’m waiting to hear from the on call at this time. Alvarado |
| 0445 | Beaver Co. 11 | Had a power failure alarm out there. The OCC contacted the on call person and they are going to go out and see if a breaker needs to be reset or if we just need to wait for the power company to get back on line. Cochran |
| 0518 | Station 7 | Received a station alarm malfunction. Got a hold of Keith the on call. He said he would check it this morning. Moore |

slb