Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Thurs., Feb. 14, 2002  ( Henley, Spain, Monden, Muntz)

| 0602 | Center City | Todd with Viking called about the low temperature at the station. I notified OCC and they got a hold of Randy Coe on the North Branch team. He said they will take care of it this morning. Monden |
| --- | --- | --- |
| 0707 | Pierz Compressor | Notified OCC. They got a hold of Mark Werner. He is going to go check the compressor out to see why it went down and will get it back up so we can receive gas from Viking at that point. Monden |
| 0630 | WT2 | Called the Kermit team, spoke with Mike. Had him go out and check the units. Seeing a pressure change. He checked everything, checked our incoming and outgoing. We discussed some things and everything looks OK. Henley |
| 0900 | Macksville | I called and spoke to Brian. Asked him to go ahead and bypass the Macksville station. We need to take a little bit of gas south today down in the Permian area so I’m not going to have enough gas to support the Macksville turbines. Spain |
| 0930 | Spraberry | Just spoke with the operator for the second time. Asked him to get the pressure up down there so we can make the Lone Star rate. Told him we weren’t going to be able to free flow at current pressures and if he was going to have to add another unit to go ahead and do so. Muntz |
| 1038 | Spraberry | I spoke with the operator down there. We were unable to continue to run two units unless Lone Star increased their rate from 90 million. I contacted Nancy with Lone Star. She increased the flow rate up to 110. This has helped out the units at Spraberry and should be able to keep both units on. We will continue to flow at this rate and batch today’s nom in. Muntz |
| 1318 | MidAmerican | Bob their dispatcher had called and said that he had a low gas temperature at Orange City TBS in Iowa. Called OCC and they got a hold of Jack on the Paullina team. I forwarded this information to him. Also gave him the telephone number to reach Bob. Monden |
| 1415 | Lone Star Spraberry | Lone Star Spraberry has an intraday of 110 which would require a flow rate of 116. Currently we have a flow rate of 109. I spoke with the operator at the Spraberry plant. He said the units are maxed out and he can’t get anymore out of them. I let Nancy with Lone Star know that the only way we could get anymore volume to them is if their pressure could come down. They said that they will probably leave things the way they are until this evening and maybe their pressure can come down and we can increase flow rate at that time. Muntz |
| 1511 | Sunray | El Paso Dumas flow rate went to zero. I called El Paso gas control, spoke with Randy. He is going to check with the field hand to see if something went wrong with the control valve. He will get back with me. Muntz |
| 1520 | ANR Janesville | Spoke with the gas controller Bob. They were doing emissions test on one of their turbine units. They wanted to get a load across it and wanted to shut in completely for 4-6 hours. I told him I wouldn’t be able to do that. It would upset my pipe too much out on the east leg. They possibly wanted to know if they could do 10-20 less for a little while to see if they could possibly get some load on the unit to be able to do an emissions test. I told him we could probably live with that if they still come in on the nom. He said they would still try to do that. I did pass this information off to Gary Spraggins and he agreed with me as far as having them shut down completely, going to zero would upset the system and have them try to get it scheduled if they are going to try to get the emissions test in for their units. Monden |
| 1534 | Ventura | All units are shut down. We’ll bypass when gas gets closer to being common. Presently suction on the “C” is 632, discharge is 690. Monden |

1830 to 0630 Shift Thurs., Feb. 14, 2002  (Braswell, Armitage, Barry, Hall)

| 2013 |  | Joe with Sid Richardson called in reference to the Coronado point. He said they had some extremely high pressures up there. He asked me if we could shut the point in until maybe later on. He said if nothing else he said they would balance out with us tomorrow. I went ahead the interconnect in at this time. Currently flowing 15 million on a 15 order. Barry |
| --- | --- | --- |
| 0400 | Hugoton | Lost #20 out there. I called OCC. They got a hold of the on call Roger. He said he would be out there in about 20 minutes. Hall |

slb