Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Fri., Jan. 11, 2002  (Hall, Armitage, Barry, Braswell)

| 0550 | Sublette | Got a call from Russell. He got the unit back on and was heading home. Hall |
| --- | --- | --- |
| 0625 | North Branch | They are getting ready to swap units out there. Going to put unit 2 on and take unit 4 down. They’ve got to do some work on some oil lines and revamping of the board on #4. Armitage |
| 0715 | Beatrice | Bob called in from Beatrice. He said they were going to put on 19 and 20, two 2000’s, and take the 4000 down. It has some major oil leaks on it they’ve got to fix. Armitage |
| 0755 |  | Called the OCC for the on call for the Artesia team. Wanted to give them a heads up as far as the El Paso Eddy Co. receipt point. It’s coming on today for about 35 million. I touched base with Kyle and he’s going to make sure everything is set up out there so they will be able to come on today. I also talked to persons at P1 and P3 as well. Talked to Butch and James at P1 to let them know that we’ll probably end up putting the unit on at P1 today to help support the gas that is going out at P3 today. Our deliveries are up at P3 for about 207 million. I did talked to Jerry at P3 to let him know what our deliveries were so he’d be able to adjust his HP as needed. So everybody is aware of what is going on today in the Panhandle. Braswell |
| 0840 | Stevens 6 | Got a call from Tom Bromwell. The ESD system is froze up again. He said they are trying to find where the freeze up is on it and get it thawed out before they get the units back on this time. Hall |
| 1415 |  | Called SoCal to find out what was going on, why they weren’t coming up on rate. They are still having some problems trying to get their HP started. They’ve gone through several sequences and don’t seem to be having any luck. I’ve contacted Phil over at SoCal. He informed me that they were still working on it. He will dispatch a tech to go out and find out what is going on, and to see whether or not they can get things going. He did say they will try to make that rate today, if they had to pull hard to do it but they will come in on rate today. Braswell |

1830 to 0630 Shift Fri., Jan. 11, 2002  (Alvarado, Barnes, Moore, Cochran, Coash)

| 1751 | Beaver Co. 1 | Unit 2 on in place of unit 1. Unit 1 has magneedle problems. Barnes |
| --- | --- | --- |
| 1803 | Skellytown | Oxygen of .34%. Advised the on call Steve Huffhines. Barnes |
| 2039 | Griffith Power Plant | I contacted Tom Tucker due to the pipeline select code that we have. They were taking gas from El Paso as well as us. When they accumed 20 million with El Paso we were told that we were supposed to call Art. Ten minutes before they accumed the 20 million for us to go ahead and switch back the code from 1 to a 2, making us the primary and El Paso secondary. I contacted Tom Tucker on their side. He got on line and went ahead and made the change on his computer because according to my pipe select setpoint we were already showing a 2. We never showed the 1 that they selected earlier this morning. Everything did switch right except that our pipe select setpoint never changed when they changed it this morning. I going to make a printout and leave it with Keith in the morning to have him look into it and see what’s going on. Alvarado |
| 2017 | P1 | Unit alarm – I contacted OCC and had Butch go out. Alvarado |
| 2123 | P1 | Butch has lost the unit. He said he’s in the process of bringing it back on. Alvarado |
| 2003 | CIG | Flow rate at zero. NNG’s automatic shut in valve has closed. Advised Sunray and they will make a call out. Barnes |
| 2123 | CIG Dumas | Alarms are cleared. Valve opened, resumed flow. Barnes |
| 2136 | Beaver Co. 12 | Unit 1 down. Operator is in route to the location. Barnes |
| 2231 | Beaver Co. 12 | Unit is now back on. Barnes |
| 2312 | WT2 | Units 1 and 3 have gone down. I’ve contacted OCC and waiting to hear from the on call. Alvarado |
| 2354 |  | Unit #1 at WT2 is back on. Alvarado |
| 0018 | WT2 | Unit #3 is back on. Alvarado |
| 0018 | Station 3 | Unit 302 is being brought on line. This is to accommodate the gas that we’re going to be receiving when once we start the unit up at Gallup. We are bringing the Gallup unit on to help move the gas that is stacked up in the LaPlata and Bloomfield area due to El Paso’s late nomination being cut back. At El Paso Blanco we had a big nomination to where El Paso we had to cut them quite heavily. To accommodate the gas that we’re going to have to move out of that area, we did hit some high pressures, we’re going to bring Gallup on. Alvarado |
| 0048 | Station 3 | Unit 302 has gone down. Alvarado |
| 0142 | Gallup | The Gallup unit is on line at this time. Alvarado |
| 0143 | Station 3 | Unit 302 is back on line. Alvarado |

slb