Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Tues., Feb. 19, 2002  (Barry, Hall, Armitage, Braswell)

| 0813 | Belleville | Called the OCC and they got a hold of the on call for Belleville. I passed on to him that we’re having a lot of trouble with our scada out there. It’s coming and going. We get a good scan about every other one. Also passed on to him that this morning when we tried to start the #1 unit it didn’t come on line like it was supposed to. Hall |
| --- | --- | --- |
| 1248 | Mound | Called the OCC. They finally got a hold of Bob. He said that he would tell the technician who handles that and see if they could get it fixed. I told him that our technician had checked it out and that it was giving a busy signal. He said that the modem is probably hung up on it. Hall |
| 1400 | Earlville | Called the OCC. They got a hold of Ronnie. I let him know that I had a DC battery charger failure alarm. He said that was probably caused from the generator alarm I had this morning. He said the generator alarm was probably because the generator was due to run, it kicks off early in the morning occasionally to make sure that it is still ready to go whenever it is needed. Hall |
| 1439 | Ventura | Called the OCC. They got a hold of John Tammen. Asked him about putting HP on the “C” suction at Ventura. He said he would get a hold of Wayne Kozisek and see if they could get it on. Hall |
| 1445 | Ventura | Called the OCC. They got a hold of the on call. They are going to put units on the “C” line at Ventura. Wayne is going to put three verticals on for us. Also got a hold of Beatrice through the OCC. Bob is going to put on the unit there. Hall |
| 1530 | Hubbard | Called the OCC because I lost Hubbard. They got a hold of Jeff. I had a call just now from Pierre. He’s headed over there to Hubbard because he couldn’t get it reset from there. Hall |

1830 to 0630 Shift Tues., Feb. 19, 2002  (Barnes, Alvarado, Moore, Cochran, Coash)

| 2227 | Woodward Co. 3 | Unit 4 is now back on. There was a line freeze which was delaying the restart of the unit. Bill Foresman says if another unit goes down at Woodward 3 to leave it down until morning. Barnes |
| --- | --- | --- |
| 2249 | Beaver Co. 7 | Unit 4 down. The operator received the page. Stan Luck will restart. Barnes |
| 2310 | Beaver Co. 7 | Stan Luck called to say that unit 4 will remain down. They plan to work on this unit in the morning. He was able to speed up the other units, 1 and 2. Barnes |
| 2342 | Plainview | Station alarm – Advised Ken Yarborough. Barnes |
| 0000 | Plainview | Andrew called in about the station alarm. He’s pretty sure that it’s a malfunctioned gas sniffer which he will change out tomorrow. The station alarm will remain in alarm for tonight. Barnes |
| 0400 | El Paso Waha | El Paso agreed to take the 5 scheduled for tomorrow on today rather than shutting in now at a 16 accum. Barnes |
| 0425 | Roger Mills | Unit 2 down and it will stay down, no demand in that the pressure is still high enough to deliver to ONG3. Barnes |
| 0441 | Woodward Co. 3 | Unit 4 down and will stay down as previously entered. Barnes |
| 0528 | Spearman | Dehy #3, 9.8# of water. Advised Gary Flowers. Barnes |

slb