Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Tues., Jan. 1, 2001  (Cochran, Coash, Alvarado, Moore, Barnes)

| 0730 | Heartland Corn | The pressure is down to 299. I just called and visited with them and made them aware that the pressure is getting pretty low and they might want to consider switching over to an alternate fuel for a few hours until things turned around later this morning. He said he would pass it on to his boiler man and they’d probably go ahead and make the switch. Cochran |
| --- | --- | --- |
| 0825 | TW Keystone | Advised Mark Ethridge of the 20 increase from Sid Richardson plant to a 56 rate thus requiring a second unit on. Barnes |
| 0831 | Jal | Received an H2S spike in here. Received an alarm of .26. Demand scanned it which it came right back down but it was enough to knock that unit off line. I got a hold of Carlos and he’s headed that way. I also notified Sid Richardson. They did say they didn’t have any H2S there. Moore |
| 0933 | Jal | Unit 1 is back on the line. Moore |
| 1001 | Pampa | We took that unit down there, no demand. Moore |
| 1055 | Beaver Co. 5 | Unit 4 is down. Dennis called in. He said he was going to leave it for a little while because it was down on low suction. Moore |
| 1100 | Station 9 | Advised Dustin Jolly that we’re not communicating with the station. He will check on location and see if there is anything he can do. Meanwhile Rodney Thompson is checking out Enron’s communication there also. Barnes |
| 1122 | Station 1 | The station is down. Units 1 and 3 were on. It’s down, no demand, by Merlyn Coffman at my request. Barnes |
| 1144 | Canadian River | Station down – Advised the on call Clitus on the Canadian team. Barnes |
| 1147 | WT2 | Spoke with the on call at WT2 to load the unit that is on. He’ll do that from his home by computer. If this doesn’t take care of the delivery we’ll need to put a second unit on at WT2. Barnes |
| 1214 | Station 9 & 8 | VSAT’s have been reset thanks to Rodney Thompson. Scada communication has resumed. Advised Dustin Jolly at station 9. Barnes |
| 1220 | Cunningham | Asked Cunningham to go to a 350 withdrawal. Coash |
| 1220 | Beckham Co. | Received an AC power fail alarm at that point. Got a hold of Ken on the Elk City team. He said he would contact the power company and see what is going on. Wanted to make sure they are aware of the situation. Moore |
| 1254 | WT2 | Unit 2 on as requested due to increased noms. Barnes |
| 1314 | Canadian River | Units 1 and 3 back on. Barnes |
| 1340 | Waterloo | I just dropped unit #7, no demand. Cochran |
| 1341 | Beckham Co. | The AC power failure alarm has cleared. Moore |
| 1415 | Cunningham | Asked Cunningham to go up to 450 withdrawal. Coash |
| 1519 | Canadian River | It’s down again. Advised Rudy Godino. Barnes |
| 1552 | Phillips Fullerton | Their flow dropped off. I made a call out and I talked with Henry. They have a nom of 24, flowing about 18 at this time. He said that they lost a turbine out there. They are working on the problem. Hopefully we’ll be able to get the flow back up soon. Moore |
| 1552 | Phillips Plymouth | At this time they are flowing about 46. Flow needed is 49 to make rate for the day. I called out to Tim and let him know that they were also about 2 short in yesterday’s gas day. He’s going to adjust to come in for the day. Moore |
| 1610 | Waterloo | Just dropped unit #2, no demand. Cochran |
| 1600 | Canadian River | Units 1 and 3 back on again. Barnes |
| 1630 | Waterloo | I just dropped unit #3, no demand. Cochran |
| 1635 | Oakland | They’ve got eight horizontals on “BC” to “BC”. I just requested they drop one at this time. Cochran |
| 1645 | Oakland | Requested they drop another horizontal on the “BC”. That will take them down to six. Cochran |
| 1710 | Guthrie | Just shut the unit down, no demand. Cochran |

1830 to 0630 Shift Tues., Jan. 1, 2001  (Calhoun, Cummings, Welsh, Munson)

| 1835 | Sublette | Unit #23 went down on low suction. Oneok lost some units out at the Haskell Co. station. At 1900 the suction pressure came back up and I was able to restart unit #23 from here. Calhoun |
| --- | --- | --- |
| 1930 | Artesia | Terry Youngren reports that Agave is having some problems on their line with freezing. This is on the new Agave 12” tie-in at Loco Hills. Due to the problems with the freezing on Agave’s side the Abo gas had to be switched back over and delivered straight to us instead of going through Agave. Bob Chambers at the Abo plant is in the process of switching this gas back. He’s been in touch with Terry Youngren. Munson |
| 1940 | Monahans | We have a low battery voltage alarm at the Mobil Pyote fuel run. I informed Ken on the Monahans team. He said that he would probably check into it tomorrow morning. Munson |
| 1957 |  | Heartland Corn curtailed themselves. I did not call until after they had moved a boiler over. He said that they had been out and looked at the line pressure and had chosen to switch themselves. Cummings |
| 2100 | PEPL | Their gas control guy called and said they had batched their nom and they were going to shut it in. Calhoun |
| 2220 | LS Power Whitewater | They called in and said they were shutting down for the night and they were going to start back up at 0440 in the morning. Calhoun |
| 2230 | P1 | We have a unit alarm at the P1 station. I notified Butch and he went out and took care of it. He said it was a glitch in the system, that there were no problems at the site. Munson |
| 0000 | Cunningham | Cut them from 450 order down to 350. We were stacking up north and had slowed everything down, was growing pretty fast on the central so I went ahead and cut them. Calhoun |
| 0000 | Clifton | I took unit #28 down. It was on the “E” line with the other turbine. Calhoun |
| 0147 | Stevens Co. 6 | Unit #5 went down. I talked to Steve Benavidez. He wanted us to watch the suction pressure and if it got up over 33# to call him back and he would go out. Otherwise he was just going to wait until morning. Calhoun |
| 0229 | Stevens Co. 7 | Unit #2 went down. Steve Benavidez was on his way out there to put it on. Calhoun |
| 0233 | Hugoton | Lost unit #14. Alex Brechbuhler went out there and he put unit #12 on at 0313. Calhoun |
| 0315 | Canadian River | Units 1 and 3 have gone down. I notified Rudy. He is going to take care of things. Munson |
| 0430 | Canadian River | Rudy has units 1 and 3 back on line. Munson |
| 0430 | Sublette | Unit #21 went down. It was on the “A” line field service. Rick Titus is going out there to get it back on. Also I got a low temperature on the “B” line discharge temperature. He was going to check into that also. Calhoun |
| 0437 | Tate | Lost unit #6. Jeff was on his way out there to put it back on. Calhoun |
| 0515 |  | NGPL just called to tell me that we may lose Trailblazer. Their CIG receipt which is the only receipt gas in that end of the pipe, a valve had shut off between them and CIG, 500 million. He has already shut the only other delivery they have out there. He will give me all of the line pack that he’s got but he doesn’t expect it to last long. Cummings |

slb