Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Fri., March 15, 2002  (Moore, Alvarado, Barnes, Coash, Cochran)

| 0626 | Woodward 1 | Unit 3 is down. Gary is in route. Moore |
| --- | --- | --- |
| 0715 | Linam Ranch | Made a call out to the on call person. I talked with Frank to let him know that Linam Ranch nom goes up today from 12 to a 55. He’s going to have to get the other meter run opened back up before 9:00. Moore |
| 0800 | Ogden | They just lost unit #18 out there. They are going to try to get the one last vertical. They’ve got some horizontals going to replace it. They are going to have change out the strainer on it. They’ve got high differential and they hope they didn’t score any liners. If they haven’t done that they will just be down a couple of hours. They’re working on that and we’ll see what happens. Cochran |
| 1035 | Northrop | Unit 1 is down there. Got a hold of Larry. He is going to check it. Moore |
| 1050 | Northrop | Received a call back from Lupe. He let me know that they are doing some testing on the shut downs and that I will see the units up and down. He will let me know when they are finished. Moore |
| 1125 | North Branch | Just shut unit #4 down, no demand. Cochran |
| 1240 | Owatonna | Just shut the unit down, no demand. Cochran |
| 1325 | Ogden | I just shut #14 down, no demand. Cochran |
| 1410 | Alexandria | I just shut the unit down, no demand. Cochran |
| 1450 | Brownfield | Made a call out and talked with Charlie. Asked him to put that unit on there to help relieve pressures at the x-over and Spraberry. Moore |
| 1515 | Sublette | I got a call from Rick Titus. He said they had a customer who was having some farm tap condensate problems. They are going to put about 50 million to the “A” line and try to sweep it out some. Also he was going to let Mullinville know. Coash |
| 1515 | Ogden | Just shut unit #17 down. It was split out, half of going east and half of it going north. We’ve got too much gas going north. That will bring the suction up and allow 18 to pump more by itself. If that’s not quite enough then we can put the small unit 14 or 15 on with 18 but right now we’ve got too much going with 17 so elected to shut it down, no demand. Cochran |
| 1550 | Guthrie | Just shut the unit down, no demand. Cochran |
| 1550 | Cunningham | I asked Cunningham to back off to 100 withdrawal. Right now they’re at 190. Coash |
| 1710 | Enogex | I made a call out and talked to Mike over there. They had an increase today from 20 to a 40 on the BTU. They are still flowing about 20 at this time. He said they’re trying to get their pressure up. He doesn’t want to open up until they build a little more pressure and they will try to make rate for the day. Moore |
| 1715 | GPM Linam Ranch | They have a nom of 55.2 and they are flowing 45 at this time. I called over there and talked to Leroy. He said they’re having to split the gas between us and El Paso and that’s about all we’re going to get for the day. I did let Robert Benningfield in scheduling know. Moore |
| 1740 | Spearman | Received a call from Ronald. He let me know that he’s going to the house. He is going to leave unit 4 down. He did say that if the suction gets to 90# to give him a call and he’ll go out and put that unit back on line. Moore |

1830 to 0630 Shift Fri., March 15, 2002  (Munson, Welsh, Cummings, Calhoun, Davis)

| 1840 | Bisti | David Roensch called with an update regarding Bisti. He said it looks like that station will be unavailable for approx. 5-6 weeks. I set him up on a small conference call with Darrell and myself. He said there is going to be a lot more details to come, probably tomorrow morning. He is looking at setting up a conference call with Darrell and several other people tomorrow. David also let us know that at station 3, unit 302 will be unavailable through Wednesday. There will be more details through the weekend regarding both of these locations. Munson |
| --- | --- | --- |
| 1920 | Conoco Maljamar | Ryan called to say that he is having problems with his amine system and the flow is going to go to zero for an undetermined amount of time until he gets his problems worked out. Munson |
| 1828 | Farmington | Shut unit #5 down. We had max differential across the little units going out west towards Willmar. Calhoun |
| 1830 | Oakland | Had Joyce go out and shut down one vertical. We were backing in on the “D” line and had plenty of suction at Ogden. Calhoun |
| 1835 | Palmyra | Shut down unit #22. We had max differential across all of the units on the “CD” to “D”. Calhoun |
| 1938 | Hubbard | Shut down the unit. We had Earlville down on bottom and Galena was on bottom also. Had to get out from underneath the Belleville turbines because we had plenty of pressure out east of Belleville and the pressure were still growing. LS Power was still on line and they were going to shut down later on this evening. Calhoun |
| 1945 | Belleville | Shut down unit #1. At 1948 I shut down unit #3 at Belleville and bypassed. Calhoun |
| 1941 | Wakefield | Brought the interconnect up to 10 million flow rate. They were at zero and we had a nom for 10 million. Calhoun |
| 2015 | LS Power Whitewater | They shut in for the evening. Calhoun |
| 2150 |  | Got a call from NBPL. They said that CC was done testing. Calhoun |
| 2300 | Redfield | The men have gone home for the evening. They switched the POD from POD to auto. Calhoun |
| 2325 | Alexandria | The unit came on line. Benson pressure was starting to fall off. They got down to about 550 so I went ahead and brought it on. Calhoun |
| 0000 | Owatonna | Started the unit. We were needing more gas up at Farmington Calhoun |
| 0050 | Ogden | Put unit #14 on line. Calhoun |
| 0055 | Farmington | Put unit #6 on line. Calhoun |
| 0130 | North Branch | Put unit #4 on. Put it on common north/south suction pumping west. Calhoun |
| 0136 |  | Unit #4 went down at North Branch so I put unit #3 on. Calhoun |
| 0215 | Guthrie Center | Started the unit. Calhoun |
| 0230 | Ogden | Started unit #15. Calhoun |
| 0336 | Faribault | Put the unit on line. The load had still been picking up and still trying to catch our pack and pressure up north. Calhoun |

slb