Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Fri., Jan. 4, 2001  ()

| 0720 | Kermit | Talked to Darrel. They were in the process of bringing the unit down. Asked him to leave it on if possible. Deliveries are pretty strong down in the subsystem. He said that it would have to be manned because of the bad fuel valve. They were going to take it down anyway for Monday to fix that but it would need to be manned. They’ve been out there all night. He’s going to try to find some fresh guys to stay there and watch the unit. Also passed this on to Jim over at Seminole. Looks like we need Kermit going because Seminole won’t be able to take care our deliveries down in the subsystem like they were yesterday since deliveries have gone up. I told him I’d let him know whatever Darrel found out. Hardy |
| --- | --- | --- |
| 0740 | Jal | Unit 2 went down. Got a hold of Rick. He’s going to put it back on for us. I informed him that Sid Richardson receipts are going down from 50 to 29. He’ll knock it back down for us at the new day since one unit will be able to do 34. Hardy |
| 0805 | Farmington | Unit #6 the electric, brought it on line to help build the west pressure down the Willmar line. Also Heartland Corn had asked them to go to their alternate fuel. The pressure at 0730 was down to 272. Monden |
| 0815 | Phillips Fullerton | Their pressure is currently at 988. Ed mentioned last night that they had problems with the pressure jumping up to about 1050. I called out to Phillips Fullerton to find out what they were actually showing. Talked to Nyle. He said they were showing 883. The flow rate has dropped down from 23 to 13. They did lose a unit and they are working on getting it back on and delivering the gas to us. In the meanwhile I put a call into OCC for the Phillips Fullerton on call to find out if he’s going to go and look at the pressure monitor for us. Hardy |
| 0822 | Phillips Fullerton | I talked to Andrew. He’s got somebody headed out there. Should be out there in about 30 minutes to an hour to look at the pressure and fix whatever is going on out there. He says he will give me a call as soon as he gets a hold of the guy going out. Hardy |
| 0828 | Station 1 | Merlyn is going to take unit 102 and 103 down, no demand. Socal’s nom has dropped by 60 million for the upcoming day. Currently Needles pressure is at 983. Muntz |
| 0830 | Station 3 | I just spoke with the operator at station 3. They are going to take one unit down there to make room for the rollback from station 1. Muntz |
| 0830 | Tate | I received a high moisture reading. I contacted the compressor station and spoke with Lonnie. He said he would check into it for us. Henley |
| 0900 | PEPL | Just spoke with Hines regarding a small nom that we have to deliver gas to them off of our system. They have a 5 million order. I’m going to bank that order along with the one from yesterday and flow that this weekend. Henley |
| 0923 | Quad Cities | Has a measurement problem. Jeff Greachy(?) from MidAmerican is having personnel headed to the site. Monden |
| 1020 | Kermit | Got on a conference call with Darrel at Kermit and Jim over at Seminole. We looked at what deliveries we had going out of the subsystem. It looked like we would be able to bring the big unit down at Kermit. It looks like the small unit and Seminole unit will be able to handle our deliveries in the subsystem. Darrel is working right now to bring the unit down. We’re going to let Seminole take care of us there. Hardy |
| 1025 | Hemp Co. 3 | The operator called. They want to try to put unit 3 on and then they’re going to take unit 1 down. Hardy |
| 1135 | Redfield | Gave them an order from withdrawal of 400 to a 325. Spoke with Gayle. Monden |
| 1138 | Heartland Corn | Notified the plant that the pressure had recovered on the west leg out of Farmington and is now 579. Monden |
| 1235 | Clark Co. 1 | Got a high water alarm at the station of 15#. Talked to Dennis. He’s calling somebody to go check it out. Hardy |
| 1346 | Ventura | Taking unit #11 down. There are still two verticals and one turbine on. Monden |
| 1346 | Beatrice | Took the 2000 unit down in preparation for some of the gas to roll back down to Beatrice possibly when they take the Oakland horizontals down and possibly Palmyra. Monden |
| 1425 | Station 9 | Called the station and requested that they take the unit down, no demand. We need to back in more on WT2. Muntz |
| 1442 | Ventura | Shut the station down and bypassed. Jeff was the one I spoke with. At Oakland I spoke with Jim and asked him to shut the horizontals on the “BC” down and let it bypass. Monden |
| 1445 | Spraberry | Jimmy called. He said unit 5 is just about ready to be put back on line. They’ve got the motor back in but they need to go get another starter relay that they blew trying to start the unit up. It should be here in about two hours before they get it and the unit is ready. Hardy |
| 1455 | Texas Co. 1 | Just spoke with Dean. He is going to leave unit 3 on line and take unit 6 down for the weekend. Henley |
| 1455 | Macksville | I had Darrel drop unit #4. It was pulling gas out of the ground for Cunningham, high side gas. Henley |
| 1455 | Tescott | Unit 3 was running on the “D” line. I had Gary take it off line. Henley |
| 1530 | Ogden | Shut down unit 13. Monden |
| 1530 | Palmyra | Shut down unit 21. Monden |
| 1530 | LaCrescent | Shut the unit down. Monden |
| 1543 | Spraberry | Jay called to say he’s got unit 5 up and running. Hardy |
| 1727 | Beaver Co. 3 | Unit 3 is down. Stan got the page and he’s on the way. Hardy |

1830 to 0630 Shift Fri., Jan. 4, 2001  (Barry, Hall, Ellington, Braswell)

| 1839 | Stevens Co. 2 | Unit 10 back on line. Barry |
| --- | --- | --- |
| 1838 | Station 2 | Unit 2 down. Called the OCC for the on call. Braswell |
| 1858 | South Sioux | Called the OCC. They got a hold of the on call. He’s going to call Darrel Belt about Mapco #3 low battery voltage running 9.6. Should hear back from one of them shortly. Hall |
| 1856 | Finney Co. 3 | I called the OCC and requested the on call for Finney Co. 3. I’m showing unit #3 down. Barry |
| 1913 | Whiting Mapco #3 | Just got a call from Darrel. He said he would take a look at it but there is nothing really that he can do about it tonight, that it is an EFM point. Hall |
| 2131 | Beatrice | Just got a call from Ron. He got the turbine shut down. We’re bypassed now on the “E” line. Hall |
| 2300 | Beaver Co. 3 | Stan called to say that unit is back on. However he said if it goes down tonight not to call him out. They’re going to leave it down if it does go down. Ellington |
| 2326 | Seminole | The Seminole turbine just went down. Notified OCC. Ellington |
| 0010 |  | Called the OCC for the on call for the Canadian North team in reference to the South Higgins point. They had nom of 5.7 million, accumed about 3.4 and shut in. I wanted to find out what was going on. I talked to James McLeroy. He said he will give them a call in the morning to check it out, the measurement people to find out if we have any problems or if they just shut in on us. Braswell |
| 0015 | Station 2 | Talked to Glen a few minutes ago. He said unit 202 was fine and everything was running pretty good. They were checking the temperatures on the heads and found out they had an indicator valve that wouldn’t close all of the way. They are going to have to take the unit back down again and try fix it. Should be no more than 15-20 minutes he said. Braswell |
| 0052 | Beatrice | Called the OCC. They got a hold of the on call Ron. What is was concerning is that for some reason I got a shut down alarm on unit 27 which is the turbine and we had shut it down about three hours ago. He said he would go check the alarm out tomorrow when he gets up. We figured there was really no need to check it out tonight because we got the unit down and got it put to bed and everything was fine. Probably just a nuisance alarm that came in. Hall |
| 0110 | Kermit | I’ve called Clitus out to Kermit to put #1 on. Jim at Seminole is telling me that he needs the big unit on at Kermit to pull his discharge away so he can get Seminole back on. We need to reduce the differential. Clitus is at Kermit. He’s telling me that his oil temperature on that unit needs to be at least 70 degrees and it’s at 65. He said it’s probably going to be awhile. I told him to do the best he could and to stay in touch with Jerry at Seminole. Right now we’ve got 880# in the subsystem. Everybody is on rate so we look pretty good down there for the time being. He will try to get the unit on at Kermit as soon as he can. Ellington |
| 0300 | Seminole | The Seminole turbine is back on. Called Kermit and had Clitus to shut the turbine back down at Kermit. Ellington |

slb