Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Thurs., Jan. 3, 2001  (Cochran, Coash, Alvarado,  Barnes)

| 0613 | Atoka 3 | Unit 842 down. Advised Gene Brazfield. Barnes |
| --- | --- | --- |
| 0645 | Belleville | Just now finally got units 1 and 2 on. Had trouble getting them both on but finally did. Cochran |
| 0651 | Ogden | We’re going to take one of the units, either 13 or 14, off of Redfield north and put it on “BC” common suction going east. Cochran |
| 0654 | Jal | Unit 2 has gone down. I’ve contacted OCC. I did speak with Carlos on the Jal team. He advised me that they were going to put it back on. They are on site. Alvarado |
| 0718 | Crawford | Unit 1 down – advised the on call Darrell on the Carlsbad team. Barnes |
| 0724 | WT2 | Unit 2 down – Advised Clitus. Barnes |
| 0812 | WT2 | Unit 2 back on. Barnes |
| 0835 | Heartland Corn | Called Ed a few minutes ago. Made him aware that we’re down to 325 on the pressure. He’s going to go ahead and trim back some more, go back to more propane for a few hours until things turn around. Cochran |
| 0906 | WT2 | Unit 2 back on. Barnes |
| 0937 | Canadian River | Unit 3 down. Barnes |
| 0956 | Atoka 3 | Unit 842 back on. Barnes |
| 1024 | Crawford | Unit 1 back on. Barnes |
| 1022 | Canadian River | Unit 3 back on. Barnes |
| 1058 | Station 4 | Unit 402 down for minor maintenance approximately two hours. Barnes |
| 1131 | Atoka 1 | Unit 720 down for hot compressor valves. Barnes |
| 1148 | WT2 | Unit 2 down. Barnes |
| 1151 | Atoka 1 | Unit 720 back on. Barnes |
| 1412 | Ogden | Just put a vertical and a horizontal on Redfield going north. They are in the process now of trying to get another horizontal “BC” suction to “D” north. Cochran |
| 1423 | Hugo | Just shut the unit down, no demand. Cochran |
| 1410 | P3 | Units 2 and 4 are on. Unit 5 is available. Barnes |
| 1516 | Station 4 | Unit 2 down to change a head gasket. Barnes |
| 1516 | Kermit | We lost the Kermit unit at 1420. They brought it back around 1429. It did kind of cause some problems over at Jal but we were able to keep the two units running at Jal. Lost no flow coming from Sid Richardson. Things did straighten out. Unknown why the unit went down at Kermit but it is back on. Alvarado |
| 1520 | Cargray | Eric Haiduk called and said that Cargray had contacted him saying that they had high O2 and that they were in the process of trying to shut the well that is causing the problem. He said we should start seeing our O2 come down after they find the well that’s giving us the high O2. Alvarado |
| 1725 | Station 4 | Unit 2 back on. Barnes |

1830 to 0630 Shift Thurs., Jan. 3, 2001  (Calhoun, Cummings, Welsh, Munson)

| 1800 |  | Called for the Oakland “BC”. Cummings |
| --- | --- | --- |
| 1945 | Zia Plant | The flow to the Zia plant has gone to zero. I called Ryan at the Conoco plant. He confirmed that they do have some problems at that site. He has personnel on the way. He hopes to have it back on within an hour. Munson |
| 2008 |  | Called for Redfield for 425. Cummings |
| 1920 |  | Spoke to LS Power about their pressure. It was 464 on our meter. They looked at it and backed off their flow 5 million first and then another 5 million a little bit later. Cummings |
| 1756 | Sublette | Rick Titus went out and put unit #21 back on. I also asked him if he would speed up #14 that is running on the “B” line. The discharge pressures were climbing at Hugoton. Calhoun |
| 1800 | Holcomb | Talked to Arnie and had her load up her units. That was to help pull off the discharge at Hugoton. Calhoun |
| 1945 | Cunningham | Gave them order to go from 500 to 600 withdrawal. That’s due to we were increasing the north flow out of Clifton and they were showing cutting some south end gas coming out of Beaver. Calhoun |
| 2100 | Madison | Agreed to back off me 20 million for three hours to try and catch the east leg. Cummings |
| 2104 | LS Power | Brought 5 million of their load back on. Cummings |
| 1941 | Seminole | We lost that unit. Jim Myers went out and checked it out. It looks like it might be a thermal coupler. Our differential is getting awfully high out there to try to start that back up. We called Clitus and Darrel Mason at Kermit. They are going to go out and start unit 1 at Kermit. Even though they are having a fuel problem on that unit they think they can get it to run. When they do they are going to pull some of the differential down on Seminole and then maybe Jim Myers can get the Seminole unit started back up. Then it will be between the two of them, whichever one has the least amount of problems will probably be the one they wind up running. I did lose Norval Pecos, the delivery was making to them. I did call them and tell them that we’ll get them back on as soon as we can. I’m having a hard time making my delivery to TW Halley. Their volume went up there a little bit ago and they were expecting more gas. I told them they’ll have to hold off until we get this started. Welsh |
| 2215 | Kermit 1 | We talked to Darrel Mason with the Kermit team and we talked to Jim Myers with the Seminole team on a conference call. They agreed to start unit 1 which is running, it’s back up, and see if they can line that out this evening and at the same time pull some differential off out there at Seminole and the interconnect. If we should have problems with Kermit 1 tonight at least that differential will be pulled down. They might be able to slip the Seminole unit back on. Otherwise they are going to try and go until morning with Kermit 1 and see if that won’t hold it together and then take a good look at Seminole first thing the morning. It does have a thermal coupler problem and they’re not sure where it is. Everything looks like it’s OK but they don’t know and they won’t know until they run it again but they want to wait until in the morning when the differential is off. Kermit 1 will be pulling the share of the load tonight. Welsh |
| 2233 | Hemphill 3 | Unit 1 went down on low suction. It’s the only unit running there. I talked to Don with that team. He said to leave it down until morning because they don’t have enough suction. They’ll probably have to recycle it during the day there until they get their production up behind it. Welsh |
| 2347 |  | LS Power is shutting down for the night. Cummings |
| 0120 | Phillips Fullerton | The pressure jumped up to about 1000 and then again to 1050 very quickly. I made calls to Phillips Fullerton who said their pressure did come up. We never did lose flow. Their pressure only went up about 40# on their side which was still well within their bounds. I talked to Darrel at Kermit. He could also read it but thought it might be a freeze off. The pressures at Kermit and Seminole, there are people at both places, was never in that range. Whatever it was, it was right at the interconnect. We ended up calling somebody from the Andrews team, Andrew called me back. From what he could tell it looked like it might intermittent measurement problem but he will call the Seminole guy and talk to him. They could look at some things and maybe go out and check it. The pressure did drop almost as quickly as it went up. It dropped back down to 929 and then it settled in at about 856 which is about the normal for that part between Seminole and Kermit. It was just briefly but it did reach as high as 1050 on the reading. We’ll keep everybody posted. Welsh |
| 2235 | Sublette | Lost unit #24. Rick was going out to put it on. At 2308 we lost unit #23 also. Both of those units were running on the Haskell Co. service. He got them put back on at 2322. Calhoun |
| 0022 | Sublette | Rick also put on unit #13 on the Hugoton “B” line. That was due to they had shut it in earlier this morning primarily due to losing CIG volumes up at Holcomb. They had to crack more gas out of Hugoton up towards Holcomb. They thought they could get by without it but we had been steadily building pressure out in the Hugoton field since they had shut that unit down. So we went ahead and put it back on to get those pressures leveled off. Calhoun |
| 0315 | Meridian | We’re showing high CO2 at the Valverde plant. I called the plant and spoke with Larry. Asked him to do his best to bring that back down within tariff. He said he’s working on it. He had some problems with some of his trains. Munson |
| 0317 | Norval Pecos | Their volume went to zero. I called Gary over at Norval. Their unit went down. He said as soon as he can pull that pressure back down they will come back on. He said it’s just a temporary problem. They are at zero at the moment and we owe them quite a bit of gas. Hope it comes back on soon. Welsh |
| 0315 | Madison | They called in and wanted their flow rate changed. They wanted to go from 58 to 39. Calhoun |
| 0505 |  | Got a call from NBPL. They said that CC was out at the Ventura interconnect and they were going to start testing. Calhoun |

slb