Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Tues., Feb. 12, 2002  (Hardy, Henley, Spain, Monden, Muntz)

| 0612 | Hugoton | JB called, the station control alarm. He got out to the plant. It was a low glycol level alarm. He fixed it and everything is clear. He’s just going to stay there. Hardy |
| --- | --- | --- |
| 0642 | Duke Energy WT1 | Flow went to zero. Left a message for Johnny Lamb. Henley |
| 0616 | Beatrice | Unit #21 went down at 0615. Bob checked it out. He said it went down on engine vibration. He is checking into it. Monden |
| 0735 | Stevens Co. 7 | Unit 4 is down. Jeff is sending somebody to get it back on line for us. Hardy |
| 0730 |  | Laura just called from scheduling regarding El Paso. The El Paso to Griffith nom for today is 6.832. Henley |
| 0746 | P2 | Just spoke with Omer. He’s going to be testing the alarms. We’re to disregard them until he is completely finished. Henley |
| 0819 | Llano Lea | Spoke with Doug Atwood. Checked with the new day nom. Currently showing a new day nom of 25.9, current flow is 18.4. Doug said they’re running a pig this morning and the flow rate will fluctuate. He said when they get the pig in they’ll try to get everything made up to us. Muntz |
| 0820 | Canadian River | Just spoke with Mike. He said they are going to be running a pig from his station to Duke. I guess Duke is having a tie-in today. They are going to be blowing that line down after the pig is through to get all of the liquids out for a tie-in. I asked him how long the station was going to be down. He figured it would be back up sometime late tomorrow afternoon if everything goes as planned. He is going to send in an outage request for that. Henley |
| 0940 | Williford OK Receipt | H2S shows to be 0.388. I contacted Corky Hubbard. He’s about 10 miles from the location. He’s going to go by and check it out and give us a call. Muntz |
| 0945 | Station 8 | Received a station alarm. Troy called in. They are going to be doing some welding again today. They are going to bypass their fire eyes. It’s what caused this station alarm. He will call and insure that when the job that all of the alarms are clear. Henley |
| 0955 | Mullinville | Dee called to let us know that unit 20 is down. It was on the Texas “B” service. They think the blower went out on it. He said he will get back with me with more details once they learn more. In the meantime he’s got units 21 and 22 on in its place. Hardy |
| 0930 | NGPL Eddy Co. | NGPL is having an outage. Therefore the gas that is currently nominated at NGPL Eddy Co. is going to be coming over to Winkler. This has been approved through Schoolcraft. Everything is working out pretty good. Henley |
| 1015 | Burlington Resources | Just spoke with the operator at the Valverde plant. He is having a lot of problems. He asked me if I could take about 50 million for a short period of time. I agreed to do that to help them out of a bind. We have room there so it’s not a problem. Henley |
| 1015 | LaPlata | Received a station alarm. OCC is getting a hold of the operator for me. Henley |
| 1025 | Station 2 | I received a call from Hank regarding unit 202. They put it on line just to check it out. The crankcase filled up with water. He’s afraid that there may be more problems and they may have to replace a piston and liner. I passed this information on to Darrell. Even though that unit is currently down we want the unit available due to the fact that we don’t know what the orders are going to be for tomorrow and that something else may happen. Passed that information on to station 2 and spoke with Chad. He’s going to let Hank know. Henley |
| 1030 | LaPlata | The station alarm is clear. Henley |
| 1046 | Pierz | At 1035 Pierz compressor went down on compressor alarm. I notified OCC, spoke with JJ. He got a hold of Troy on the team. Troy asked me to get a hold of Mark Werner because he was closer to the compressor. I did get a hold of Mark Werner. Informed him that the compressor was down. He said they do have some work to do on the unit. They will do that work and then give me a call before they put it back on. Monden |
| 1050 | Red Cedar | Just called the control room and asked them if they could cut back on the bypass some to lower our CO2 level. I spoke with Dan. He said that he would be happy to do so. Henley |
| 1109 | Perryton Barlow | Larry called in and said that #3 unit is going to remain down until later this afternoon. Currently they are only running the #1 unit. Muntz |
| 1115 | Atoka 2 | Unit 760 is down. I spoke with Jerry. He’s going to have someone check that out. Henley |
|  | Atoka 1 | Unit 737 is down. Carl is going to take care of it for us. Henley |
| 1303 | El Paso Waha | Lester from the Monahans team called in and said that El Paso Waha GC is back in service. N2 readings will be good, accurate at this time. Muntz |
| 1315 | Burlington Resources | I just spoke with the operator. They are about 10 million short. He said what happened is they were doing some pigging and knocked the station off. They are going to be getting that station back on line. Once they do that they will shift their gas over to us. Henley |
| 1705 | Station 2 | Tiny called in. Conferenced him up with Darrell. He requested to be able to send the guys home and not to keep them out to replace a cylinder and liner this evening. He said he felt like it was a little hard to justify the overtime this evening when we had one available unit at station 1 and also an available unit at station 3. Darrell told him to go ahead and he can make the choice with the team and we’d take a chance on it for this evening. That’s what they elected to do. Muntz |

1830 to 0630 Shift Tues., Feb. 12, 2002  (Braswell, Armitage, Barry, Hall)

| 1853 |  | Called the OCC for the on call for Needles. Lost the flow at the Mojave Topock. I did touch base with Randy at the Needles team. He wanted me to call El Paso and find out whether or not they’ve lost anything before he actually headed out that way. I did call El Paso. They lost some units out at the station. They do have people out there trying to put things back on. There is no flow at this time but they are working on it. Braswell |
| --- | --- | --- |
| 2035 | Perryton Barlow | I’m showing unit 2 down at this time. I called the OCC and requested the on call. Barry |
| 2300 | Stevens 2 | Just got a call from Jeff. He’s got the unit back on. He said he’d stick around for a little bit to make sure it’s going to stay on. Then he will be headed home. Hall |
| 0150 | Mojave Topock | Talked to Albert again at the Mojave gas control. I was trying to get some type of status as to the availability of their units. He’s saying that they were still having problems out there. They were in the process now of trying to start a generator out there. They initially lost the unit out there which in turn it knocked the generator off. Something happened and it ended up with all of their generators off so they lost the entire plant. Right now they are trying to get their generators back on so they’ll be able to get their units back on. We still don’t have a flow right now from Mojave Topock. Told him to keep us up to date and let us know what was going on out there. Braswell |
| 2157 | Farmington | Put a start in #6 unit to build the discharges up on station. Armitage |
| 0315 | Faribault | Have put a start in Faribault to put it on line due to suction at Farmington and the discharge at Farmington falling. We’ve got over 500 going out at Minneapolis 1D. Armitage |
| 0325 |  | Have put a start in #2 unit at Farmington going west. Armitage |
| 0500 | Finney 2 | Lost #2 unit. I called Mel Fry. He said unless the suction gets to 15# just to leave it. Otherwise if it gets up over 15# to give him a call again and he’ll go on out and take care of it. Otherwise he will get it at 7:00 when they get out there. Hall |

slb