Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Wed., Feb. 6, 2002  (Munson, Welsh, Calhoun, Cummings)

| 0610 | Atoka 2 | Unit 837 is back on. Munson |
| --- | --- | --- |
| 0845 | Flagstaff | I noticed a pretty good drop in the temperature at the FLAG station, Flag Citizens. I notified Glenn at the Flagstaff office. He’s going to go check things out, make sure the heater is still functioning properly. Munson |
| 1355 | Station 9 | Unit 903 is down. I notified Scotty through the OCC. Munson |
| 1355 | Red Cedar Plant | I called Mary Jane at the plant and asked her to bring the CO2 back down within spec. They’ve been running above 2.8 for the better part of the day today. She said that she would work on it. Munson |
| 1410 | Station 9 | Unit 903 is back up. Munson |
| 0800 | Heartland Corn | Had them cut back a little because the pressures got down below the 350, down to about 313. They took the rate from 3.7 down to 3.3 until it turned around. Then they brought it back up. Calhoun |
| 0830 | LaCrescent | Brought the unit on. That was primarily because our “D” line pressures were falling off. Out at Tomah it got down to 420 and was still falling so I brought it on. Calhoun |
| 0830 | North Branch | Changed the service codes from 3 to 7 so that we could pump some gas north down to the Cities to catch the load and also they were wanting to test out unit #1. They had done some work on it so we had them put it on the north pumping south. Calhoun |
| 0850 | Guthrie Center | Brought the turbine on line. Calhoun |
| 0900 | Glenwood | Took them from 30 to a zero. Calhoun |
| 1010 | Farmington | They shut unit #3 down to do some work on it. Also our west discharge pressure was back up to normal. We had one of the field guys go out to MN1P to check the regulator setting that was going out on the Willmar discharge. They found a valve that was left open that feeds the Willmar discharge into MN1P. They usually run it in the closed position during the wintertime so that the Willmar discharge doesn’t fall off quite as fast. They got the valve closed. Calhoun |
| 1030 | Ogden | Had them put unit #17 on the line. We split it out, half of it going north and half of it going east. Calhoun |
| 1205 | LaCrescent | Shut the unit down. Pressures turned around at Tomah and we were in good shape on the “D” line. Calhoun |
| 1225 | Owatonna | Took the unit down. Farmington’s pressures were growing rather quickly since the load had backed off. Calhoun |
| 1350 | Faribault | Shut the unit down. That’s primarily because Farmington’s pressures were still growing. After talking to John Sturn who had called in, felt like the preference would rather be to have Owatonna on than Faribault since Faribault was so close to Farmington. So I brought Owatonna back on at 1435. Calhoun |
| 1430 | Beatrice | Shut down the turbine. The loads were backing off and the temperatures were warming up. Also with the flow rate we had going through Clifton we were able to move the same amount of volume with the HP on at Clifton and Palmyra. Calhoun |
| 1620 | Maljamar | I dropped the #1 unit at Maljamar by remote stop, no demand. There was gas flow shifted from Conoco over to Zia this afternoon with Zia finishing the work on their plant so we didn’t need that unit on anymore at Maljamar. We can move the gas with one unit. I visited with Randy at WT1 about this so he knows about it. He contacted the Conoco plant. Munson |

1830 to 0630 Shift Wed., Feb. 6, 2002  (Hardy, Henley,  Monden, Spain, Muntz)

| 1930 | Gallup | Received a peak alarm. Gallup is already slowed down. Henley |
| --- | --- | --- |
| 1945 | Gallup | The peak alert is over and the alarm has returned to normal. Henley |
| 2207 | Minnegasco | Called and spoke with McCray. They wanted to take 14 million back to storage at Glenwood. I spoke with Juan. He did have the order for Minnegasco. I did give a copy of the sheet to Jean Blair. She said she would get it to the appropriate person who takes care of the interconnect for Minnegasco. Had a 5 million nom there already when I spoke with Juan. Brought the delivery of the gas up to 41 million rate to come in on a 19 million nom. Monden |
| 2238 | Farmington | Shut down unit #2. Units were slowed down and dumping over the x-over. Pressure going west is 927. Monden |
| 2302 | Red Cedar | CO2 just jumped up to 3.0. I called the plant and spoke with James. He said it’s just a momentary blip. He’ll have it back down under 2.7 here shortly. Henley |
| 2305 | WFS LaMaquina | Just spoke with Steve. We lost flow there. Called him. He said that they have lost a heater and that he has people headed that way. In the meantime he’s going to try to increase his flow at Kutz. Until the people get out there he’s not going to know how long the flow is going to be affected. Henley |
| 0035 | Ogden | Shut down unit 14. It was going from “BC” pumping east. Had started sending gas back south on the Ventura interconnect. The flow control for the east “B” to the “B” north has started cutting back and the regulator for the “CD” north has started opening up more to send more gas north. Going to slow that down, shut unit 14. Monden |
| 0040 | LaMaquina | At 2305 I called WFS and they had lost a heater out there. He had people headed that way. Just spoke with Steve and Chris at WFS. They are telling me know that it’s going to be an additional 1.5 hours before we recover that flow. Henley |
| 0142 | Palmyra | Shut down unit 24 to make room for some of the gas rolling back from the north from Ogden. Monden |
| 0145 |  | Shut down #29 on the “E” line service at Clifton. Also shut down #5 unit on the “E” line service at Tescott. North end pack is growing a bit too fast. Also called Cunningham to put in an order to bring withdrawal from 440 down to 250. Then called and talked to Bushton to let them know the changes also. Hardy |
| 0215 | Palmyra | Unit 21 – Shut the unit down to help get off the gas going north up to Ogden. Monden |
| 0220 | WFS LaMaquina | It looks like the flow rate is coming back up. We’re currently doing 45. I checked with Steve with WFS. He thinks that they may line out right there so we’re going to adjust the flow accordingly to come in for the day. Henley |
| 0253 | Minnegasco | McCray called and said he wanted to increase his injection at Glenwood, take it up to 19.776. I called NGPL and spoke with Juan. He did have the same information. I increased Glenwood up to 65 to come in on nom. Monden |
| 0307 | Minnegasco | I spoke with McCray again about his order to take gas back to Glenwood. He had a nom of withdrawal of 14. He took that to zero. I already had a nom at Glenwood of 5 million. Then he went to injection with 19.776 which brings the delivery to Glenwood as far as rate up to 120 to come in close to the 38 nom total. Monden |
| 0419 | Woodward Co. 3 | Unit 4 shut down. Wayne called in and said that he would go out first thing in the morning and restart it. Muntz |
| 0520 | Station 1 | Received an AC power fail alarm, air compressor fail alarm, intrusion alarm. Merlyn is going to check that out for us. Henley |
| 0528 | NBPL | With the upcoming day we show a cut from 936 to a 784, roughly 150 million. With CC out at the interconnect at Ventura just so we wouldn’t have such an abrupt cut later on today, elected to cut back by 50 million at this time. We’ll have more of an open window later to cut some more and hopefully some of this come back up, back into our pipe on noms. Monden |

slb