Services provided by Northern Natural Gas

And Transwestern Pipeline Company

- Enron Transportation Services

- Gas Control Event Log

0630 to 1830 Shift Thurs., Feb. 28, 2002  (Moore, Alvarado, Barnes, Coash)

| 0700 |  | Put the Hubbard unit on line. Coash |
| --- | --- | --- |
| 0755 | NNG Estes | Received a call from Rick this morning. He informed us that the Estes point is leaking through the stem and he had to manually shut that in. He said in the future when we’re flowing we’ll have to get them to go out and open it and shut it in when it’s down until they get this problem fixed. Moore |
| 0915 | Minnegasco | They called and said they had shut in Medford. They were doing 10 million withdrawal out of their storage. He said they would probably bring it back on around 2:00 this afternoon. Coash |
| 0923 | Jal | Unit #1 has been taken down. They are going to change some sparkplugs on it and then bring it back on. Alvarado |
| 0938 | Jal | Unit #1 is back on. Alvarado |
| 0958 | Clifton | Unit 31 shows a shut down boiler alarm. Advised the Clifton operator. Barnes |
| 1000 | Station 1 | Received an alarm in here, station alarm, ESD bypassed. Made a call out there and talked with Sonny. He said that Scott is out there and they are doing some testing on the station. Moore |
| 1030 | Sid Richardson Keystone | At the time they are flowing about 33 on a 53 nom. I made call over there and talked with Jeff to make sure we agreed on the nom for the new day. He said they did show 50 and he’s going to get it up on rate. Moore |
| 1050 | Station 2 | They have pulled an ESD. I’ve got a station alarm there. This is their testing that they need to do. There are no units on at this station. Moore |
| 1014 | KN Pony Express | POI 71214 – NNG shows a nom of 80.980. KN shows a 70.0 nom. I spoke with Robert Benningfield. He said the 80.980 is correct and he will call KN schedulers and see if we can get this rate back up to 80. Barnes |
| 1039 | Finney Co. 2 | Unit 5 down, no demand. Finney 2 is on the nominated rate. Barnes |
| 1045 | Cunningham | Requested a drop in the withdrawal rate from 350 to 200. Barnes |
| 1048 | Bushton | Requested they slow down their turbine unit #32. Barnes |
| 1050 | Tescott | I advised the operator that we’d like to take down unit 3 that is on the “D” line. Barnes |
| 1059 | Tescott | Unit 3 down by remote stop, no demand. Barnes |
| 1105 | Meridian | Per Darrell Schoolcraft, we’re going to do 15 make up at that interconnect. They’ve over delivered for the month. The nom is 156.9. We’re going to make up 15 so we’re going to flow about 140 for the remainder of the day. I talked with Mary at Meridian. She agreed. Moore |
| 1112 |  | I just received a call from Eric Haiduk. He let me know that he’s going to do some work on the meter at the NNG/TW Gray interconnect. He’s going to blow that down. He will let me know when he’s finished. Moore |
| 1108 | Cunningham | It is now at a 200 rate. Barnes |
| 1119 | Stevens Co. 7 | High level tank alarm. I advised the operator. He was already aware of the situation and has a truck scheduled to pick it up today. Barnes |
| 1150 | KN Pony Express | It has now increased to the originally scheduled nom rate of 80. Barnes |
| 1215 | Meridian | Made a call and talked to Mary. Let her know the CO2 has been creeping up. I’m showing 1.93 now. She said that she would cut some gas there to bring that down. Moore |
| 1225 |  | Had OCC contact Jesse on the Roswell team. I wanted to question him about the Agave Bitter Lakes point. We’re still not seeing the flow there. He did tell me that Bob is out working on that interconnect at this time. He will have him contact us today when he gets through there because I let him know that we are going to have to have some kind of numbers on what actually flowed for yesterday and now today’s gas day since we’re not getting accurate measurement. Moore |
| 1300 | Agave Sugart Lateral | I received an alarm here showing a station differential pressure low of 5.5. Made a call out to the WT and talked to Bob. He said that he would a call to Agave and find out what their plans, see if they need to maybe change a plate there or shut it in. Moore |
| 1305 | Agave Arroyo | Received a low differential alarm in here. Got a hold of Cody on the Artesia team. He is going to get with Agave. Moore |
| 1325 | Meridian | The CO2 there is up to 2.0. I made a call out and talked to Chip. He said they had a little bobble but they are working on it. We should see it come right back down. Moore |
| 1313 | Morton Co. 1 | Tank level dropping as liquids are loaded on transport. Barnes |
| 1315 | Stevens Co. 7 | Tank level also being loaded on transport. Barnes |
| 1539 | Bushton | Turbine unit shut as requested. Barnes |
| 1617 | Sublette | Operator called to say that it won’t be a call out when unit 20 goes down which is expected to happen soon because of Oneok’s unit problems. Sublette operator will restart this unit when Oneok is ready and they will call him. Barnes |
| 1616 | Tescott | Unit 5 down. I cannot do a remote reset of the alarm. I advised the on call and he will restart the unit. Barnes |
| 1632 | Sublette | Unit 20 down as expected. Sublette operator will restart as previously described. Barnes |

1830 to 0630 Shift Thurs., Feb. 28, 2002  (Hall, Cummings, Davis, Munson, Welsh)

| 1815 | Station 8 | We have a low air alarm at station 8. I reported it to Troy. He is going to look into things. Munson |
| --- | --- | --- |
| 1840 | Red Cedar | I called Mary Jane at the plant and asked her to bring her CO2 down. Munson |
| 1841 | Valverde | I called Lecero at the plant and asked him to bring his CO2 down. Munson |
| 2257 | Finney 3 | Called the OCC. They got a hold of the on call Darrel. Told him I have a low dehy temperature alarm. He said he would get somebody on it right away. Hall |
| 2325 | Atoka 1 | Unit 720 is down. I notified the OCC. Munson |
| 2326 | WFS | I noticed that WFS is running about 12 million short for the day on all of their locations. I called gas control and spoke with Terry. He said that was going to have to stay for the night. He said he doesn’t have enough gas to flow anymore than the gas he has on right now. Munson |
| 2333 | Tescott | Lost #5. I called the OCC. They got a hold of the on call Gary. He is going to go out and take a look at #5 for us. Hall |
| 0029 | Tescott | I got a call back from Gary. For a little bit the unit was coming back on line. He went back out to clear it and then he said he would give us a call to give it another start. Also we lost unit #20 at Sublette. Frank is going to be headed out there to put it back on. Hall |
| 0030 | Atoka 3 | Unit 762 is down. I notified the OCC. They got a hold of John. He is going to go out. Earlier on the Atoka 1 unit they got a hold of Jerry. John said he will call his teammate Jerry and they’ll get together and get both of these units back on. Munson |
| 0055 | Tescott | Just got a call back from Gary. We got the unit back on, unit #5. Hall |
| 0114 | Finney 3 | Just got a call from Darrel. He went out and took care of the dehy. He said it went down this time on high temp. He said he just now got it stabilized and everything so he is headed home. Hall |
| 0128 | Sublette | Just got a call from Frank. He’s got #20 back on. He said it went down on lubricator failure. Hall |
| 0155 | Sublette | Just got a call from Frank. #20 is back down again. He is headed back out to see what it went down on. Hall |
| 0310 | Burdett | Called the OCC. They got a hold of Dennis the on call. He said that they’ve got some parts on order for their boiler. He said he would probably just wait until later on this morning and go out and take care of it. Hall |
| 0322 | Sublette | Just got a call from Frank. He put 21 on this time instead of 20. He said it went down on lubricator problems again. He will have them look at that later on this morning. Hall |
| 0325 | Coronado Pecos | They called and they’ve got some problems on their side. They’ve got way too much gas. They asked if we could cut back a little bit. He suggested cutting back from about 30 back to 14-15 million which is the minimum at that interconnect to help them out. Their order is considerably less for tomorrow and they said that they would be glad to make it up in the wee hours of the morning or around the beginning of the gas day. They would go ahead and take extra to make up for what they didn’t get tonight. We did cut it back for them. Welsh |

slb