WEEKLY UPDATE FOR GAS LOGISTICS

12/28/01

Below are the highlights for the week of December 24th through December 28th.

This covers Gas Logistics (FGT, NNG and TW).

ACCOUNTS RECEIVABLE

This week Gas Logistics is working on collection of NNG November commodity invoices, which were due December 24th.  Invoices greater than $100,000 have been paid.

We are working on collection of the remaining invoices.  The only invoice that is a concern is West Texas Gas for $66,582.04.  They have not made a firm commitment to pay.  We are working with Marketing on this issue.

GAS CONTROL UPDATES:

# NNG		Normal Temp		Actual Temp		North Load

Dec. 24th	19			12			3.274 Bcf

Dec. 25th	18			11			3.305 Bcf

Dec. 26th	18			18			3.361 Bcf

Dec. 27th	18			19			3.265 Bcf

Dec. 28th	18 Forecast		10			3.500 Bcf

Dec. 29th	17 Forecast		5			3.600 Bcf

December is 18% warmer than normal through the 26th in NNG’s Market Area.

# TW		California Delivery		East Delivery

Dec. 24th	1.017 Bcf			0.379

Dec. 25th	0.998 Bcf			0.370

Dec. 26th	0.981 Bcf			0.371

Dec. 27th	0.926 Bcf			0.430

Dec. 28th	0.955 Bcf			0.411

# FGT System Update

    - Sold 80,000 mmbtu to loosen up line pack for the Christmas weekend.

Delivered 1,342,000 mmbtu. Market under burned 44,677 mmbtu.

    - Began gas day with line pack of 4,450 mmcf.

Delivered 1,466,000 mmbtu. Market overburned 14,095 mmbtu.

    - Began gas day with line pack of 4,411 mmcf.

Delivered 1,342,000 mmbtu. Market under burned 44,677 mmbtu.

    - Began gas day with line pack of 4,492 mmcf.

Delivered 1,228,881 mmbtu. Market under burned 140,093 mmbtu.

    - Began gas day with line pack of 4,631 mmcf.

Delivered 1,199,045 mmbtu. Market under burned 164,928 mmbtu.

Backed off large amount of receipt gas.

    - Began gas day with line pack of 4,746 mmcf.

Delivered 1,292,208 mmbtu. Market under burned 77,419 mmbtu.

Again backed off considerable amount of receipt gas. Pulled several compressor stations off line due to no demand in the market. Hated to pull the stations knowing the freezing temperatures were setting in and knowing the market was going to be strong the next day because of the weather.

    - Began gas day with line pack of 4,690 mmcf. Temperatures near the freezing mark as far south as Orlando and Tampa.

Delivered 1,803,032 mmbut. Market over burned 299,457 mmbtu after

Scheduling up intra day from 1,380, 000 mmbtu to 1,503,575 mmbtu.

Difference of 510,824 mmbtu in deliveries from the 25th to the 26th.

Largest swing on this pipeline ever. Posted a potential overage alert day notice during the afternoon, warning customers of an overage alert day for 12-27-01 gas day. Called on all available horsepower. Compressor Station #10, 12, 15, and 18 worked all day and through the night to get up units with mechanical problems. Called customers during the night requesting they come off gas due to the fact they had already exceeded their nominations.

    - Began gas day with line pack of 4,355 mmcf. Posted overage alert day with a 5% tolerance.  Issued hourly restrictions on all peaking power plants in the market to their hourly MDTQ. Did not fall below any contractual pressures or obligations. Market cooperated with the alert day and restrictions. Market scheduled up to 1,622,000 mmbtu.  Delivered 1,500,000 mmbtu. Market under burned 122,000 mmbtu. Received 80,000 mmbtu of  imbalance gas and all other gas we could find.

12-28-01	Beginning gas day with line pack of 	4,535 mmcf. Posted overage alert day with a 15% tolerance. Released all hourly restrictions on the market.

Florida Power and Light scheduling at near 600,000 mmbtu per day during these eventful times.