5.	Financial Information

5-a.	Description of Financial Model

This section provides a description of the principal assumptions and calculations used in the financial model.  The table below lists a number of the key inputs for the financial model.

Key Inputs

|  | 1999 Plants |  |  |  | 2000 Plants |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | BROWNSVILLE | caledonia | new albany |  | GleasoN | wheatland | wilton center |
| PPA Start Date | Jan. 2001 | Jan. 2001 | Jan. 2001 |  | Jan. 2001 | Jan. 2001 | Jan. 2001 |
| Contractual PPA Capacity (MW) (1) | 458 | 466 | 371 |  | 510 | 470 | 608 |
| Annual Generation (000 MWh/year)(1) | 625 | 544 | 410 |  | 533 | 461 | 2,002 |
| Fixed Demand Charge Rate ($/kW-month) | 4.00 | 4.00 | 4.00 |  | 4.00 | 4.00 | 4.00 |
| Energy Charge (2000 $/MWh) | 1.50 | 1.00 | 1.00 |  | 1.50 | 3.00 | 2.00 |
| Start Charge (2000 $/Start/turbine) | 1,500 | 1,000 | 1,000 |  | 1,500 | 1,500 | 1,000 |
| Assumed Starts Per Year | 75 | 75 | 75 |  | 75 | 75 | 75 |
| Number of Turbines | 4 | 6 | 6 |  | 3 | 4 | 8 |
| Variable O&M Rate (2000 $/MWh) | 1.50 | 1.00 | 1.00 |  | 1.50 | 3.00 | 2.00 |
| Fixed O&M (2000 $000) | 1,564 | 1,721 | 1,878 |  | 1,242 | 1,516 | 1,449 |
| Plant Net Heat Rate @ 900 (HHV, Btu/kWh) | 11,406 | 12,064 | 12,500 |  | 10,592 | 11,734 | 11,973 |
| Applicable State Income Tax Rate | 6.00% | 5.00% | 5.00% |  | 6.00% | 4.50% | 7.18% |

- Includes additional capacity of 20 MW at Caledonia and 15 MW at New Albany, with installation of evaporative coolers by June 2000.

- Capital Costs

Debt and Equity. The financial model allocates the sources of capital from debt and equity to the 1999 Plants and the 2000 Plants at 42% and 58%, respectively.

Power Contract Liability.  Pursuant to APB 16, the present value of difference between the $4.00 Fixed Price Demand Charge Rate and the ICF Curve for years 2001-2003 is capitalized on a plant-by-plant basis for GAAP purposes.

B.	Revenue Assumptions

In calculating revenue, the financial model incorporates the terms of the PPAs and merchant price projections from ICF Resources’ (“ICF”) market report.

1.	Fixed Price Period Operating Revenue Assumptions

The fixed price period extends from January 1, 2001 through December 31, 2003 for all 6 Plants.

- Demand Payments.  ENA pays the Demand Payments, based on a Fixed Demand Charge Rate of $4.00 per kilowatt-month, and calculated as follows:

- Demand Payments = $4.00 x Contractual PPA Capacity x 12 months

- Energy Payments.  Enron pays the Energy Payments which are calculated as follows:

- Energy Payments = Energy Charges x Annual Generation

- Energy Charges are inflated at 3% per annum.

- Start Charges.  Enron pays the Start Charges which are defined as follows:

- Start Charges = Start Charge ($/Turbine/Start) x 75 Starts x Number of Turbines

Start Charges escalate at 3% per annum.

2.	Merchant Price Period Operating Revenue Assumptions

The merchant price period extends from January 1, 2004 through December 31st, 2020 for all the 6 Plants.  Merchant capacity prices for the Plants have been independently assessed by ICF.  ICF has provided three capacity price forward curves for the Plants: the TVA curve for the Caledonia, New Albany, Brownsville and Gleason Plants; the Com Ed curve for the Wilton Center Plant; and the Southern ECAR curve for the Wheatland Plant.  The model adjusts ICF’s real capacity price projections to nominal values utilizing an inflation factor of 3%.

- Demand Payments.  Demand Payments are determined as follows:

Demand Payments = Contractual PPA Capacity x ICF Base Case Capacity Price x 12 months

ICF Base Case Capacity Prices are listed in the table below.

ICF Base Case Capacity Prices

(Nominal $/kW–month)

|  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TVA | 6.42 | 6.74 | 6.82 | 6.91 | 7.00 | 7.09 | 7.18 | 7.32 | 7.46 | 7.60 | 7.74 | 7.89 | 8.00 | 8.11 | 8.23 | 8.35 | 8.47 |
| Southern ECAR | 6.77 | 7.13 | 7.27 | 7.42 | 7.57 | 7.73 | 7.88 | 7.98 | 8.09 | 8.19 | 8.30 | 8.40 | 8.53 | 8.66 | 8.79 | 8.92 | 9.06 |
| Com Ed | 6.70 | 7.01 | 7.15 | 7.30 | 7.45 | 7.60 | 7.75 | 7.90 | 8.06 | 8.21 | 8.38 | 8.54 | 8.67 | 8.81 | 8.94 | 9.08 | 9.22 |

- Variable Revenues.  Variable Revenues are calculated as follows:

Variable Revenues = [(1/3) x Start Charge ($/Turbine/Start x 75 Starts Per Year x Number of Turbines] + [Energy Charge x Annual Generation]

Only a third of the Start Charges are additional revenues, as ICF’s capacity price projections have 2/3 of the value of major maintenance costs embedded as a fixed value.  Start Charges are inflated at 3% per annum.

Energy Charges are escalated at 3% per annum.

- Amortization of Power Contract.  The Power Contract Liability is amortized on a straight-line schedule over the Fixed Price Period.

3.	Interest Income

Interest income on cash balances, based on 25% of annual EBITDA (less Amortization of Power Contract), has been included in the revenues.  The model assumes an interest rate of 5% per annum.

C.	Operating Costs Assumptions

- Fixed O&M.  Fixed O&M includes payroll expenses and other fixed O&M expenses. The amount of annual fixed O&M is approximately $5.2 million for the 1999 Plants and $4.2 million for the 2000 Plants ($ 2000).  Both are inflated at 3% per annum.

- Variable O&M.  Variable O&M expenses include water costs and variable maintenance expenditures, and are calculated as follows:

- Variable O&M = Variable O&M Rate x Annual Generation

Variable O&M per unit is inflated at 3% per annum.

- Major Maintenance.  The model assumes an annual major maintenance expense of approximately $1.35 million for the 1999 Plants and $1.39 million for the 2000 Plants ($ 2000), assuming 75 starts/year.  Major maintenance expenditures are inflated at 3% per annum.

- Owner’s Expense.  The Owner’s Expense includes Insurance, Utilities, Interconnection Fees, Gas Pipeline Metering Cost and Miscellaneous Expenses.  The amount of the Owner’s Expense is estimated at $1.2 million for the 1999 Plants and $1.1 million for the 2000 Plants.

- Property Taxes.  The amount of the property taxes is estimated at $1.3 million for the 1999 Plants and $0.6 million for the 2000 Plants ($ 2000).  Property taxes vary based on abatement programs and other local issues.  Property taxes are not escalated annually.

- Franchise Tax. Franchise Tax is calculated for Brownsville, Gleason, New Albany, Caledonia and Wilton.  For Brownsville and Gleason, Tennessee imposes a .25% tax on the higher of (1) capital stock less treasury stock or stock held in other Tennessee corporations, retained earnings, indebtedness to, or guaranteed by, affiliated corporations and all reserves that do not represent legal liabilities, or, (2) the cost of all property owned less book (GAAP) accumulated depreciation.  For New Albany and Caledonia, Mississippi imposes a .25% tax on corporation capital employed in Mississippi.  The measure of capital includes stock, paid-in-capital, surplus and retained earnings less certain reserves.  For Wilton, Illinois imposes a franchise tax, which is the product of the computed paid-in capital multiplied by a .15% (drops to .10% after first year) rate.  The computed paid-in capital is comprised of consideration paid for stock, any other consideration contributed to the corporations by a shareholder and any amounts added or transferred to paid-in capital by the board of directors.

- Wheatland Adjusted Gross Income Tax and Gross Receipts Tax. Indiana income is subject to the greater of a 3.4% adjusted gross income tax or a 1.2% gross income tax.  The adjusted gross income tax are based on federal net income, adjusted for specific Indiana additions and subtractions.  The gross income tax base is total gross receipts, without any deductions for expenses or related cost.

D.	Accounting and Tax Assumptions

- Depreciation and Amortization.  The 1999 and 2000 Project Costs are depreciated based on a 15-year MACRS depreciation schedule for the calculation of cash taxes.  The 1999 and 2000 Project Costs, and Power Contract Liability are depreciated over a 30-year straight-line schedule, with a residual value for the assets of 10%.

- Income Taxes.  Federal tax and State income tax benefits from the Plants are calculated assuming utilization on a carry forward basis at the holding company level.  The applicable local state income tax rates are listed in the Key Inputs table.

5-b.	 Financial Model

6.	S&P’s Write-up of Enron Generation Company

# ENRON GENERATION COMPANY, LLC

Analysts: Jeffrey Wolinsky, CFA, New York (1) 212-438-2117

Peter Rigby, New York (1) 212-438-2085

RATING ASSIGNED:	BB+ (Confidential)

DATE:			November 3, 1999

OUTLOOK:		STABLE

$775 million senior secured bonds to be issued in three tranches:

$100 million Tranche A bonds maturing in 2003

$200 million Tranche B bonds maturing in 2009

$475 million Tranche C bonds maturing in 2019

RATIONALE:

Standard & Poor’s assigned a BB+ rating (Confidential) to Enron Generation Company, LLC’s (EGC), $775 million senior secured bonds.  EGC owns a 99% limited partnership interest in six natural gas-fired simple-cycle power plants, with a capability of 3,159 MW located in Tennessee, Mississippi, Kentucky, Indiana and Illinois.  About half of the facilities are in commercial operation and the other half are expected to be in service by July 2000.  The rating reflects the following risks:

- Merchant risk under the power purchase agreement (PPA) during the market price period (2004-2019).  Because the facilities are defined as peaking facilities, they rely on capacity revenues for cash flow stability.  Average prices for capacity are expected to be much more volatile than average prices for electricity.

- The inability of the project to enter into sales agreements during the market price period in excess of five years.  Short-term sales agreements increase cash flow volatility and increase risk for bondholders.

- An auction process under the PPA that gives ECT the right, but not the obligation to purchase 70% of any block of power at the auction price.  Standard & Poor’s concludes that the value of this option could be reflected through lower bid prices.

- A moderate amount of technology risk.  The turbines range from commercially proven models with significant operating history to new models with limited or no commercial history.  The mix also includes modified older turbine models with limited commercial history for the modifications.

The following strengths offset the risks at the BB+ level:

- Substantial liquidity in the form of a 12 month debt service reserve fund during the merchant period and a restrictive covenant package that limits distributions to equity participants.

- The flexibility of the plants to deliver power into multiple market areas decreases their susceptibility to isolated regional problems.  The plants are all located on 500kV transmission lines and high pressure gas pipelines, which also mitigates deliverability constraints.

- A demonstrated need for peaking capacity in the MAIN, ECAR and TVA market regions.  The combination of declining reserve margins and a disproportionate amount of base load capacity in each region, substantiate a need for peaking load generation in the near-term.

- The expertise of Enron as an energy marketer to obtain gas and sell the output of the plant during the merchant period (2004-2019).  Enron is the largest marketer of natural gas and electricity in the US.

- Low construction risk.  Some of the 1999 facilities are in operation and all of the facilities are scheduled to be in operation by July 2000.

# Outlook: STABLE

The Stable outlook reflects the anticipated completion of the projects without significant delays.  The plants are expected to operate in accordance with the guarantees.  The anticipated volatility in revenues in conjunction with the fall-away provision of the debt service reserve fund (DSRF) make an upgrade to investment grade unlikely.  The additional six month debt service reserve fund requirement during the merchant period falls away if EGC has maintained an investment grade rating from Standard & Poor’s for at least 2 years and Standard & Poor’s affirms that the rating will not be downgraded because of the fall away.  Alternatively, a sustained depression in capacity prices during the merchant period could cause a downgrade.