# Renewable Power Purchase

# Environmental Protection Agency Facility in Houston, Texas

# Request For Information

The EPA would like to gather information regarding potential renewable power or “renewable energy credits” purchase options for its Houston, Texas facility. This RFI also serves to give renewable power suppliers advance notice of EPA’s possible interest in purchasing renewable power and should allow them sufficient time to fulfill certification and other related requirements.  Respondents to this Request for Information (RFI) will be kept informed of the EPA Houston facility’s renewable power purchase plans.

Please send responses to Chandra Shah (via email, fax or mail) by Friday, November 9, 2001.  Partial responses will be accepted.

## Chandra Shah

National Renewable Energy Laboratory

## 1617 Cole Boulevard MS 2723

Golden, CO 80401-3393

303-384-7557 (phone)

303-384-7411 (fax)

chandra_shah@nrel.gov

Questions relating to the Federal procurement process should be referred to Lindsey Lee at 202-501-2291 or lindsey.lee@gsa.gov.

# EPA Facility Information

The Houston, Texas facility provides office and laboratory space in support of regional monitoring and criminal, civil and enforcement activities. The annual energy consumption is approximately 3.2 million kWh/year, with an estimated peak demand of 575 kW and a 65% load factor.

# Questions

# Renewable Power Purchase

- What is the estimated price range for  a) 25% renewable power, b) 50% renewable power, c) 100% renewable power?

- What is the estimated price range for renewable power from “New” (versus existing) generation (e.g. 50%, 75% or 100% New)?

- How might contract length and possible renewal options affect the cost premium?

- If the EPA were to aggregate with other entities to create a larger renewable power purchase, how would that reduce the premium? What total electricity demand level would be necessary to result in significant premium reductions?

- When would you be able to begin delivery of the renewable power?

- What renewable resources would you use to supply your renewable power products?

a) Where are they located? Do you have any resources in the Houston area that would have a positive impact on air quality?

b) When were they installed?

c) What are their estimated emission characteristics?

d) What portion (if any) of the resource will be used to satisfy the Texas RPS?

- What are your plans, if any, for Green-e certification? Do you foresee any problems with meeting the current (and future) requirements for Green-e certification?

- Would you be able to take advantage of any funding or tax incentives to help buy-down the cost of the renewable power? If so, how would this funding be incorporated in bids?

- How would transmission costs and congested transmission facilities affect your ability to deliver power into the Houston area?"

- Would you be interested in supplying a “Renewable Energy Certificate” type product? Would this reduce the premium?

- Are there any pertinent laws or regulations related to renewable power purchases in Texas that we should be aware of (such as settlement/load following requirements for energy delivery and/or disclosure purposes)?

- Do you have any other comments regarding the renewable power market in Texas?

### General

- Are you currently a certified Retail Electric Provider with the Public Utilities Commission of Texas?

If you are not certified, do you have plans to do so? Do you foresee any barriers to being certified?

- Are you registered with ERCOT and/or FERC as a wholesale provider, or do you have a contract with an ERCOT or FERC supplier?

- In what other states are you a registered electricity supplier? Do you have renewable power products in these states? If so, how many renewable power customers do you have?

- How long has your company been in business? Is your company a subsidiary of a regulated utility? What is your company’s technical and financial capabilities?

- Please send us company brochures and any other pertinent written material with information about your company.