# CONFIDENTIAL MEMORANDUM

To:		Mona Petrochko

From:		Bob Weisenmiller

Derik Broekoff

Suzie Kito

MRW & Associates, Inc.

Subject:	Preliminary Valuation of PG&E’s Hydroelectric Assets

Date:		September 28, 2025

#### I.	Introduction

This memorandum presents preliminary results of MRW’s efforts to value Pacific Gas & Electric’s (PG&E’s) hydroelectric assets in support of Enron’s efforts in the Annual Transition Cost Proceeding (ATCP) and in preparation for the advice letter to be submitted by PG&E regarding its valuation of these assets.  In this memorandum, we discuss our approaches and present our preliminary results.

MRW has used several approaches in an attempt to develop the market value of PG&E’s hydroelectric assets.  These are discussed below.

#### II.	PG&E’s Valuation Before the Legislature

One method for valuing PG&E’s hydroelectric assets is to use the value quoted by PG&E before the legislature when spin-off was being considered, but adjusting this figure downwards for the hydroelectric contracts that are not being sold at this time.   PG&E attempted to transfer ownership of its hydroelectric facilities and its hydroelectric contracts for a total of $3.3 billion.  It is MRW’s understanding that PG&E never provided any support for its calculation.  However, Enron has indicated that PG&E told CLECA/CMA that PG&E had assumed $750/kW for the 3,800 MWs of PG&E owned facilities and $400/kW for the 1,200 MW of contract generation.  This would result in a market valuation of $2.85 billion for PG&E’s hydroelectric assets, excluding the contract generation (which is another $480 million for a total of about $3.33 billion).

Similarly, the Association of California Water Agencies had developed an estimate that ranges from 3.14 billion to $4.34 billion for the PG&E hydroelectric assets excluding contract generation.  The ACWA analysis values PG&E run of river and pondage hydroelectric assets by taking the net present value of revenues over a thirty year period, with a discount rate of 15%, assuming that the hydro assets receive a PX price of 2.4 cents/kWh (i.e., the 1998 PX price) and 3.8 cents/kWh (i.e., the replacement cost).  This results in a valuation ranging from $1.3 - $2.1 billion for the run of river assets and $700 million to $1.1 billion for the pondage assets.  Note that this analysis does not net out O&M costs or capital additions, nor does it address inflation, taxes, or depreciation.  ACWA values PG&E’s Helms pumped storage facility based upon a replacement cost of $950/kW or $1.14 billion.

#### III.	SCE’s Valuation of its Hydroelectric Assets

Another method for valuing PG&E’s hydroelectric assets is to use the value established by Southern California Edison (SCE) for its hydroelectric assets in $/kW as a proxy for the value of PG&E’s hydroelectric assets, but adjusting this figure upward to take into account the more strategic nature of PG&E’s hydro assets and particularly PG&E’s Helms pumped storage facility.  SCE’s Memorandum of Understanding (MOU) values SCE’s hydroelectric assets at $993 million, for 1,156 MW of hydroelectric capacity, which results in a value of $859/kW.  Applying this to PG&E’s proposal to auction off 3,890 MW of its hydroelectric assets would result in a valuation of $3.342 billion.

In its testimony in PG&E's hydro divestiture application, ORA states that SCE has proposed "a relatively conservative value for its hydroelectric facilities, so that there is little chance that it will not be able to recover its costs, and by having a multi-year balancing account to offset the unlikely instance of a loss [in a] particular year."  In light of the fact that ORA views this valuation as conservative, and that SCE does not have large pumped storage assets such as Helms, we adjust SCE's conservative figure upward to account for these facts.  MRW assumes an upward adjustment of $250/MW for the Helms assets.  This is roughly based upon the net present value (using an after tax discount rate of 11.74%, see discussion below, over a 30-year period) of one half of the after-tax net revenues that Helms generated between July 1, 1998 and June 30, 1999, escalated at 2.5%. Helms earned $81.2 million during this period; we use 50% of the after-tax amount because we expect ancillary services and RMR revenues to decrease in the future and we are not attempting to capture the energy profits which are already built into the $859/kW figure. This results in a total valuation of $3.642 billion, with $2.311 billion for PG&E’s conventional hydroelectric assets ($859/kW x 2,690 MW) and $1.331 billion for Helms ($1109/kW x 1,200 MW).

#### Net Present Value of Future Revenue Streams

Our initial net present value estimation of PG&E’s hydroelectric assets followed the methodology used by SCE in its own recent hydroelectric valuation.  We used PG&E’s FERC filings for 1996 through 1998 to obtain data on O&M costs and net generation for each of PG&E’s facilities.  We then totaled the results to obtain system-wide cost and generation estimates.  We verified the results of this “bottom up” approach using estimates from other sources, including PG&E’s most recent General Rate Case (GRC).  Total O&M costs for these years matched GRC projections and FERC account totals fairly closely.  Net generation, however, was 10 percent above average due to high precipitation in 1996 and 1998.  The following analysis was applied to all of PG&E’s hydro plants except Helms, which was considered separately, because it is a net user of electricity and it is difficult to value Helms without considering ancillary services. To be conservative, we did not incorporate potential ancillary service revenues into this analysis.  To value Helms for this preliminary assessment, we assumed that Helms receives a valuation similar to the other PG&E assets.  This is conservative given that Helms is likely to be more valuable than PG&E’s other hydro assets on a going-forward basis.

## Going-Forward Costs

Because the costs of hydro facilities are not likely to vary greatly with generation levels, we used the average O&M costs of each facility between 1996 and 1998 in our model.  These totaled to $63 million in year 2000 dollars.

For capital costs, SCE assumed that it would spend $15 million per year, in accordance with its “MOU capital allowance.”  For PG&E, we simply divided this expenditure by SCE’s total hydro capacity (1,156 MW), and then applied this ratio to PG&E’s hydro capacity—excluding Helms—of 2,684 MW.  The result is an expenditure of $35 million per year on capital costs (year 2000 dollars). This may be a conservative assumption given that PG&E’s O&M costs are only two thirds of SCE’s on a per-MW basis.

In our pro forma model, all costs were escalated at an assumed inflation rate of 2.5 percent.  SCE subtracted from this a productivity factor (“X-factor”) of 1.6 percent, which was adopted by the California Public Utilities Commission in SCE’s last ratemaking proceeding.  We incorporated this productivity factor in our analysis.

# Table 1.  PG&E Hydroelectric System Cost Assumptions

|  | Value (Year 2000$) | Source |
| --- | --- | --- |
| O&M Costs | $63 million | Average of costs reported in 1996-98 FERC filings |
| Capital Costs | $35 million | SCE $/MW ratio |

## Revenues

Future revenues are determined by annual generation and power prices.  We used PG&E’s “average year” net generation, reported in its 1994 Electricity Report filings for our base case.  We also obtained net generation for “wet” and “dry” year generation from this source. Table 2 summarizes these assumptions.

# Table 2.  PG&E Hydroelectric Generation Estimates

|  | Value (MWh) | Source |
| --- | --- | --- |
| “Average Year” Net Generation | 12,728 | PG&E ER 94 |
| “Dry Year” Net Generation | 7,934 | PG&E ER 94 |
| “Wet Year” Net Generation | 15,451 | PG&E ER 94 |

Following SCE’s approach, we calculated market revenues by using the California Energy Commission’s price projections for 2000 and 2001,  which were $28.45/MWh and $31.01/MWh respectively, and then escalated these prices at a constant rate for subsequent years.  SCE examined sensitivities involving escalation rates of 2.5 percent, 3.5 percent and 4.5 percent, which we used in our analysis as well.

As an additional sensitivity, we examined the results of using two other price projections.  Although SCE indicated that it based its projections on CEC estimates, the average prices used in its analysis are slightly lower than the values for 2000 and 2001 cited above, possibly due to on-peak and off-peak weighting.  (Note that in all cases, using SCE’s escalation sensitivities for 2002 and beyond results in higher values than the CEC’s projections for those years).  For one sensitivity, therefore, we used the slightly lower power prices used by SCE in its model.  As a second sensitivity, we used a 21 year price forecasts derived from Henwood curves (and escalated thereafter).

We estimated total revenues by multiplying net generation times the assumed average market rate for electricity.  This is a simplifying assumption, since in reality hydro generation does not occur evenly throughout the year, nor does it receive the average price.

## Taxes and Depreciation

In order to determine net revenues, we first subtracted taxes, using a 40 percent rate applied to revenues less going-forward costs less depreciation.  We used the same accelerated depreciation schedule used by SCE and published in their workpapers.  This schedule depreciates assets over 20 years.  The same schedule was applied both to the “purchase price” of PG&E’s existing assets (equal to the NPV of after-tax cash flows) and to going-forward capital additions.  An iterative calculation was used to ensure that the tax benefit of depreciation was consistent with the net present value of after-tax cash flows.

## Total Valuation

We estimated the total value of PG&E’s hydroelectric assets by calculating the present value of the net revenues (revenues minus costs, minus taxes) over 40 years.  For our base case, we used a discount rate of 11.74 percent, based upon the discount rate used by SCE in its hydro valuation application, which combines SCE’s current cost of debt (7.64%) and the return on equity required by wholesale electric generators (15.60%), and assumes 35% debt and 65% equity. The cost of debt for PG&E is not significantly different than for SCE.  As an additional sensitivity, we examined the results of using discount rates of 10.74 percent and 12.74 percent.

The results using the CEC’s latest price assumptions for 2000 and 2001, and a discount rate of 11.74 percent, are presented in Table 3.  Table 4 presents results using alternative price forecasts and discount rates, assuming average year generation and a 3.5 percent market price escalation.

Again, note that these estimates do not include a value for the Helms facility. Tables 5 and 6 present these results including the Helms assets, assuming that Helms receives a similar valuation (in $/kW) as the other PG&E assets.

Attached to this memorandum are appendices showing a detailed breakdown of the numbers shown in these tables.  Appendix A contains details for the sensitivities in Tables 3 and 5; Appendix B contains details for the sensitivities in Tables 4 and 6.

Table 3.  Net Present Value of Net Revenues for PG&E Hydroelectric Assets, Excluding Helms, Standard CEC Price Assumptions for 2000 and 2001 ($ Millions)

| Annual Market Revenue Escalation | Average Generation | “Dry Year” Generation | “Wet Year” Generation |
| --- | --- | --- | --- |
| 2.5% | 2,653 | 1,409 | 3,360 |
| 3.5% | 2,966 | 1,604 | 3,740 |
| 4.5% | 3,337 | 1,835 | 4,190 |

Table 4.  Net Present Value of Net Revenues for PG&E Hydroelectric Assets, Excluding Helms, Alternative Discount Rates and Price Forecasts ($ Millions)

| # Discount Rate | CEC Two-Year Forecast | SCE Adopted Two-Year Forecast | Henwood 21 Year Forecast |
| --- | --- | --- | --- |
| 10.74% | 3,331 | 3,133 | 3,279 |
| 11.74% | 2,966 | 2,790 | 2,927 |
| 12.74% | 2,666 | 2,507 | 2,636 |

*Assumes average year generation and a market price escalation of 3.5 percent

Table 5.  Net Present Value of Net Revenues for PG&E Hydroelectric Assets, Including Helms, Standard CEC Price Assumptions for 2000 and 2001 ($ Millions)

| Annual Market Revenue Escalation | Average Generation | “Dry Year” Generation | “Wet Year” Generation |
| --- | --- | --- | --- |
| 2.5% | 3,852 | 2,045 | 4,878 |
| 3.5% | 4,305 | 2,328 | 5,429 |
| 4.5% | 4,843 | 2,663 | 6,082 |

Table 6.  Net Present Value of Net Revenues for PG&E Hydroelectric Assets, Including Helms, Alternative Discount Rates and Price Forecasts ($ Millions)

| # Discount Rate | CEC Two-Year Forecast | SCE Adopted Two-Year Forecast | Henwood 21 Year Forecast |
| --- | --- | --- | --- |
| 10.74% | 4,835 | 4,548 | 4,760 |
| 11.74% | 4,305 | 4,049 | 4,248 |
| 12.74% | 3,870 | 3,640 | 3,827 |

* Assumes average year generation and a market price escalation of 3.5 percent

#### V.	Information from Other Sales

Yet another way to value PG&E’s hydroelectric assets is to use information from comparable sales. This does not, however, lead to valuations that are substantially above those discussed above, with the possible exception of the $998/kW paid for the 80 MW of Bangor hydroelectric asset.  Using this figure would result in a valuation of $3.882 billion. Other potential valuations, based upon recent hydroelectric sales, are shown in the table below.

Table 7.  Comparable Sales

| Entity | Price Paid (millions) | MW | $/kW |
| --- | --- | --- | --- |
| Niagra-Mohawk | 425 | 661 | 643 |
| Connecticut Light & Power | 866 | 1329 | 652 |
| Central Maine | 320 | 373 | 857 |
| Montana Power | 331 | 577 | 574 |

Source: SCE, A. 99-12-024.

VI.	ORA’s Estimate in the Annual Transition Cost Proceeding

Finally, in PG&E’s annual transition cost proceeding, ORA recommended a conservative estimate of PG&E’s hydroelectric assets of $2 billion.  ORA’s estimate is indeed conservative and is substantially less than would result from other, more commonly accepted valuation methods, such as a cash flow analysis or the use of comparables.

#### Preliminary Summary and Conclusions

Table 8 summarizes our preliminary findings regarding the potential range of values for PG&E’s hydroelectric assets. In addition, our preliminary conclusions and important caveats are discussed below:

- The cash flow analysis appears to produce a higher valuation than the other methods.

- The results of the cash flow analysis are obviously sensitive to the price of power going forward.

- Consistent with the SCE analysis, we increased O&M and capital additions costs by only 0.9% annually (2.5% inflation less a 1.6% productivity factor).  Such modest increases in these costs may be too aggressive an assumption for PG&E.

- We determined a capital additions cost estimate for PG&E by scaling SCE’s capital additions costs.  PG&E’s costs may in fact be higher or lower.

- We assumed that the value of the Helms Pumped Storage facility is the same as PG&E’s other hydro plants on a dollar-per-kW basis.  This may be conservative.

- We did not attempt to estimate the value of ancillary service revenues for any of PG&E’s hydro plants.

- We did not take into account any possible derating of PG&E’s hydro plants due to environmental concerns.

If you have any further questions or comments, please do not hesitate to call.

# Table 8.  Summary of Estimated Values for PG&E’s Hydroelectric Assets

| Source | Value |
| --- | --- |
| PG&E Value (Including Contract Capacity) | $3.33 billion |
| PG&E Value (Less Contract Capacity) | $2.85 billion |
| ACWA | $3.14 - $4.34 billion |
| SCE Valuation of $859/kW | $3.34 billion |
| SCE Valuation of $859/kW with $250/kW Adjustment for Helms | $3.64 billion |
| MRW Cash-Flow, Including Helms, CEC PX Price 2000 and 2001 | $4.31 billion |
| MRW Cash-Flow, Including Helms, SCE PX Price | $4.05 billion |
| MRW Cash-Flow, Including Helms, HESI Forecast | $4.25 billion |
| ORA “Conservative” Estimate | $2.00 billion |

Association of California Water Agencies, 1999?.  Valuation of PG&E Hydroelectric Facilities Based Upon Primary Function.

A. 99-12-024, Exhibit SCE-3, p. 3.

ORA Testimony, p. 4-3.

A.99-12-024, Description of Joint Proposal, December 1999.

Data on PG&E’s “average year” hydroelectric generation were obtained from its 1994 Electricity Report.

A.99-12-024, Description of Joint Proposal, December 1999, p. 4.

SCE used a more detailed DRI projection of the CPI inflation rate through circa 2021.

PG&E 1994 Electricity Report Supply Forms, 1993-2013, June 1993, Form R-3D, p. 1.  Note that net generation for 1997 was very close to this “average year” level.

SCE’s based its estimates on average generation over the period from 1978 to 1998, then examined “high” and “low” scenarios based on generation levels that were one standard deviation above and below this average.  A similar approach results in values quite similar to “average,” “wet,” and “dry” years for PG&E.

California Energy Commission, 2000.  Market Clearing Prices Under Alternative Resource Scenarios, 2000-2010.  Sacramento, California.

We assumed that these rates include inflation.