## Section A:

## URGENT

| Originator: #### Email to Information.Services@enron.com #### OR FAX to: (661) 823 - 6752 Date / Time: Department: Return Email: Return Fax #: Return Phone #: | Hollis Kimbrough |
| --- | --- |
|  | 5-1-02 9:15 am |
|  | 269 |
|  | Hollis.Kimbrough@enron.com |
|  | 823-6752 |
|  | 823-6774 |

## Section B: To be completed by the Originator.

| Description of Problem that Data, Information, or Analysis is requested, and Medium/Format of Deliverable (An example of a previous deliverable is helpful.): Blade Pitch Symptoms On April 8th or 9th at approximately 12:00 noon local time, Trent Mesa WTG #48 experienced abnormal operation when one blade was pitched 180 degrees out from where it should have been. A local operator applied the brake during the abnormal operation so it should be possible to pinpoint the date/time using the brake event as a reference. Once the exact date/time of the event has been identified, please examine the performance data to discern whether there are unique performance characteristics which can be used to find other, similar, events. Pay particular attention to WTG power (produced and power curve) during the event as well as vibration alarms. |  |  |  |
| --- | --- | --- | --- |
| List of Attachments, Examples, and Sample Formats: |  |  |  |
| Deliverable Goes to: | Tom Nemila | Date / Time Needed: | 5-3-02 COB |
| Originator’s Signature: |  | Date / Time: | 5-1-02 9:20 am |

Section C: To be completed by the System Performance Group.

## Data Analysis Reference Number:

|  |  | Date: |  | TIME: |  |
| --- | --- | --- | --- | --- | --- |
| RESPONSE: |  |  |  |  |  |
| Data Available Date: | Estimated Completion Date / Time: |  |  |  |  |

## Assigned to:  Mark Walker	 Mark Fisher	 Jeff Duff

## John Ruiz		 Matthew Meyers	 Other  _______________

| ###### Deliverable | ##### Definitions |
| --- | --- |
| ##### DATA | Unsorted, ungrouped values checked only for “impossible” values. *Requestor must specify range of values for analyst to select. |
| ##### INFORMATION | ## Sorted, grouped data that is checked for “reasonable” values. *Requestor must specify range of values for data grouping criteria and/or sorting criteria. |
| ##### ANALYSIS | Computed quantities or conclusions that meet a business need based on given assumptions and a set of information. An analysis also includes a description of model/approach used to generate output quantities or conclusion from given assumptions and information. * Requestor must specify range of values, grouping criteria, critical assumptions, “what conclusions you want the analyst to prove/disprove” and/or “what output quantities are needed.” |