## Influent Raw Water To Be Treated

| IONIC SPECIES | CONCENTRATION | UNITS |
| --- | --- | --- |
| Calcium | 4.0 | mg/L as CaCO3 |
| Magnesium | 1.8 | mg/L as CaCO3 |
| Sodium | 2.8 | mg/L as Na |
| Potassium | < 0.5 | mg/L as K |
| Bicarbonate | 10.0 | mg/L as CaCO3 |
| Carbonate | 0 | mg/L as CaCO3 |
| Hydroxide | 0 | mg/L as CaCO3 |
| Chloride | <10 | mg/L as Cl |
| Sulfate | <5 | mg/L as SO4 |
| Nitrate | not reported | mg/L as NO3 |
| pH | 5.9 | Unitless |
| Silica, total | 14.1 | mg/L as SiO2 |
| Conductivity | 23 | µS/cm |
| Total Dissolved Solids | not reported | mg/L |