April 16, 2001

Larry Campbell

Enron Transportation and Storage

Roswell , New Mexico

Reference:	Tank Spill at Northern Natural Gas, Gomez Plant Ft. Stockton, Texas

Dear Larry,

On April 16, 2001 during a visit to check on pumps at the Northern Natural Gas, Gomez Plant Ft. Stockton, Texas it was noticed that a spill had occurred inside of the facility.  The spill came from tanks belonging to Energen.  These tanks are located just south of the compressor building.  The tanks are reported to hold water and pipeline liquids.  The areas inside of the dirt berm around the tanks show a visible stain and some areas of the outside of the berm show signs of the liquid having spilled over the top.

Rick Young of Western Gas Resources reported, that the spill had occurred sometime between 3 and 4 weeks earlier.  He stated that the spill was due to a malfunctioning pump at the tanks and that Energen had responded to the spill and had cleaned up the material that had spilled over the berm.

Included with this e-mail are 5 digital photos of the area.

Respectfully submitted

George Friend

Cypress Engineering

George A. Friend