Continuous Improvement - Measurement

UAF MAINTENTANCE - Matrix

|  | Appdix | "Best Practices" |  |  | As-Is |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | NNG | TW | FGT | NBPL | LRC |
| 1 | A | Regional UAF Team in place to monitor/address UAF |  | x | x |  | x |
| 2 | A | Operating Company level UAF Team in place to monitor/address UAF |  |  |  |  |  |
| 3 | A | GPG UAF Conference in place to address/share UAF issues and "Best Practices" |  |  |  |  |  |
| 4 | B | Pipeline uses segmentation measurement to identify problem areas | x | x |  |  | x |
| 5 | B | RTU/Scada equipment used to facilitate a daily balance |  | x | x |  |  |
| 6 | B | Operations/Tech Serv. has plan in place to review current RTU technology | x | x | x | x | x |
| 7 | B | Company Line Pack calculations are periodically verified for accuracy |  |  |  |  |  |
| 8 | B | Flow proving devices are used to ensure measurement accuracy of stations |  |  |  |  |  |
| 9 | B | Measurement system has ability to track orifice plate condition |  |  |  |  |  |
| 10 | B | Stations periodically reviewed for automated run-switching applications |  | x | x |  |  |
| 11 | B | Station design is reviewed by Operations and Tech. Services before installation |  |  | x | x | x |
| 12 | B | Teams annually review measurement skill sets for competence levels |  |  |  |  |  |
| 13 | B | Pipeline measurement situations are periodically reviewed for "built-in" imbalances |  | x |  |  |  |
| 14 | B | Marketing/Asset Mgmt. includes Operations and Tech Serv. in project planning |  |  | x |  | x |
| 15 | B | Gas Control monitors and consistently notifies teams of identified sta. Alarms |  |  |  |  |  |
| 16 | B | Meas. Tech. grp consistently compares software rev. to AGA std for compliance | x | x | x | x | x |
| 17 | B | Trend outages; use trend to identify equipment failures and set improvement objectives |  |  |  |  |  |
| 18 | C | Projects are initiated to improve the accuracy of orifice measurement |  | x | x |  | x |
| 19 | C | Orifice Meas. Policy and Procedures are followed to ensure meas. accuracy |  |  |  |  |  |
| 20 | D | Projects are initiated to improve the accuracy of turbine measurement |  | x |  |  |  |
| 21 | D | Turbine Meas. Policy and Procedures are followed to ensure meas. Accuracy |  |  |  |  |  |
| 22 | E | Projects are initiated to improve the accuracy of PD type measurement |  |  |  |  |  |
| 23 | E | PD type measurement Policy and Procedures are followed to ensure meas. Acc |  |  |  |  |  |
| 24 | F | Projects are initiated to improve the accuracy of Ultrasonic metering devices |  |  |  |  |  |
| 25 | F | Ultrasonic meas. Policy & Procedures are followed to ensure meas. Accuracy |  |  |  |  |  |
| 26 | G | Testing Policy and Procedures are followed to ensure meas. Accuracy |  |  |  |  |  |
| 27 | H | Station reference Quality is periodically reviewed | x | x | x |  | x |
| 28 | H | Station Quality equipment is maintained to Enron Policy and Procedures |  |  |  |  |  |
| 29 | I | OMV vols are reviewed for accuracy and timely input of data |  |  |  |  |  |
| 30 | J | Marketing/Asset Mgmt. is tracked to ensure inclusion in proj. planning |  |  |  |  |  |
| 31 | J | Operations teams track performance of Gas Control on notifications of alarms |  |  |  |  |  |
| 32 | J | Regional UAF Teams audit pertinent meas. Stations annually |  |  |  |  |  |
| 33 | J | GMS periodic audits are performed to ensure acceptable perf. Levels | x | x | x | N/A | x |
| 34 | K | Operations teams review identified Meas. Sys. Reports to ensure data accuracy |  | x |  |  | x |
| 35 | K | Pipeline company has "data analyst" to ensure data accuracy |  | x | x |  |  |
| 36 | K | GMS personnel reviews specified plan to ensure data accuracy | x | x | x | N/A | x |
| 37 | L | Accounting UAF and reconciliation to Physical UAF | x | x | x | x |  |

Measurement Continuous Improvement

Unaccounted For (UAF)

# Executive Summary

The goal of the UAF sub team was to identify how to continue to improve and/or maintain the UAF numbers.  The enclosed graphs outline the UAF numbers for each of the GPG pipeline companies for 1998 and 1999.  These historical results compare favorably to the 1998 industry average as reported by GRI of  .47%.

The key to the success of this initiative is to involve all the departments that have an impact on UAF. These include Operations, Accounting, GMS, Facility Planning, Marketing, Tech Support, and Measurement Technology.  Management support of this effort is essential.

One of the most important aspects of this UAF initiative is to implement Regional UAF teams, as per the recommendations in the full document - Appendix A.  Also it is imperative that an Operating Company UAF team be formed to continue the process and enhance the communications between all the departments involved with maintaining UAF at an absolute minimum.  Also, semi-annual GPG UAF Conferences should be held for Best Practice communications between companies.

The UAF Continuous Improvement Team gathered data throughout the GPG Pipeline companies and from the AGA\SGA 1999 Benchmarking report on Lost & Unaccounted For Gas to identify list of “Best Practices” that should be utilized to control UAF. We then identified what “Best Practices” the different pipelines are currently utilizing and concluded that while some of the Best Practices are in place on each of the pipelines there is no consistency in the effort to control UAF.

The UAF Continuous Improvement Team believes that all the recommended  “Best Practices” are not pertinent to all regions, but that each practice should be reviewed and it’s relevance to the particular area should be assessed and prioritized by the Regional UAF teams.

All recommendations are in line with company procedures, AGA, GRI and industry standards.

The GPG “As-Is” Model for UAF

- ET&S has monthly (in some cases quarterly) regional meetings to “brainstorm” possible action items that would address Uaf.

- Current action items

- Review of monthly balance reports

- Data Analysts provide updates on “findings” related to data review

- Discuss misc. topics related to measurement/Uaf

- ET&S conducts quarterly management meetings (conference calls) to update the Uaf activities related to ET&S; various Uaf/fuel numbers are reviewed for management personnel, along with “high priority” action items.

- Transwestern Pipeline has implemented two positions in Technical Services to review measurement data for correctness.

- Reports reviewed:

- N32 Monthly Pipeline Balance Report

- A1 Station Volume Statement

- A6 OMV Volume Posting

- Company “First & Final” report

- T16 Missing Data from EFM Stations

- T21 EFM Data

- T22 RTU Data

- T3 station event logs

- T15 30+events for a station

- T14 RTU quality

- T17 EFM volume comparison

- N41 Pipeline Balance Results

- K2 Comparative Analysis Report

- K5 GC Report

- H6 Meter to meter volume report

- C1 Missing Data Report

- The ET&S Technical Services Measurement Team audits selected measurement points on the system annually to ensure procedures, standards, and “Best Practices” are followed.

- See attached measurement audit worksheets for process

- Auditor summarizes suggested measurement improvement action items for the operations team to consider/address.

- The ET&S & GCO Organization have performed STARS surveys to identify fugitive emissions.

- The GCO (FGT/LRC) Organization has developed a “task force” to address:

- Unmetered Gas reporting

- OMV Witnessing

- Beta ratios

- Gas Quality Assignments

- Pulsation – Testing for square root error

- Gallagher Flow Conditioners

- Pipeline Segmentation

- Line Pack Calculations

- Calibration Gas

- Dirty Primary Element

- Maintenance of the UAF reporting Infrastructure

- Field Audit Procedures and Process

- The FGT/Customer Service Group has implemented the position of “Measurement Data Analyst” to review measurement data accuracy from “measurement to billing”.

- The NBPL Group is currently using the following approaches to address the UAF issue:

- applying ultrasonic technology at a high percent of sites to gain confidence in measured volume

- Emphasis on fuel reporting

- Emphasis on tracking of blowdowns

- Emphasis on stopping small leaks

- General obvious steps

- The GMS group performs the following initiatives to prevent UAF:

- Run missing data reports to review hourly volumes

- EFM & MIPS weekly inconsistency review

- Review of each meter statement during “Close”

- Audits are requested of OMVs when there is a significant difference between Scheduled and Scada volumes

- Check OMVs for completeness

When UAF numbers “fall-out-of-line”, it is basically a “fire-drill” across the various companies of GPG to address the issue;  there is no set process in place to address UAF.

GPG

Definition of Unaccounted-For-Gas (UAF)

# HOW IS UAF CALCULATED

- Gas Measurement Services (GMS) provide a Pipeline Balance Report generated from the MIPS system (Physical UAF) to each of the pipelines (excluding NBPL) for those measurement points handled by GMS in Mcf’s and Dth’s. This report reflects:

- Receipts from EFM, OSMV, and Estimates

- Deliveries from EFM and Charts

- Fuel Used from EFM and Field Technicians

- Line Pack Changes from Gas Control Calculations

- Unmetered Gas Losses from Field Technicians

- Unmetered Gas Loss Reports are reported in various forms with no consistent procedures

- NBPL provides their own measurement

- All of the pipelines calculate UAF (Accounting UAF) as the difference in their throughput Receipts/Sources and their Deliveries/Uses.  The GMS data is used from support systems (Download from GMS) and other throughput considerations such as Offsystem Measurement.

- ET&S and Florida Gas Transmission reconciles the Accounting UAF to the Physical UAF on a monthly basis to assure all quantities are billed, etc.

- UAF for the month is initially calculated in the month following throughput and PPA’s are reflected when identified and recorded by GMS, etc.

# HOW IS UAF REPORTED

- UAF is reported in DTH’s by the pipelines and MCF and DTH by GMS.

- UAF is expressed as a percentage of receipts and/or deliveries.

- UAF is shown as assets/liabilities for those with a tracker, and expense/income for TW and LRC.

# FINANCIAL IMPLICATIONS

- NNG, FGT, and NBPL have trackers in place to recover UAF, either through volumetric or surcharges.  More specifically:

*  NNG – Tracker is a Fuel and UAF volumetric recovery system.  The retention rates are based on the prior year’s (April 1-March 31) actual volumes adjusted for any over-or-under retained volumes in the prior period.  The actual Fuel and UAF for this same period is compared to the retention rates and results in the over-or-under retained volumes.  This

volumetric tracking system is subject to price risk due to the fluctuating monthly index price.

* FGT- Tracker for Fuel and UAF is a surcharge recovery system for “Like Periods” (Summer Period and Winter Period). The volume variance is priced in accordance with the pricing indices for the month the variance took place and is settled via a transportation rate surcharge in the next “Like Period”.

Separately FGT has an agreement with its largest customer that places a 3.5% cap on the reimbursement of Fuel and UAF, which will increase to 3.75% after its Phase IV expansion.

*NBPL- Tracker for Fuel and UAF is a volumetric tracker with monthly

adjustments to the retention percentage.  The monthly actual fuel and UAF is compared to the volumes retained from transportation shippers and the next month percentage is adjusted to clear/minimize variances.

- TW and LRC do not have a tracker for UAF and as such gains/losses directly affect the bottom line, positive/negative, respectively.

- Lower UAF may provide additional transport revenue opportunities and /or competitive rates.

Appendix A

Measurement Continuous Improvement

UAF Task Force Teams

Task Force Teams should be formed across GPG to address uaf issues.   These teams should be formed at the GPG, regional, and possibly the sectional level if uaf numbers dictate.

REGIONAL UAF TEAM:  this team will address uaf issues specific to that region.

- One member from each team of the region, along with individuals from Technical Services, should participate on the task force.

- Meeting schedules to be dictated by the Regional Director.

- UAF numbers could dictate the initiation of “sectional uaf teams”

- Topics to review:

- Review pertinent “Measurement Continuous Improvement Guidelines” for possible action plans

- Review pertinent “Station Audit Worksheets” for possible action plans

- Key items to review:

- Pipeline Balance Report

- Station volume statements

- Data Analyst to provide update on missing data and N39 report.

- Trend data to identify possible action plans

- Share “Best Practices” developed from other uaf task force teams

- Update individuals on new equipment, software revisions, etc.

- Team to develop and schedule pertinent measurement audits by February of each year

- Track team action plans on attached spreadsheet; provide to designated individuals.

- Establish procedures to follow when uaf numbers are “outside” stated objectives.

GPG LEVEL UAF TEAM:  this team will address/share measurement, uaf, and “Best Practices” issues across company lines.

- The team leader, or designee, from each regional task force team should be in attendance, along with representatives from GMS, Gas Control, Technology, Market Services, Technical Services, Accounting, and Facility Planning/Engineering.

- Quarterly meetings are suggested, but frequency could be dictated by Operating VP.

- Topics to review:

- Team suggestions

- Director suggestions

- GMS suggestions

- Gas Control suggestions

- Technology Group suggestions

- Market Services Group suggestions

- Technical Services Group suggestions

- Accounting Group suggestions

- Facility Planning/Engineering Group suggestions

- Develop standardized reporting of un-metered volumes

Example: condensate conversion factors

- Action plans for the team and individuals should be tracked and provided to designated individuals.

Appendix B

Measurement Continuous Improvement

General

- Projects to improve the monitoring of uaf across GPG systems.

- Identify GPG systems that can/should be further divided into segments, so as to allow for more detailed review of uaf .

- Install rtu/scada equipment to facilitate a “daily balance”

- Replace hard charts with electronic equipment

- Install “Skylemetry”, data retrieval equipment, on pertinent non-efm pd type meters.

- Replace pertinent chart recorders and old/unreliable flow computers with newer technology

- Review line pack calculations for entire GPG and initiate projects to more accurately reflect this volume

- Use a flow-proving device, portable transfer prover, to ensure measurement accuracy at questionable stations;  results of tests would be basis for projects.

- Initiate project to the measurement system that will automate such topics as:

- Orifice plate condition on meter test form

- Clean

- Light powder/dusty

- Heavy powder buildup

- Thin film of oily substance

- Dripping liquid on plate

- Thin film of debris laden liquid

- Dripping debris laden liquid

- Liquid striations (liquid tracks) toward orifice

- Build-up on plate (ex. Paraffin substance) describe thickness and location on plate

- Initiate projects to implement run-switching schemes at pertinent mult-tube stations

- Initiate a project, for inclusion in the “Measurement System”, that will identify by exception, any inconsistencies of all meters.

- Station/facility design:

- The Technical Services Measurement Team and Operations Teams should be included in the design phase of measurement related projects, in order for suggested changes to be incorporated;  this is a pro-active approach to solving problems before they occur.    These problems could result in uaf and ppa; example:  station was installed with an Auto-Adjust Turbine meter, and there was no “high pressure test” performed on the meter to ensure accuracy at operating conditions;  meter will be returned to factory for testing.   The operating team will incur the costs in their O&M budget.

- Place into Enron Engineering Standards that measurement stations must be designed for an overall measurement uncertainty of +/- 0.25%.

- Training:

- Annually, teams should review the skills sets required to operate their facilities in order to ensure needed competence levels are in place so that errors are not incurred because of deficient training.

- Identify measurement biases that could result in system “built-in” imbalances

- Marketing/Asset Management:

- When “deals” are in the planning stages, consideration must be given to the resultant effect to UAF.  Technical Services/operations groups must be involved in the beginning stages of projects, in order to minimize risks to UAF.

- Gas Control:

- The “Gas Control System” should be used to monitor identified station parameters so that alarms are acknowledged and field personnel are notified.  The “Operations Station Spreadsheet” could be used to identify these parameters.  Example:  a station orifice plate size should be displayed with associated volumes to note a under/over range condition;  alarms should occur when these flags are tagged.   Gas Control Personnel should acknowledge these alarms and notify appropriate operations personnel with-in 24 hours.

- Flow-Computer Software:

- Software should be compared, after each revision, to the AGA standard equations  to note the acceptance criteria of 50 ppm for errors.

- All RTU testing should be documented to ensure compliance to Enron and industry standard.

- Enron should move towards less customized software; measurement and control schemes should be standardized in the product software off the shelf.

Appendix C

Measurement Continuous Improvement

Orifice Measurement

- Initiate projects for:

- Replace pertinent orifice measurement with ultrasonic metering devices

- Install filter separators where gas conditions warrant

- Install flow conditioners to reduce measurement uncertainty where warranted

- Clean/inspect meter tubes every 5 years per Enron Procedure 60.202; identify/trend undesirable conditions for basis of project development   Ensure meter tubes meet the following specifications:

- Enron specs

- Tap hole leak test

- Surface roughness

- Micrometer ID

- Eccentricity

- Seat Gap width

- Blind seal leak test

- Tap hole spacing

- Install positive shut-in equipment to inhibit loss of un-metered gas at low-flow conditions and pressure equalization

- Close-couple differential/pressure transmitters

- Identify/replace non-smart transmitters with “Smart type” transmitters for all efm related devices;  example:  replace Rosemount 1151 differential transmitters with smart 3051 transmitters.

- Review station capacities; replace over/under sized orifice meter tubes with more appropriately sized tubes

- Identify/track liquid (dirty orifice plates) problems at orifice metering stations; trends would be basis for project development.    Example: installation of filter separators or pigging facilities

- Operations/Orifice Measurement:

- 8” orifice tubes with 1/8” thick orifice plates

- Install differential overrides to inhibit differentials over 150”;  plates will bow past this point, resulting in under-measurement of volume.

- Consider replacement with ¼” thick plates to alleviate this problem; one must limit beta ratio according to AGA3, paragraph 2.5.4.1.

- 10” orifice tubes with 1/8” thick orifice plates

- install differential overrides to inhibit differential over 70”; plates

will bow past this point, resulting in under-measurement of volume.

- consider replacement with ¼” thick plates to alleviate this problem;  one must limit beta ratio according to AGA3, paragraph 2.5.4.1.

- Perform SRE(Square Root Error) and GLE(Gauge Line Error) every 6   months until a trend is established;  based on results from this trend, develop further testing schedules and projects to address/eliminate the pulsation related errors.

- Periodically check stations with control valves and shut-in valves (example:multi- tube stations) for positive shut-in condition.  Use a very small orifice plate to identify leaks.   Data can be used for project development.

- Maintain differential above 20”

- For stations with Gallagher Flow Conditioners, limit the beta ratio from 0.2        to 0.75; it is acceptable to sacrifice the beta ratio on the low end in order to increase the differential to an acceptable range.

- For those stations without the GFC, limit the beta ratio from 0.2 to 0.6;  it is

acceptable to sacrifice the beta ratio on the low end in order to increase the differential to an acceptable range.

- Ensure station design meets Enron specifications.

- Verify monthly:

- Remove and verify plate size

- Verify/compare flow computer/recorder to volume statement parameters; ensure correctness

- Verify appropriate quality is applied or station reference quality is correct

- Identify/track orifice plate conditions that could result in measurement errors; notify local management and UAF Task Force Team Leader of these conditions.

- Verify quarterly:

- the laptop calculations to flow computer calculations

- Verify semi-annual:

- SRE and GLE testing

- Verify annually:

- Meter tube cleaning/inspection projects have been budgeted

Appendix D

Measurement Continuous Improvement

Turbine Measurement

- Initiate projects for:

- cleaning/inspection of meter tubes every 5 years per Enron Procedure 60.401;  identify/trend undesirable conditions for basis of project development.   Ensure meter tubes meet the following specifications:

- Enron Specs

- Install filter separators where gas condition warrant.

- Install positive shut-in equipment to inhibit loss of un-metered gas at low-flow conditions and pressure equalization.

- Review station capacities; replace over/under-sized meters with appropriate sized meter.

- Identify/track liquid/trash problems at turbine meter stations; trends would be basis for project development.   Example:  installation of filter separators or pigging facilities.

- Ensure 1141 SER adjusted outputs are attached to flow computer:

- Alarm limits/Delta A, for AAT meters, can be tracked by gas control for notification of operating personnel; certain flow computers, like the Flow Automation RTU, can be configured for the notification of alarms.

- Certain flow computers, like the Flow Automation, allows for elimination of 1141 board maintenance and upkeep, while maintaining the same alarm features as mentioned above.

- Operations/Turbine Measurement

- Ensure that AAT meter and SER have matching prom chip serial numbers, and correct factors are applied.

- Ensure pressure transmitter is tied to meter body.

- Ensure station design meets Enron specifications

- Ensure outputs are isolated if they are shared (ActPak);  test to ensure correct output.

- Use the AAT meter Delta A feature to track performance; historical data can be used to dictate maintenance schedules.

- Monthly:

- Ensure the operating window for the turbine meter is within acceptable                                         boundaries:

- burn new chips if necessary for AAT meters

- verify high-pressure test was performed and curves are available for review.

- Note pulsating flow conditions that could result in measurement errors and notify local management and UAF Task Force Team Leader

- Lubricate bearing as needed

- Verify/compare flow computer/recorder to volume statement parameters; ensure correctness

- Verify appropriate quality is applied or station reference quality is correct

- Quarterly:

- Periodically check stations with control valves and shut-in valves (example:

Multi-tube stations) for positive shut-in condition;  use meter index to note leakage.    Data can be used for project development.

- Verify laptop calculations to flow computer calculations

- Semi-annual:

- Remove/inspect/clean module of standard turbine meters; visually inspect meter tube

- Annual:

- Ensure meter tube cleaning/inspection projects have been budgeted

- Ensure strainer/filter is operating properly; clean/replace as necessary.   Perform more frequently as required.

Appendix E

Measurement Continuous Improvement

PD Measurement

- Initiate projects for:

- Review station capacities; replace over/under-sized meters with appropriate sized meter.

- Testing/replacing of meters according to schedules; see Enron Operating Procedures

- Operations/PD Measurement

- Ensure station design meets Enron specifications.

- Monthly:

- Lubricate meter, or change meter oil,  as required

- Verify appropriate quality is applied, or station reference quality is correct

- Quarterly:

- Verify volume statement calculations to laptop calculations

- Perform meter test at appropriate frequency; see Enron Operating Procedures

- Semi-annual:

- Perform meter test at appropriate frequency;  see Enron Operating Procedures

- Annual:

- Clean and inspect meter run strainers;  perform more frequently as trend dictates.

- Inspect station to ensure correct pressure/temperature settings.

- Inspect station to ensure no by-passes are open or leaking.

- Review volumes for one month to ensure correct billings.

Appendix F

Measurement Continuous Improvement

Ultrasonic Measurement

- Initiate projects for :

- Cleaning/inspection of meter tubes every 5 years per Enron Procedure 60.301.

Identify/trend undesirable conditions for basis of project development.   Ensure meter tubes meet the following specifications:

- Enron Specs

- Install filter separators where gas condition warrant.

- Install positive shut-in equipment to inhibit loss of un-metered gas at low-flow conditions and pressure equalization.

- Review station capacities; replace over/under-sized meters with appropriate sized meter.

- Identify/track liquid/trash problems at ultrasonic meter stations; trends would be basis for project development.  Example:  installation of filter separators for pigging facilities.

- Ensure usm diagnostic outputs are attached to flow computer:

- Frequency outputs

- Flow signals:  forward/reverse

- Data valid

- RS 485 serial

- Operations/ Ultrasonic Measurement

- Ensure pressure transmitter is tied to meter body.

- Ensure station design meets Enron specifications.

- Ensure station design addresses the issue of control valve noise and its effect on meter operation.  Consider the use of acoustic filters or piping (series of dead-end-tees) to eliminate/reduce this problem.

- Monthly:

- Ensure the operating window for the ultrasonic meter is within acceptable boundaries:

- Example:  5-70 ft/sec

- Verify/compare flow computer/recorder to volume statement parameters; ensure correctness

- Verify appropriate quality is applied or station reference quality is correct

- Verify ultrasonic meter parameters are correct

- Ensure ultrasonic meter is operating according to standards

- Quarterly:

- Periodically check stations with control valves and shut-in valves (example:  multi-tube stations) for positive shut-in condition; use meter velocity to identify leakage.  Data can be used for project development.

- Verify laptop calculations to flow computer calculations

- Annual:

- Ensure meter tube cleaning/inspection projects have been budgeted

Appendix G

Measurement Continuous Improvement

Meter tests

- Perform meter tests according to Enron Operating Procedures and scheduled frequency

- Ensure calibrations are performed as accurately as possible.

- Ensure meter tests are entered into the measurement system so that no delinquencies are recorded.

- Test equipment:

- Ensure all test equipment is recertified annually.

- Ensure test equipment is at least twice the accuracy of the device to be calibrated.

- Ensure site-specific atmospheric pressure is used at each location

Appendix H

Measurement Continuous Improvement

Station Quality

- Annually review station quality/volumes to determine the use of chromatograph, gas sampler, or spot analysis; refer to Enron Engineering Standard 114, 115, and 120 for guidance.  See Enron Operating Procedure 100.000 series for requirements for gas quality sampling where no quality monitoring or sampling equipment is permanently installed.

- Stations with chromatographs:

- Annually audit station chromatograph for proper operation/installation; use audit worksheet to perform this task.

- Annually review stations that are referenced to chromatographs, ensure referenced quality is appropriate.  Ensure bi-directional flow possibilities are flagged to ensure correct station quality.

- Annually review station quality; does station quality require a 13 component chromatograph?  Initiate project if appropriate.

- Stations with on-line chromatographs must have a steam assigned to that specific station; if it’s a bi-directional station, there must be (2) streams assigned.

- Stations with on-line chromatographs must be set-up in MIPS to accept this station quality to “yes”;  stations that are referenced must be set-up in MIPS to receive download quality.

- Stations with gas samplers:

- Annually audit station gas sampler for proper operation/installation;  use audit worksheet to perform this task

- Annually review stations that are referenced to this sampler, ensure referenced quality is appropriate.  Ensure bi-directional flow possibilities are flagged to ensure correct station quality.

- Annually review station quality/volume;  ensure appropriate method is applied.   Initiate project if appropriate.

- Annually review analysis procedures to ensure appropriate procedures are followed.

- Station with spot samples:

- Annually audit station procedure for spot sampling; ensure proper procedures are followed.   Use audit worksheet to perform this task.

- Annually review station’s quality/volume;   ensure appropriate method is applied.

- Annually review analysis procedures to ensure proper techniques are followed.

Appendix I

Measurement Continuous Improvement

Outside Measured Volume (OMV) Stations

- Install check rtu/transmitters on all OMV stations with flow rate greater than 10,000 mcf/day.

- Assign a MIPS station number so that these volumes can be tracked/compared to the OMV volume.   If one places this check meter station on the pipeline balance report, he must ensure that the entry is both on the receipt and delivery side of the report in order for the check metering station volumes to be canceled.

- Review “Measurement Continuous Improvement” practices to ensure OMV stations are operated/maintained to GPG standards.

- If OMV volumes are not received by the GMS “close” period, the Enron check measurement volumes could be substituted, thus eliminating unnecessary “fire-drills”

associated with balance report errors.

- Annually audit OMV PD type stations (consider 3rd party personnel to perform these tasks)

- Ensure correct pressure/temperature values are used for calculations

- Ensure no by-pass is open or leaking

- Review the reported volumes for one month to ensure correct billings

- The interconnect agreement with the OMV company should contain verbiage that states the OMV data will be sent electronically by FTP (File Transfer Protocol) to our measurement processing system.

- GMS should review their in-house procedures to ensure OMV volumes are correct and reasonable.

Appendix J

Measurement Continuous Improvement

Audits

- The Regional UAF Task Force Team will annually audit each operations team for each category on the “Measurement Continuous Improvement Audit Scorecard”. These audit scorecards will be compiled for a team, region, and company total score.

- The attached audit worksheets will be used to perform equipment/station audits, as well as individual skill level competency.

- Station design

- Turbine tube

- Turbine meter test

- Orifice tube

- Orifice plate condition

- Orifice meter test (chart)

- Orifice meter test (electronic)

- Rotary tube

- Rotary meter test

- Quality:  Gas samplers

- Quality:  Chromatographs

- Quality:  Spot samples

- Test Equipment

- The attached scorecards will be used to report findings to designated individuals.

- Each Operations team will track the performance of Gas Control on notification of designated alarms.   Non-compliance of notification will result in scorecard logging.  Regional Directors will receive a scorecard of Gas Control non-compliance for teams in their respective regions.  Operations VPs will receive a scorecard for their respective companies.

- The following categories will be used to perform these audits:

- Flow decreased resulting in less than 20” differential flow rate, without team notification

- Flow rate increased causing over-range condition, without team notification

- Stations without positive-shut-off valves, being shut-in without team notification

- Stations with alarm condition without team notification

- Bi-directional changes being made without team notification

- Abnormal conditions occurring without team notification

- The Gas Measurement Services (GMS) group will be audited to ensure performance at acceptable levels.

- The following categories will be used for the scorecard:

- Quantity of PPAs attributed to GMS personnel

- Quantity of items not performed on “close-out-check-list”

- Audit deficiencies

- The Market Services/Asset Management Group will be monitored in order to note the non-notification/involvement of designated teams that could have pertinent input to projects.

- The following categories will be monitored in order to log these deficiencies:

- Copy of Operating Agreement not supplied to team for their review, prior to signing

- Copy of project scope not supplied to team

- Failure to consider input from team concerning it’s associated risk to uaf

Appendix K

Measurement Continuous Improvement

Data Review

- The process of “Data Review” is one of the key elements in uaf maintenance and reduction.  That responsibility lies with the operations teams, data review analysts, and GMS personnel.  The following reports should be reviewed on a regular basis

and any discrepancies communicated between operations teams, data review analysts, and GMS personnel.   As NBPL does not use the MIPS, they should review comparable reports in their measurement system to ensure accurate data.

- Each entity below should establish procedures to follow when UAF numbers exceed established criteria.

- Each operating company should establish procedures for the acknowledgement, review, and notification of pertinent personnel of alarm points received by the gas control system.

- Operations teams:

- N32 Pipeline Balance Report

- A1 Station Volume Statement

- A6 OMV Volume Posting

- T16 Missing Data from EFM Stations

- T3 Event History

- Daily Pipeline Balance on the Intranet

- Line pack on the Intranet, to check pressures and temperatures

- Data Review Analyst

- N32 Monthly Pipeline Balance Report

- A1 Station Volume Statement

- A6 OMV Volume Posting

- Company “First & Final” report

- T16 Missing Data from EFM Stations

- T21 EFM Data

- T22 RTU Data

- T3 station event logs

- T15 30+events for a station

- T14 RTU quality

- T17 EFM volume comparison

- N41 Pipeline Balance Results

- K2 Comparative Analysis Report

- K5 GC Report

- H6 Meter to meter volume report

- C1 Missing Data Report

- Daily comparison of EFM data to Scada data

- GMS Personnel

- N32 Monthly Pipeline Balance Report

- A1 Station Volume Statement

- A6 OMV Volume Posting

- Company “First & Final” report

- T16 Missing Data from EFM Stations

- T21 EFM Data

- T22 RTU Data

- T3 station event logs

- T15 30+events for a station

- T14 RTU quality

- T17 EFM volume comparison

- N41 Pipeline Balance Results

- K2 Comparative Analysis Report

- K5 GC Report

- H6 Meter to meter volume report

- C1 Missing Data Report

- GMS should implement a standardized procedure to ensure accurate data from the field to the “measurement system”.

- When gas loss reports are received by GMSAT that reflect volumes that are to be charged to a Work Order, it will be GMSAT’s responsibility to generate and forward copies to Property Accounting so that the volumes are properly charged and billed for reimbursement.

## Appendix L

### Measurement Continuous Improvement

##### Accounting

- Prepare monthly UAF calculations (Accounting UAF) to assure all measured quantities are properly recorded on the financials.

- Timely reconciliation of Accounting UAF and Physical UAF

- Tracking PPAs

- Monitor the reporting of PPAs in compliance with GISB Standards

- Assure PPAs are flowed through the billing and accounting processes

- Obtain UAF data in support of tracker filings and cost recovery mechanism

- Value UAF quantities for record keeping purposes

- Tracks over/under retainage quantity where appropriate for recovery purposes

- Support the Rates group in the appropriate regulatory filings