# NERC Control Area Certification

# Adjacent Control Area Questionnaire

Applicant:

Response due by:

The entity named above has applied to be granted Control Area status.  If the Applicant is successful, you will have a new adjacent Control Area.  Please assist the Regional Council in its review of this Applicant’s qualifications by filling out the following questionnaire.

You are requested to provide candid responses to the following questions.  Please return answers to these questions by the date specified above. You may use this form to provide your answers. For questions where additional support documentation is necessary to verify your response, please so indicate and include the location of such documents.

Upon completion, please sign and date this form and return it to:

Regional Council Name
Address
Attn:

- Have you and the Applicant determined the points of interconnection between your two systems? Please list the points of interconnection. Response:

- Have you and the Applicant determined the communication facilities required between your control centers to assure the exchange of information necessary to maintain Interconnection reliability? Please describe. Response:

- Have you and the Applicant determined and agreed to the transfer limits, ATC, TRM, and CBM of the transmission interface between your systems? Please list the interfaces and their agreed values in both directions. Response:

- Have you and the Applicant agreed how your tie lines will be operated, taken in and out of service for routine maintenance, emergency switching, etc? Include Security Coordinator notification procedures. Explain how reliability issues will be evaluated. Response:

- Have you and the Applicant determined the tie line metering locations to ensure your Control Area and the Applicant’s Control Area are continuously operating on identical (but opposite sign) Interchange values? Response:

- Have you and the Applicant determined and agreed to procedures for after-the-fact Interchange Schedule and Actual Interchange checkouts? How will you and the Applicant handle the unscheduled flows between your Control Areas? Response:

- Have you communicated to the Applicant any voltage control operating procedures, stability transfer limits, or any other operating problems that could affect the Applicant’s Control Area? Are you confident that the Applicant understands its Control Area obligations with regards to these issues? Response:

- Please describe any other operating issues you feel are pertinent to the Applicant Control Area’s certification? Response:

Date:

Control Area Operations Manager

Date:

Transmission Systems Manager