# NERC Control Area Certification

# Compliance and Evaluation Questionnaire

Applicant:

Response due by:

| Question | Response |
| --- | --- |
| - Does the Applicant plan to operate its generation on AGC? What units are capable on operating on AGC? Finding: | Yes No Needs Improvement |
| - Is the Applicant contracting with others to operate generation to provide for AGC? Are the contracts in place? How is information and data required for AGC provided to the contractor? Finding: | Yes No Needs Improvement |
| - Explain how the applicant’s control system properly calculates total net actual interchange, total net scheduled interchange, and frequency bias to determine its Area Control Error (ACE). Finding: | Yes No Needs Improvement |
| - Provide procedures the Applicant has for maintaining Operating Reserve. Finding: | Yes No Needs Improvement |
| - Are there any transmission limitations or local requirements affecting the units that Operating Reserves are carried on? Finding: | Yes No Needs Improvement |
| - Will the Applicant be in a Reserve Sharing Group? Are the necessary telemetering and agreements in place? Finding: | Yes No Needs Improvement |
| - What level of Regulating Reserve does the Applicant plan to carry for normal regulating margin to meet CPS1 and CPS2 requirements? Finding: | Yes No Needs Improvement |
| - What level of Contingency Reserve does the Applicant plan to carry to meet DCS1 and DCS2 requirements? Finding: | Yes No Needs Improvement |
| - Does the Applicant understand the CPS 1 and CPS 2 standards, survey, and reporting requirements? Finding: | Yes No Needs Improvement |
| - Does the Applicant understand the DCS1 and DCS2 standards, survey, and reporting requirements? Finding: | Yes No Needs Improvement |
| - Does the Applicant’s EMS/SCADA system provide the information needed for CPS compliance? Finding: | Yes No Needs Improvement |
| - Does the Applicant’s EMS/SCADA system provide the information needed for DCS compliance? Finding: | Yes No Needs Improvement |
| - Has the Applicant determined its initial frequency bias setting? Finding: | Yes No Needs Improvement |
| - Has the Applicant established a procecedure to receive time error notification? From which Regional Monitor? Finding: | Yes No Needs Improvement |
| - Are systems and procedures in place to properly calculate and record inadvertent? (Provide details) Are procedures in place for the operators to pay back Inadvertent Interchange according to NERC policy? Finding: | Yes No Needs Improvement |
| - Is metering on all tie lines with adjacent Control Areas common to both the Applicant and the Adjacent Control Area and telemetered back to each system’s EMS/SCADA ? Finding: | Yes No Needs Improvement |
| - Has the applicant established transmission contingency operating procedures regarding the prevention of transmission instability, uncontrolled separation, and cascading outages? Have the System Operators been trained in these procedures? Finding: | Yes No Needs Improvement |
| - Has the Applicant established procedures with adjacent Control Areas and its Security Coordinator for maintaining transmission flows within its Operating Security Limits? Finding: | Yes No Needs Improvement |
| - Does the Applicant have procedures for monitoring and controlling voltage levels and MVAR flow within its boundaries and with adjacent Control Areas? Finding: | Yes No Needs Improvement |
| - Can the Applicant provide E-tag Authority and Tag Approval service? Finding: | Yes No Needs Improvement |
| - Does the Applicant have procedures and systems in place to ensure that all Interchange Schedules are confirmed with Adjacent Control Areas before implementation? Finding: | Yes No Needs Improvement |
| - Has the Applicant established an electronic data link to supply the required data (as listed in Appendix 4B) to its Security Coordinator? Finding: | Yes No Needs Improvement |
| - Haveall protection systems on major transmission lines (including tie lines) been coordinated with the interconnected systems? Finding: | Yes No Needs Improvement |
| - Does the Applicant have plans for automatic load shedding? Finding: | Yes No Needs Improvement |
| - Does the Applicant have procedures for system restoration? Finding: | Yes No Needs Improvement |
| - Does the Applicant have emergency operating plans and procedures? Finding: | Yes No Needs Improvement |
| - Does the Applicant have a plan to continue to operate in the event the Applicant’s control center becomes inoperable? Finding: | Yes No Needs Improvement |
| - Does the Applicant have adequate and reliable telecommunications facilities with its Security Coordinator and other systems? Finding: | Yes No Needs Improvement |
| - Does the Applicant have clear written description of their System Operator’s responsibilities and authorities? Finding: | Yes No Needs Improvement |
| - Does the Applicant have NERC certified System Operators for a 24 hours per day and 7 days per week operation? Finding: | Yes No Needs Improvement |
| - Does the Applicant have in place all necessary agreements needed with its Security Coordinator? Finding: | Yes No Needs Improvement |
| - Does the Applicant have procedures in place for switching transmission elements including coordination with its Security Coordinator? Finding: | Yes No Needs Improvement |
| - Does the Applicant have procedures in place to coordinate its scheduled generator and transmission outages with its Adjacent Control Areas and its Security Coordinator? Finding: | Yes No Needs Improvement |