DAILY VOLUME REQUIREMENTS FOR NNG METERS

## Options for Providing Daily Volumes for all NNG Meters

### Upgrade Delineators to Support 31-Day PD Charts

Purchase the upgrade options for the existing delineator equipment to support 31-day daily breakouts.  GMS currently has two delineators, one is connected to the PGAS system and the other unit is used as a spare.  The upgrade would include both hardware and software changes to the current system.

Estimated completion of this upgrade is two months from vendor receipt of order.  Vendor requires 25% down payment on order and remainder due on delivery.

One time charge for high resolution software			$  2,000

Upgrade the delineator currently connected to PGAS		$11,000

Upgrade the spare delineator				$15,750

Installation labor						$  1,000

PGAS software license for the spare delineator		$  8,500

TOTAL						$38,250

The increased cost for the spare delineator is for the annual service contract and PGAS software requirements in order to connect the unit to PGAS.

Notes:

- An additional software modification can be added at a later date to improve the delineator resolution at a cost $5,000 dollars.  This software has not been developed and has an expected delivery of March 2001.

- Manpower requirements within GMS may need to be addressed depending on the time required to process charts with the delineator equipment.  Until the equipment is in operation we have no way of knowing how long it will take to process a chart and how many charts will be able to be processed each day.

- The delineator equipment cannot process charts that have overlapped data.

- The delineator equipment cannot process charts with volume cycles less than ¼ inch apart.

- Upgraded system will not be capable of processing daylight savings time adjustments.

- PPA’s may/will be required for late charts and charts that can’t be processed with the delineator equipment.

### Upgrade Four Integrators to Support PD Charts

GMS currently has four Chart5 integrators that are used to integrate orifice meter charts.  This product can be upgraded to support PD charts and provide daily volume breakouts.  This upgrade will require the conversion of an existing software application to run under the Windows 2000 operating system plus some modifications to the PGAS PCALC application.

Estimated completion of this option is 45 days from vendor receipt of order.  Vendor requires 50% down payment upon order and 50% upon delivery.

Modifications to PCALC to accommodate PD meters		$10,586

License and software development				$25,000

TOTAL						$35,586

Notes:

- Manpower requirements within GMS may need to be addressed depending on the time required to process charts with the integrator equipment.  Until the equipment is in operation we have no way of knowing how long it will take to process a chart and how many charts will be able to be processed each day.

- PPA’s may/will be required for late charts and charts that can’t be processed with the integrator equipment.

### Implement Equations with PGAS to Estimate Daily Volumes

The current PGAS system divides index read volumes and 31-day chart volumes into even daily volumes.  This option proposes the implementation of equations to calculate a flow-weighted volume for these meters based on a reference meter flow pattern.  For example, the index read meters would be grouped together and all assigned to a reference meter.  The reference meter would be a larger volume TBS station equipped with EFM and located in the same general area as the index read meters.  The system would use the reference meter to determine the percent of volume to allocate for each day.  For example, if the reference meter flows 3 percent of its total monthly volume on the first day, then the calculated PD meters volume for the first day would be 3 percent of the PD’s total volume.  This process would also place a comment within each volume record created plus flag the volumes as manual entry.  This information can then be used to flag the volume record as an “estimated” volume within the extract process to downstream systems.

Estimated completion of this option is 45 days from vendor receipt of order.  Vendor requires 50% down payment upon order and 50% upon delivery.

An additional enhancement can be added to this process to include a comment to the volume statement that indicates the days that were estimated from monthly total.  This feature will cost an additional $5,000 dollars and add 10 days to the delivery.

Modify PGAS PD entry to support flow-weighted volume adjustments		$20,264

Enhancement for volume statement comments				$  5,000

TOTAL								$25,264

Notes:

    - If implemented, this process will need to be communicated to the customers so that they understand and agree to our methodology of calculating “estimated” daily volumes from monthly totals.

    - In addition to calculating “estimated” daily volumes for PD index cards, this process can be used to calculate daily volume estimates for meters with late charts, missing charts, or charts that cannot be integrated.

    - This process will depend on GMS receiving index cards and chart index readings before the close of the second business day.

  - Utilize USPS Priority Mail to Ensure Delivery of Charts to GMS by the 3rd Working Day of Each Month

NO. OF		CURRENT	USPS PRIOR.	MONTHLY

CHART		ACTIVE	MAILING	MAILING	INCREMENTAL

ROTATION	STATIONS	EXPENSE	EXPENSE	EXPENSE

7 & 8 Day	118		$  944		$ 6,372		$  5,428

16 Day		724		$2,896		$19,548		$16,652

31 Day		130		$   260		$  1,755		$  1,495

# TOTAL				$3,840		$25,920		$22,080

NOTES:

- Company Use meters not included

- Cost to mail charts in pre-paid Company envelopes is $2.00/station

- Cost to mail charts in USPS Priority Mail is $13.50/station

  - Install Skylemetry on all index only meters.

Active index only meters			471 / meters

Skylemetry cost per meter			$800 / each

TOTAL	 (Installation)		$377,000

Ongoing O&M communications cost	$5.00 / meter

# TOTAL 			$2,355 / Month

## Recommendation – Short Term

- Update the two delineators to support 31-day PD charts

- Implement a modification to the PD entry function to support flow-weighted daily breakouts for index cards.

- Implement USPS Priority Mail to Ensure Delivery of Charts to GMS by the 3rd Working Day of Each Month.

- Use calculated daily breakout to provide daily volume estimates for late charts or charts that couldn’t be processed by the delineators.

- Perform PPA’s on late charts if the integrated volumes differ from the calculated volumes by an appreciable amount (to be determined by consensus).

## Recommendation – Long Term

- Setup a multi-year program to replace index read meters with Skylemetry (Bullhorn) systems and charted stations with either an enhanced Bullhorn or EFM computers.

## Responsibilities

| ##### Description | ##### Responsibility |
| --- | --- |
| - Upgrade Delineator equipment | GMS |
| - Implement equations to calculate estimated daily volumes for index cards, late PD charts and charts that can’t be processed with delineator equipment | GMS & Kenneth Cessac |
| - Communicate chart and index processing methods to customers | Marketing |
| - Order and stock blank chart envelopes | GMS and GSS |
| - Purchase USPS Priority mail address labels for chart envelopes | Field Operations |
| - Implement USPS Priority mail and train customers and chart changers | Field Operations |
| - Develop multi-year program to upgrade meters to EFM - Ensure volume cycles are more than ¼ inch apart on PD charts - Ensure volume cycles and pressure data don’t overlap on PD charts | Measurement Services/Marketing Field Operations Field Operations |