# ONEOK ISSUES – OUTSTANDING ITEMS

1.	Bushton ultrasonic meters

Resolution Team:  K. Cessac*, R. Craig, C. Thomas, MK. Miller, L. Blair

Comments:  Oneok has called expressing concerned with the difference between the ultrasonic meters and their PTR calculation for the months of April and May, 2001.

Status:

A team has been formed to review issue.

2.	New Interconnect with Mid-Continent Market Center.

Resolution Team:  L. Blair*

Comments:

NNG believes we need addendum to Measurement Agreement and access to EFM data real time.  Lynn will talk to KN.  NNG wants to witness meter installation.  Rick Kyle will request to do so from KN.

Status:  [need information]

3.	Helium.

Resolution Team:  L. Blair*

Comments:

Helium charges have not been billed.  Billed Helium retroactively.

Status:

KN agrees it owes Northern.  Wants to net against condensate payment.  [need information]

4.	Liquid Condensate Measurement & Accounting

Resolution Team:  R. Kile, L. Blair, C. Graham, D. Odneal

Comments:

KN’s contract haulers remove condensate by the barrel/truck load.  These rudimentary measurement and manual bookkeeping techniques (accumulating run tickets) can easily break down exposing NNG to the loss of BTU’s.

a.  Oneok owes Northern approximately $67,900 as of April 1, 2001 for condensate removed from  Mt. Jesus in 1999 and incompletely recorded.

Status:

- Northern has sent a letter requesting payment.

- Pursuant to ¶ 13.4 (Audits) of the Operating Agreement, an audit of Oneok’s performance of its responsibility to provide a “…detailed accounting of such liquids and BTU’s…” as set forth in ¶ 3.7(i) should be conducted.

Status:

b.  Still reviewing internally

- In addition, projects to install liquids meters at the major condensate pickup points on Northern’s system have been scoped and will be discussed at the next UAF meeting.   Oneok should be requested to contribute to the cost of these meters.

Status:

c.  Still reviewing internally

5.	Past Due Cost Reimbursements for Capital Projects

Resolution Team  A. Carethers, L. Blair, C. Graham

Comments:

KN has agreed to contribute all or part of the cost of certain NNG capital projects (CIAC’s).  Some of those payments are past due.  KN owes NNG $128,100.41 for two invoices.

Status:  [need information]

6.	Hugoton transport

Responsible Party:  J. Dushinske

Comments:  Are currently working with Oneok to attract a package of 60,000 to 80,000 MMBtu/d of incremental supply to the system.

Status:  There are CO2 issues that are currently being assessed.

# KN – CONTINUING ITEMS

- New line KN plans to close their Scott City Plant and reroute to Bushton.

Resolution Team:   M. Nelson

Comments:

Discussions continue.  Project on hold.  [need information]

- Bushton Sale – Environmental Indemnity. KN has made claims regarding several remediation projects.

Resolution Team:  L. Soldano*

Comments:

ELHC has accepted the projects as valid under the sales agreement.  Initial assessments are expected to run @ $120,000.  First payment has been made.  Second payment of $82,000 made.  [need information]

- Bushton Inlet moisture content

Resolution Team:  C. Graham*

Comments:  During summer months the moisure content can be high.

Status:

There has been no problem during summer 2001.  Northern repaired the Ivanhoe dehy.

4.	Haskell County #1. KN received a notice of non-compliance over two minor environmental issues, one of which involves periods prior to transfer of assets to KN.

Resolution Team:  L. Soldano*, L. Loveless

Comments:

KN has responded.  Unlikely the state will involve NNG.  [need information]

5.	Bushton Rich Low Volumes/Low Pressure (Sunflower delivery) impact on KN’s helium plant impact.

Resolution Team:  C. Graham, D. Dornan, K. Lagerstrom

Comments:

On July 19, KN sent two e-mails to NNG (Mike Ullom) regarding low flows and pressures at the Bushton rich side delivery from NNG.  A response was sent.  Additionally, System Optimization and Field Operations have worked with KN’s Bushton Operations to make operational changes that dampen volume swings and raise pressure profiles.  Low pressure, volume swings, H2O and CO2 will continue to be a problem for the Bushton plant as throughput volumes decline.  [need information]

6.	CO2 Levels.

Resolution Team:  C. Graham*, R. Kyle

Comments:

Under various flow patterns, caused by NNG’s shippers, the Bushton Plant inlet CO2 level exceeds the plant’s design conditions and frost begins to accumulate.

Status:

The helium plant is shut down.  Operations is researching the options of diverting higher CO2 Burdette line gas to the Lean inlet or divert the Burdett gas to the Lyons treater.

# KN – RESOLVED ITEMS (will be deleted from next report)

1.	Bushton Ultrasonic Measurement/“BTU Error Period”

Resolution Team:  M.K. Miller*, M. Nelson*, D. Dornan*, D. Fossum, L. Blair,

M. Darveauax

Status:

The arbitration hearing began May 9, 2001 and concluded May 18.  The Panel’s award was received on June 22, 2001.  The panel ruled that Northern's interpretation of the agreement was correct and that the PTR method of measurement should only be used during narrowly defined "Btu measurement error periods."  The panel did find for that the "meter factor" error identified during the hearing must be corrected back to July 1, 1998.  Northern had acknowledged the error but argued that the contract required that any correction be made only for a 6 month retroactive period.  Correction of this error will require payment to Oneok of $1.19 million, not including prejudgment interest.  Both parties are responsible for their own attorney's fees and costs.

2.	Strangers Revenue:  Since June of 1998, KN has netted product revenue together as well as carrying credits from month to month resulting in non-payment.

Resolution Team:  D. Dornan, M. Darveaux*, M.K. Miller

Status:

Received settlement payment in the amount of ________ on _________.

3.	Bid for Stranger’s contract – timeline and bid process

Resolution Team:  M.K. Miller, D. Dornan*, M. Darveaux*

Status:

New Strangers’Gas Agreement for ___year term with Oneok _______ executed ______.

4.	Audit of NNG.

Resolution Team:  L. Blair, M. Darveaux, D. Dornan*

Comments:

KN requested the audit to review Northern's nomination and the affidavit procedures regarding processing.  KN reviewed documents on 7/28.  They are to call regarding next steps.

Status:

With the payment of the strangers’ revenue and the conclusion of the arbitration proceeding, this issue is deemed closed.

5.	KN/Westar Measurement Discrepancies

Resolution Team:  R. Dietz*, L. Blair

Comments:

Issue involves measured volumes at Hale County Interconnect.  Westar is claiming $320,000 is owed to it.  Northern was willing to split the amount and pay Westar  $160.00.

Status:  Resolved. Northern paid Westar $160,000 at year end 2000.

6.	Condensate: Some of the holding tanks hold both KN and NNG’s condensate for which NNG has received reimbursement.

Resolution Team:  C. Graham*, D. Fancler

Comments:

KN and NNG agreed that NNG owes KN $273k for reimbursement for overpayments for the period April 1997 through April 1999.

Status:

Resolved:  This amount was netted against other claims.

7.	Cunningham Line

Resolution Team:  C. Graham*

Comments:  .  TW bought from KN.   Inadequate engineering records provided with 12” line and Hobbs compressor meter station.

Status:

Resolved:  The line was conveyed to Chevron as part of Conoco settlement.

8.	Custody Transfer Measurement @ Haskell 1 and Stevens 7.

Resolution Team:  D. Odneal, C. Graham

Comments:

There are two locations (Haskell Co. 1 and Stevens Co. 7) where custody transfer measurement was installed in anticipation of additional LOI facilities being sold.  Now that FERC has disallowed those sales, the meters are improperly located.  NNG has scoped project(s) to correct this mislocation of measurement; estimated cost is $750,000??

Status:

Resolved.  NNG determined not to spend the money.

9.	Facility Sale (4 sales agreements/LOI)

Resolution Team:  M. Winckowski, M. Nelson, K. Wilkie

Comments:

Liberal facilities :  vacated order – did not close.  (TW) Lipscomb Mocane & Leedy lateral:  vacated order - did not close.  Westar/Skelleytown facilities:  vacated sale portion of the order - did not close.  Hugoton facilities:  Northern retained transmission facilities, closed on gathering facilities effetive 11/6/98.  Closed Hugoton Circle on 6/30/99

10.	Gathering Assets – Mercury remediation

Resolution Team:  L. Soldano*, L. Loveless

Comments:

Small issue <$2000.  .  KN has requested NNG to closeout certain requirements with the KDHE regarding Mercury environmental meter sites for assets which were part of the gathering asset sale.

Status:

NNG has agreed to resolve with KDHE as a courtesy.  Matter closed with the state.