Operating variables to consider for simple cycle case:

- Project structure

- Project schedule: (Financial Close/Notice to Proceed, Construction start date, Commissioning/Testing start date, Commercial Ops date)

- Number of Gas turbines

- Type of gas turbine (make & model)

- Gas turbines are new or used

- If used, provide the operating history (hours, starts, fuel types, maint. history, availability, reliability, etc)

- Number of sites

- Distance between sites, if applicable

- Greenfield or re-powering/add-on  (existing operation or new operation)

- If existing, what resources/synergies currently exist (staffing, warehouse and shops, admin space, etc)

- Term of the deal

- Electric transmission included? If yes, how many miles?

- If transmission, type of terrain/environment? (rugged, flat, trees, no trees, drivable)

- If transmission, above or below ground?

- Gas transmission included? If yes, how many miles?

- If gas transmission, type of terrain/environment? (same as above for electric transmission)

- If gas transmission, above or below ground?

- Run hours per year each gas turbine (at baseload setting and peak setting, if applicable)

- Number of starts each year for each gas turbine

- Dispatch scenario (i.e. Monday – Friday 6 am to 10 pm)

- Availability requirement for the year

- Any periods of time that major scheduled maintenance would be restricted to (i.e. Fall and Spring)

- Project design includes a Distributed Control System (DCS)?

- Type of fuel and hours for each different type of fuel on each gas turbine

- Type of combustion system (DLE, standard w/water injection, standard w/steam injection)

- Gas compression required?

- Is it SPRINT? If yes, the demin water flow rate required in gpm.

- Raw water source type: ground, surface, municipal, seawater

- Water pipeline included? If yes, how many miles?

- Zero discharge facility?

- Inlet chilling required?

- If chillers, type of cooling system? CT, OT, ACC, etc?

- Is Selective Catalytic Reduction (SCR) required?

- If SCR, the NOx level required (in ppmv)?

- Design includes a Continuous Emissions Monitoring System (CEMS)?

- Has a spare parts allowance been provided in EPC contract? If yes, how much in $?

- Has a training allowance been provided in EPC contract? If yes, how much in $?

- Due to availability requirements, does Owner desire membership into a Lease Engine Membership program (for LM2500 and LM6000 models)?

- Please provide water and heat balances if available.