PROPOSAL TO FACILITATE DISTRIBUTED GENERATION

IN CALIFORNIA

PROPOSED AMENDMENTS TO AB 27

Add to Sec. 2 at page 3, line 25 of AB 27.

A new Section 376.2 is added to the Public Utilities Code, to read:

(a)	The following terms shall have the meanings set forth for purposes of this chapter.

(1)  Distributed Energy Resources (DER):   DER means distributed energy resources as defined in Section 218 .6 of the Public Utilities Code.

(2)

- Point of interconnection:  The point where the cogenerator or 
self-generator’s electrical conductors connect with an electric utility owned system. 
(b) 	The use of DER will be treated under the rate schedules of an electrical corporation as a customer demand side management measure.

(c)	 All customers employing DER, whether served by local publicly-owned electric utilities or electrical corporations shall be served by the same tariffs, rates, rules and requirements as they had or would have had been served without DER, and will not be subject to the application of additional rates or tariffs.  Existing tariffs, rates, rules, and requirements shall be amended to preclude the application of standby, departing load, exit, or other similar charges for DER installations.  Any provision in otherwise applicable tariffs to activate other tariffs, rates, rules (except Interconnection Rules) and requirements when DER is installed will be withdrawn.

(d)

- Where non-bypassable public purpose charges are duplicated as a result of a customer switching from electric to gas service, charges levied under gas rate schedules that support programs covered by the non-bypassable electric charges shall not be assessed on such customers.

(e)	By May 1, 2001 the commission shall adopt simplified interconnection standards and an accelerated implementation process for  DER interconnection applications that are not applicable to  the Simplified Interconnection Process or the Supplemental Review Process as defined in commission D.00-11-001. The simplified interconnection standards and process adopted by the commission under this section shall include, but not be limited to, the following requirements: 1) the interconnection application process shall be completed within forty-five days from the initial request date of application for interconnection; and 2) the total cost charged to the DER interconnection applicant by the electrical corporation to complete the interconnection shall not exceed $5 per installed kW.

(f)	By May 1, 2001 local publicly-owned electric utilities shall adopt simplified interconnection standards and an accelerated implementation process comparable to that required by the commission for electrical corporations.

(g)	By May 1, 2001, the State Energy Resources Conservation and Development Commission shall adopt an interconnection certification program.  The purpose of this program shall be to certify the safety of DER technology for interconnection with the transmission and distribution system within the State of California.  Manufacturers of DER technology may apply for certification under this program.  Equipment that is certified as safe for interconnection under this program shall be deemed safe for interconnection and accepted by any electrical corporation owning or operating transmission and distribution facilities within the State of California.

(h)	DER equipment that has been interconnected with an electrical corporation on or after January 1, 1996, shall be deemed to have been certified as safe for interconnection within any utility system within the State of California.

(i)	Interconnection agreements shall be entered into between the owner of the DER and the local publicly-owned electric utility or  electrical corporation as applicable.  Where necessary, a new customer account shall be established with DER owner.

A new Section 218 .6 of the Public Utilities Code shall be added to read:

218.6.  "Distributed Energy Resource" means any electric generation, storage, or related ancillary technology designed primarily to serve nearby load.

A new Section 216 (j) of the Public Utilities Code shall be added to read:

216 (j) The ownership, control, operation, or management of a Distributed Energy Resource as defined in Section 218 .6 that delivers energy or energy services to tenants within a building, or buildings within an area of common ownership, shall not make a corporation or person a public utility within the meaning of this section solely because of that ownership, control, operation, management participation, sale, or delivery.

A new Section 352 of the Public Utilities Code shall be added, to read:

(a)	The Independent System Operator shall not require the 
metering, telemetry, or scheduling of, nor assess any grid management or transmission charge on, a retail customer’s consumption of  electric energy that is satisfied by generation meeting the requirements of subdivisions (b), (c), or (d) of Section 218.

(b)	The Independent System Operator shall establish and maintain an demand reduction tariff that allows for the participation of DER equal to or less than one megawatt in size which meets the criteria established in subdivision (a).

A new Section 367.6 of the Public Utilities Code shall be added, to read:

(a)  	Local publicly-owned electric utilities and electrical corporations shall develop and provide public access to capacity expansion plans and annual projections for each of the five future years for inadequate and potentially inadequate transmission and distribution areas.

(b)	Local publicly-owned electric utilities and electrical corporations shall adopt rules requiring compensation to customers for the value of grid benefits provided by customer-owned DER.

(c)	Whenever electrical corporations evaluate the need for grid enhancements, they shall, in a public process, first seek to obtain or mitigate the need for such enhancements from existing and new customer-owned and other non-utility DER before installing DER that they own or control.  DER owned or controlled by electrical corporations shall not be placed in rate base.

(d)	When electrical corporations obtain grid benefits from existing and new customer-owned and other non-utility DER, the Commission shall require electrical corporations to share at least 50% of the realized  cost savings with the customers and other non-utility owners of the DER. The Commission shall determine a method of ascertaining the level of grid benefits.

(e)	Combined gas and electrical corporations shall provide customers that are switching loads from electric to gas service with a level of service no less than the service provided a new customer seeking the equivalent gas service.

(f)	By May 1, 2001, the commission shall establish a “distributed generation” gas tariff schedule.  This schedule shall place the service for such schedule at a higher priority of service than all other non-core customers.  The price charged to a customer taking service on this schedule shall be equal to the lesser of 1) the rate charged to any other comparable electric generation schedule, or 2) the rate charged for a cogeneration customer, as applicable.  This schedule shall be available to serve a natural gas fueled DER.

A new Section 41514.11 shall be added to the Health & Safety Code, to read:

  - Nothing in this Section shall conflict with Sections 41514.9 and 41514.10 of the Health and Safety Code.

  - Notwithstanding any current air emissions laws and regulations currently in affect, DER (except for diesel fuel fired back-up generation) that is installed prior to the implementation of California Air Resources Board (CARB) standards and guidelines as required by Sections 41514.9 and 41514.10 of the Health and Safety Code, and meets current CARB and local air district requirements, shall be deemed to be in compliance with CARB and local district requirements for a period of five years from the date of initial operation.

  - Certain DER technologies and installations may not qualify for the CARB certification as defined in Sections 41514.9 and 41514.10 either because of their size, complexity, uniqueness of technology, or for other reasons.  The Legislature recognizes that for certain installations, while individual components may or may not be eligible for certification, in aggregate the DER system may provide substantial environmental benefits. Therefore, the Legislature directs the CARB to develop guidelines for local districts to permit this type of DG installation no later than June 1, 2001. The guidelines that the CARB develops shall take into account the following:

    - The district shall determine the level of emissions attributable to the facility at the installation location prior to the installation of the DER system.  The district shall consider the average annual electricity consumption at the facility, the average grid emissions level, as well as specific sources at the facility in determining the attributable emissions.

    - The district shall determine the level of emissions attributable to the facility at the installation location after the installation of the DER system shall be determined.  The CARB shall develop methodologies that enable the districts to consider the effect on emissions of reduced line losses, the application of cogeneration, accompanying energy efficiency and optimization measures, and other factors such as, but not limited to, the installation of zero or near zero emissions technologies.

    - The CARB shall use a volumetric methodology, taking into account grams of emission components per unit of useful energy produced or consumed in determining emission levels for DER.

2704/138/PART3-1