# Proposed Bakersfield, California lateral

Transwestern Pipeline Company (TW) and Pacific Gas and Electric Company (PG&E) are discussing the opportunity to serve new potential power load in the Bakersfield, California area.  Developers proposing seven power plants have either filed, or are expected to file with the California Energy Commission (CEC) to build over 4800 megawatts.  The incremental gas load associated with this new electric generation is over 800 MMBtu/day.

Gas sourced from the San Juan, Permian, and Panhandle supply basins will flow west on TW to the California border.  Once the gas is delivered to the border, it will be transported on PG&E’s existing transmission line via a backhaul service (or by expanding PG&E’s Line 300) to the proposed lateral.  TW is proposing to construct a lateral off PG&E from Bakersfield to McKittrick.  This twenty-mile lateral will be new construction of 20” diameter pipe for capacity up to 300,000 MMBtu/day.  Estimated costs are $28.3 million for the pipeline and approximately $1.04 million for each interconnect.

The McKittrick area, located forty miles west of Bakersfield, is the “hub” of four of the seven proposed power projects.  In this area are also various natural gas pipelines and an electric transmission system.  The current supply competition is Kern/Mojave and SoCal Gas.

Source: Pacific Gas and Electric Company (PG&E)

| Bakersfield Area Power Projects |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description/ Sponsor | Location/ Service Territory | Status | Megawatts | Approx. Mdth/day: Supplier |  |
| McKittrick Area |  |  |  |  |  |
| La Paloma/ PG&E NEG | McKittrick/ SoCalGas | Approved | 1048 | 160 Kern/Mojave |  |
| Sunrise/ Texaco Global | Fellows/ SoCalGas | Approved | 300 | 50 Kern/Mojave |  |
| Elk Hills/ Sempra & Occidental | McKittrick/ SoCalGas | Approved | 500 | 80 Kern/Mojave |  |
| Sunset/ Mission Energy Subtotal Others | Fellows/ SoCalGas | Approved | 500 2,348 | 80 Kern/Mojave 370 |  |
| High Desert/ Inland Energy & Constellation Power | Victorville/ S.W.Gas | Approved | 720 | 130 SoCalGas, Kern/Mojave, or PG&E |  |
| Antelope Valley/ Enron | California City/ Open | Expected | 1,000 | 180 Kern/Mojave |  |
| Pastoria/ Calpine | Tejon Ranch/ SoCalGas | Filed | 750 | 130 Kern/Mojave |  |
| Subtotal |  |  | 2,470 | 440 |  |

Source: California Energy Commission (CEC)