101 Dispatching the Energy Market Merit Order

# 1.	Purpose

- To define the guidelines and procedures to be followed by the System Controller when dispatching bids and offers in the energy market merit order under normal operating conditions.

# 2.	Background

- The energy market merit order is the list of all valid offers and bids for energy assets submitted by Pool Participants, sorted in order of offer and bid price blocks. The energy assets are dispatched by the System Controller to maintain a balance between energy supply and demand.

# 3.	Guidelines

- The energy market merit order is sorted by descending order of price ($/MW).

- The system marginal price (SMP) will be set by a marginal block that is in merit, except when the marginal block is an import or export, in which case the next lower intra Alberta energy block will set SMP.

- Bids priced above the current SMP are fully dispatched up or flagged as out of merit.

- Bids priced equal to the current SMP are either dispatched down or partially dispatched up.

- Bids priced below the current SMP are either dispatched down or flagged as out of merit.

- Offers priced above the current SMP are dispatched down.

- Offers priced equal to the current SMP are either fully or partially dispatched up.

- Offers priced below the current SMP are fully dispatched up or flagged as out of merit.

- In dispatching a block of energy, consideration will be given to the constraints of the asset submitted in the bid or offer.

- An energy block that is partially dispatched up will be fully dispatched up, regardless of its asset constraints, prior to another higher priced energy block being dispatched.

- If an asset’s block zero comes into merit, the System Controller will issue an energy dispatch, regardless of whether the minimum on/off time or start up/shutdown time constraint has been met. The Participant has the right to accept or reject the dispatch.

- Dispatch volumes will be determined on a pro rata basis when dispatching multiple equally-priced bids and/or offers, except for imports and exports which will follow procedures as described in POP 301 and 302.

## Participant responsibilities

- A Participant may choose to accept or reject an energy dispatch. A rejected energy dispatch will be handled according to whether the block is dispatched up or dispatched down and whether the block is a bid or an offer.

- When a price responsive load is dispatched down and the dispatch is rejected, the Participant must restate the asset availability to the MW of load curtailment.

- When an offer is dispatched down and the dispatch is rejected, the block may become non-compliant.

- When a bid or an offer is dispatched up and the dispatch is rejected, the Participant must restate the asset availability to the MW available for dispatch.

# 4.	Procedures

## 4.1	Planning the commitment dispatch one hour or more in advance

The System Controller will:

1.	Determine the assets required to meet the forecast demand for future hours equal to and less than the most start-up time constrained asset offered.

2.	Issue any required commitment dispatch to the Participant.

a.	Make a general comment in the electronic log that a commitment dispatch was issued, the time when the asset is expected to be in merit, and the MW dispatched.

3.	Notify the Participant that the commitment dispatch is cancelled if a change in system supply or demand causes a committed asset to no longer be required.

a.	Make a general comment in the electronic log indicating the commitment dispatch was cancelled and the reason for the cancellation.

## 4.2	Advance energy dispatch for imports and exports

The System Controller will:

1.	Verify that all imports are priced at $0.00 and all exports are priced at $999.99. If an import block price is higher than $0.00 or an export block price is lower than $999.99, notify the Participant and only dispatch the block when the price is corrected.

2.	Issue an advance energy dispatch to the import and export blocks at least 25 minutes before the next scheduling hour. The dispatch time will be the start of the next scheduling hour.

## 4.3	Advance energy dispatch for non-import or export

The System Controller will:

1.	If an advance energy dispatch is required, issue the dispatch, stating the dispatch time, to the Participant in anticipation of expected supply or demand changes.

## 4.4	Energy dispatch

The System Controller will:

1.	For minute-to-minute changes in supply and/or demand, make energy dispatches from the energy market merit order to the next non-zero block of energy.

2.	If system demand is increasing or supply is decreasing, dispatch the next higher non-zero block in the energy market merit order (see 4.5 Dispatching the next higher non-zero block of energy).

3.	If system demand is decreasing or supply is increasing, dispatch the next lower non-zero block in the energy market merit order (see 4.6 Dispatching the next lower non-zero block of energy).

## 4.5	Dispatching the next higher non-zero block of energy

The System Controller will:

1.	If the next higher operating block available is an offer that is a flexible block:

a.	And the block size is greater than or equal to the increase in demand, dispatch up the partial or entire block, which will set the SMP.

b.	And the block size is less than the increase in demand, dispatch up the block and consider the next higher block in the energy market merit order for dispatch.

2.	If the next higher operating block available is an offer that is an inflexible block:

a.	And the block size is greater than the increase in demand, flag the block out of merit until it can be fully dispatched. Consider the next higher block in the energy market merit order for dispatch.

b.	And the block size is equal to the increase in demand, dispatch up the block, which will set the SMP.

c.	And the block size is less than the increase in demand, dispatch up the block, and consider the next higher block in the energy market merit order for dispatch.

3.	If the next higher operating block available is a bid that is a flexible block:

a.	And the block size is equal to the increase in demand, dispatch down the block, which will set the SMP provided it is not an export block. In the case when it is an export block, the SMP will be set by the next lower intra Alberta non-zero energy block.

b.	And the block size is greater than the increase in demand, partially dispatch up the block which will set the SMP provided it is not an export block. If it is an export block, the SMP will be set by the next lower intra Alberta non-zero energy block.

c.	And the block size is less than the increase in demand, dispatch down the block, and consider the next higher block in the energy market merit order for dispatch.

4.	If the next higher operating block available is a bid that is an inflexible block:

a.	And the block size is greater than the increase in demand, dispatch down the block, and flag it out of merit until the full block is no longer required. Consider the next lower block in the energy market merit order for dispatch down in order to maintain supply and demand balance.

b.	And the block size is equal to the increase in demand, dispatch down the block, which will set the SMP provided it is not an export block. In the case when it is an export block, the SMP will be set by the next lower intra Alberta non-zero energy block.

c.	And the block size is less than the increase in demand, dispatch down the block, and consider the next higher block in the energy market merit order for dispatch.

## 4.6	Dispatching the next lower non-zero block of energy

The System Controller will:

1.	If the next lower operating block available is an offer that is a flexible block:

a.	And the block size is greater than the decrease in demand, partially dispatch up the block, which will set the SMP.

b.	And the block size is equal to the decrease in demand, dispatch down the block. The next lower non-zero offer block in the energy market merit order will set the SMP.

c.	And the block size is less than the decrease in demand, dispatch down the block, and consider the next lower block in the energy market merit order for dispatch.

2.	If the next lower operating block available is an offer that is an inflexible block:

a.	And the block size is greater than the decrease in demand, dispatch down the block, and flag it as out of merit until the full block is no longer required. Consider the next higher block in the energy market merit order for dispatch up in order to maintain supply and demand balance.

b.	And the block size is equal to the decrease in demand, dispatch down the block. The next lower non-zero offer block in the energy market merit order will set the SMP.

c.	And the block size is less than the decrease in demand, dispatch down the block. Consider the next lower block in the energy market merit order for dispatch.

3.	If the next lower operating block available is a bid that is a flexible block:

a.	And the block size is greater than the decrease in demand, partially dispatch up the block, which will set the SMP provided it is not an export block. In the case when it is an export block, the SMP will be set by the next lower intra Alberta non-zero energy block.

b.	And the block size is equal to the decrease in demand, dispatch up the block. The next lower non-zero offer block in the energy market merit order will set the SMP.

c.	And the block size is less than the decrease in demand, dispatch up the block, and consider the next lower block in the energy market merit order for dispatch.

4.	If the next lower operating block available is a bid that is an inflexible block:

a.	And the block size is greater than the decrease in demand, flag it as out of merit and do not dispatch the block up until the block can be fully dispatched. Consider the next lower block in the energy market merit order for dispatch.

b.	And the block size is equal to the decrease in demand, dispatch up the block. The next lower non-zero offer block in the energy market merit order will set the SMP.

c.	And the block size is less than the decrease in demand, dispatch up the block, and consider the next lower block in the energy market merit order for dispatch.

# 5.	Revisions and Approval

| Issued | Description |
| --- | --- |
|  | Supercedes 2001-04-09 |
| 2001-04-09 | Supercedes 2000-12-14 |
| 2000-12-14 | New issue, replacing POB 001 |