| PRR Number | 300 | PRR Title | TCR Congestion Management |
| --- | --- | --- | --- |
| ###### Status |  |  |  |
| Protocol Section Requiring Revision |  |  |  |
| Requested Resolution |  |  |  |
| Revision Description |  |  |  |
| ###### Reason for Revision |  |  |  |
| ## Timeline |  |  |  |
| Date Received |  |  |  |
| Date Posted |  |  |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |

Proposed Protocol Language Revision

# 7 CONGESTION MANAGEMENT

## 7.1 Overview of ERCOT Congestion Management

ERCOT will implement a Zonal Congestion management scheme that is flow-based, whereby the ERCOT Transmission Grid, including attached Generation Resources and Load, will be divided into a predetermined number of Congestion Zones.  Each Congestion Zone is defined such that each Generation Resources or Load within the Congestion Zone boundaries has a similar effect on the loading (Shift Factor) of Transmission Facilities between Congestion Zones.  For purposes of solving Zonal Congestion the Shift Factor will be assumed the same for all Generation Resources and Loads within a Congestion Zone.  Therefore any imbalance between Load and Generation Resources in a Congestion Zone will be deemed to have the same impact on a given loading between Congestion Zones.

This Congestion management scheme utilizes a Shift Factor, determined by ERCOT, on Zonal Congestion from the QSE schedules and thus predict potential Congestion on CSC using the known topology of the ERCOT System.  The Shift Factor determined by ERCOT should most closely represent the effect of Generation Resources and Load in the Congestion Zone will have on a given loading between Congestion Zones with the current topology of ERCOT System.  This scheme is used in the Day Ahead and Adjustment Periods to evaluate potential Congestion and notify the market accordingly.  The ERCOT also uses this scheme, along with other factors, to determine if Replacement Reserve Service should be purchased in a Congestion Zone to provide additional Balancing Energy Service to provide a solution for expected Congestion.

ERCOT will use the Zonal Congestion management model with annual Shift Factors of Generation Resources and Loads on CSC Congestion to determine the marginal price to have electric flow across a Zonal Congestion boundary.  This marginal price will be used in settlement of the cost to resolve CSC.  The cost to solve Zonal Congestion that are not CSC will be uplifted pro rata to each QSE based on the Load Ratio Share.

The Local Congestion management scheme more accurately reflects a given Generation Resource’s or Load’s contribution to Congestion by using the actual Shift Factor or effect by load-flow study of that Generation Resource or Load on a constraint.  This model is typically used to manage Local Congestion constraints.  The local model also utilizes the current known topology of the ERCOT System.

The cost to solve Local Congestion will be uplifted pro rata to each QSE based on the Load Ratio Share by QSE.

ERCOT will manage Congestion by:

- Evaluating the levels of Commercially Significant Constraint (CSC) Congestion and any other Congestion during the Day Ahead, the Adjustment Period and the Operating Period using Zonal Congestion and Local Congestion models of the ERCOT Transmission Grid;

- Examining the impacts of QSE energy schedules on CSCs;

- Posting on the MIS, the Congestion megawatt quantity impacts according to defined CSC, and allowing QSEs to adjust schedules to mitigate potential Congestion on the CSC;

- Procuring during the Adjustment Period, as needed, Replacement Reserve Service (RPRS) to use with other Resources for which QSEs have submitted Balancing Energy bids to provide sufficient capacity for Balancing Energy flows in the Operating Hour while respecting operational limits of the ERCOT Transmission Grid;

- Determining settlement for QSEs providing RPRS procured to manage Congestion;

- Determining settlement for QSEs providing Balancing Energy associated with resolving CSC and Local Congestion;

- Allocating the costs of Zonal Congestion management to QSEs in accordance with the applicable interim period Postage Stamp Allocation method or direct assignment (direct assignment of cost methodology of CSC) method, and in accordance with each QSE’s requirements for Balancing Energy; and

- Allocating the costs of Local Congestion to QSEs in a Postage Stamp Allocation fashion in accordance with each QSE Load Ratio Share Ratio.

ERCOT will carry out these steps in accordance with this Section and the Scheduling and Ancillary Service Scheduling and Selection requirements in Sections 4 and 6, respectively.

## 7.2 CSC Zone Determination

### 7.2.1 Principles for Determination and Modification and/or Elimination of CSC Congestion Zones

#### 7.2.1.1 Developing the Commercial Model

ERCOT will reassess CSCs annually, based on changes to the ERCOT System topology, and will identify new Congestion Zones based on the reassessed CSC’s by November 1 of each year.  ERCOT will use the following process to identify CSC’s:

- By October 1, of each year, ERCOT will complete an analysis of load flow data and expected system additions and will determine expected operating limits and constraints to be used in the designation of CSCs for the upcoming calendar year.

- The appropriate ERCOT Technical Advisory Committee (TAC) Subcommittee will analyze the list of constraints and determine which are appropriately defined as CSCs, based upon of the following factors:

        - Expected annual Congestion cost;

        - Actual annual Congestion costs from the prior year including the cost of any RMR, OOMC, or OOME services used to resolve Congestion on a particular transmission path during the prior year in excess two million dollars ($2,000,000);

        - Any other factors that the subcommittee deems to be relevant in the designation of CSCs.

#### 7.2.1.2 Congestion Zone Determination Methodology

ERCOT will determine Congestion Zones by:

- Developing Shift Factors using a linearized (DC) model to identify the impact of each transmission bus on each CSC relative to an ERCOT reference bus.

- Using statistical clustering to aggregate transmission busses into zones based upon similar Shift Factors relative to all CSCs.

- Creating Zonal Shift Factors for each CSC by averaging the individual bus Shift Factors, weighted by the megawatts on the bus (using Generation Resource maximum ratings and peak bus Loads).

- Establishing Study Zones to test transfer limits using Power System Simulation tools.  These zones should be reasonable approximations of the final CM Zones.  The following steps shall be used to establish the Study Zones, which are groupings of buses:

  - If no new candidate CSCs are considered other than prior year’s CSCs, then the CM Zones from the previous year are to be used as Study Zones.

  - If new candidate CSCs are considered, then calculation using the shift factors and cluster analysis shall be preformed based on the candidate CSCs to create new Study Zones.

- Performing system simulation studies with transfers between the study zones and finding constraints on the transmission system to determine if candidate CSCs are appropriate.

- Determining if the candidate CSCs qualify for CSC designation based on the following criterion: There must be a sufficiently competitive market (at a minimum, apparent Market Solutions readily identifiable) to resolve Congestion on the transmission path to be considered for CSC designation.

- Using a stakeholder process to determine the number of CSC zones.  The process will attempt to balance the competing goals of minimizing the number of Congestion Zones and maximizing the accuracy of the Commercial Model’s representation of the ERCOT System.

- Ensuring each CSC must straddle a zonal boundary (however, a zonal boundary need not include a CSC).

By November 1 of each year, the appropriate ERCOT subcommittee will report to the TAC and ERCOT Board with recommended CSC designations, and resulting Congestion Zone boundaries for ERCOT Board review and approval.

Immediately following ERCOT Board approval changes in the CSCs and the resulting Congestion Zone boundaries will be posted on the MIS.  This posting will include a bus-by-bus identification of each Congestion Zone.

## 7.3 Congestion Management for CSCs/Zonal Congestion

### 7.3.1 Determination of CSC/Zonal Congestion

ERCOT will analyze energy schedules to determine the existence and extent of CSC/Zonal Congestion as part of the Day Ahead Scheduling Process.

### 7.3.2 Resolution of CSC/Zonal Congestion

ERCOT will resolve CSC/Zonal Congestion by the following means:

- Using adjusted Balanced Schedules received from QSEs after ERCOT’s posting of CSC/Zonal Congestion impacts greater than the CSC/Zonal Congestion Limit, ERCOT will reassess the resulting level of CSC/Zonal Congestion.  ERCOT will take no further CSC/Zonal Congestion actions if the adjusted Balanced Schedules resolve initial CSC/Zonal Congestion.

- If CSC Congestion still exists following receipt of adjusted Balanced Schedules, ERCOT may procure RPRS provided that sufficient Resources are available to provide Balancing Energy in the Operating Period, in accordance with Section 6.6.3.2. ERCOT will then balance the energy within the ERCOT System in the Operating Period respecting all operational limitations of the ERCOT System.

### 7.3.3 Settlement of CSC/Zonal Congestion

The interim Postage Stamp Allocation method for settlement of CSC/Zonal Congestion costs to QSEs in section 7.3.3.1will be replaced with a direct assignment of cost methodology of CSC Congestion (with pre-assigned TCRs) starting on February 14, 2002.  Settlement will be in accordance with Section 6.9, Settlement for ERCOT-Provided Ancillary Services, and Section 7.3, Congestion Management for CSCs/Zonal Congestion.

#### 7.3.3.1 System Congestion Fund

ERCOT will maintain a System Congestion Fund (SCF) for purposes of collecting and paying for CSC/Zonal Congestion Management costs during the period when the Postage Stamp Allocation method of settlement is used.

ERCOT will manage the SCF as follows:

- Annually, ERCOT will estimate the total monthly costs to relieve CSC/Zonal Congestion for the next year.  The sum of these monthly costs will be the total expected CSC/Zonal Congestion costs for the next year.

- By December 1 of each year, the ERCOT Board will review and approve a SCF fee to be collected from all QSEs representing Load based on the annual expected CSC/Zonal Congestion cost divided by the total annual estimated MWh ERCOT System Load for the next year.  ERCOT will reevaluate the SCF fee to assure that the SCF collects as close to the expected CSC/Zonal Congestion costs as possible without over or under collecting.  Any funds remaining in the SCF at the end of the year will go to offset the next year’s system Congestion costs. Any shortages, not covered by ERCOT’s line of credit, will be uplifted to all QSEs representing Load on a Load Ratio Share.

- ERCOT will make payments from the SCF to QSEs representing Resources used to provide Replacement Reserves and Balancing Energy to solve CSC/Zonal Congestion in accordance with Section 6.8, Compensation for Services Provided.

- Each QSE will be charged, on a daily basis, an amount equal to the SCF fee multiplied by the actual megawatt hour of Load represented by that QSE in accordance with this Section.

- Any over collection into the SCF will be kept in an interest bearing account to be used to offset future CSC/Zonal cost and or returned on a QSE Load Ratio Share upon moving to a direct assignment of cost methodology of CSC/Zonal Congestion.

- The System Congestion Fund calculation will be as follows:

SCFqi		=	FFi	* 	AMLqi

Where:

- SCFqi	System Congestion Fund costs per interval per QSE

- FFi	The Forecasted Fee per megawatt hour fee per interval, in accordance with this Section 7.3.3.1.

- AMLqi	The Adjusted Metered Load in that interval for a given QSE

#### 7.3.3.2 Tracking Balancing Energy Zonal Congestion Cost

The calculation for tracking Balancing Energy Zonal Congestion costs is the following:

ZCBEzci            =   SPZCi * Max(0, IZCi – TTCZCi)

IZCi	= SUM((QRSiz - SOiz) * SFzZC )z

The total Balancing Energy CSC costs per interval for the entire market is calculated as follows:

ZCBEi		= 	SUM(ZCBEzci)ZC

Where:

i	Interval being calculated

z	Congestion Zone

ZC	 Zonal Congestion Constraints

ZCBEi 	The total Balancing Energy ZC costs per interval for the entire market

ZCBEzci 	Zonal Congestion Energy Related Congestion Charge per interval

SPZCi    	Shadow Price per Zonal Congestion, per interval from the Zonal Congestion calculation of Balancing Energy deployment for the interval, as provided by the ERCOT MOS/POS System

IZCi    	Scheduled MW Impact per ZC, per interval

TTCZCi    	Actual Total Transfer Capability on a given constraint per Zonal Congestion per interval

SFzZC	Commercial Model Shift Factor per Zonal Congestion, per zone

QRSiz	QSE Resource Schedule per interval, per zone

- SOiz	Scheduled Obligation per interval, per zone

#### 7.3.3.3 Replacement Reserve Service CSC/Zonal Congestion Cost

During the interim period, the Replacement Reserve CSC/Zonal Congestion Capacity Cost will be tracked in accordance to this Section .

The Shadow Price and Zonal Congestion Impact are determined by ERCOT in accordance with Section 6.6.3.2.1 of these Protocols.

7.3.3.3.1 Post-Interim Period

Following the interim period, a QSE’s Obligation for Replacement Reserves procured for CSC Congestion determined by the Commercial Model will be:

- The marginal price of the constraint as determined by the mathematical optimization process, multiplied by (2) below

- The portion of the QSE’s total megawatt impact on the CSC that is insufficient in that Zone, where insufficiency is equal to the maximum impact on the CSC Congestion based on the:

- Actual flows, or

- The scheduled flows at the time the RPRS market closes.

### 7.3.4 Zonal Method

#### 7.3.4.1 Balancing Energy CSC Congestion Charge

Using the direct assignment cost methodology for CSC Congestion, QSEs will pay for the cost of clearing CSC Congestion in accordance with Section 6.9 of these Protocols. The calculation for Zonal Method of Congestion Management is as follows:

ICSCiq	= Σ ((QRSiqz - SOiqz) * SFzcsc )

If ICSCiq > 0 then

CSCBECSCiq	=	SPCSCi	* max(0,  ICSCiq – TCRCSCiq)

Else (counterflow)

CSCBECSCiq	=	SPCSCi	* ICSCiq

End

CSCBEiq	=	SUM(CSCBECSCiq)CSC

i	Interval being calculated

q	QSE

z	Congestion Zone

CSC	Commercially Significant Constraint

CSCBECSCiq 	CSC Energy Related Congestion Charge, per interval, per CSC, per QSE

CSCBEiq 	CSC Energy Related Congestion Charge, per interval of that QSE

SPCSCi    	Shadow Price per CSC, per interval

ICSCiq    	Actual MW Impact per CSC, per interval, per QSE

TCRCSCiq    	Total Transmission Congestion Rights per CSC, per interval, per QSE

SFzcsc	Commercial Model Shift Factor per CSC, per zone

QRSiqz	QSE Resource Schedule per interval, per zone, per QSE

SOiqz	Scheduled Obligation (prior to real-time) per interval, per zone, per QSE

#### 7.3.4.2 Replacement Reserve Service CSC Congestion Charge

When the interim period has ended, and Congestion management is fully zonal, Replacement Reserve CSC costs will be allocated directly to the QSE impacting the CSC. In the fully zonal model, the Replacement Reserve CSC costs per interval per QSE will be determined by multiplying the Shadow Price of CSC capacity by the difference of the QSE’s CSC impact and any QSE scheduled TCR’s in that interval.

The CSC impact is determined by taking for each Congestion Zone, the maximum of either the difference between each QSE’s Resource schedules and the Load schedules at the time of each round of Replacement Reserve capacity procurement or the difference of their actual Resource and their Adjusted Metered Load within that Congestion Zone multiplied by the average Zonal Shift Factor.  The calculation for the fully zonal model for Congestion Management will be as follows:

CSCRPiq 	= 		SPCCSCi* max(0, ICSCiq  - min(ICSCiq , TCRcsciq))

Icsciq                 =	     max [0,

Σ (QRSTOPiqz – CLTOPiqz) * SFzcsc)z,

Σ (AMRiqz - AMLiqz) * SFzcsc)z]

i	Interval being calculated

q	QSE

z	Congestion Zone

CSC	Commercially Significant Constraint

CSCRPiq 	CSC Replacement Reserve related Congestion charge, per interval,  per QSE

SPCCSCi    	Capacity Shadow Price per CSC, per interval

ICSCiq    	Actual MW Impact per CSC, per interval, per QSE

TCRCSCiq    	Total Transmission Congestion Rights per CSC, per interval, per QSE

SFzcsc	Commercial Model Shift Factor per CSC, per zone

QRSTOPiqz	QSE Resource Schedule per interval, per zone, at the time of purchase, per QSE

CLTOPiqz	Current Load at the time of purchase per zone per interval per QSE

AMLiqz	Adjusted Metered Load in that Congestion Zone per interval of that QSE

AMRiqz	Actual Metered Resource values in that Congestion Zone per interval of that QSE

## 7.4 Congestion Management for Operational Congestion

### 7.4.1 Determination of Local Congestion

ERCOT will use the Operational Model of the ERCOT System in combination with QSE energy  schedules and ERCOT forecasted Load to determine the extent of Local Congestion.  Local Congestion is congestion that is not solved with Balancing Energy from more than one zone.

### 7.4.2 Resolution of Local Congestion

ERCOT will procure RPRS if necessary to provide sufficient capacity to resolve forecast Local Congestion. ERCOT will purchase RPRS from the Resource(s) having the lowest cost per megawatt based on each Resource’s bid price and its ability to resolve the Congestion given its Shift Factor on the Local Congestion. Bid quantity will not be taken into account in the decision to purchase RPRS.

ERCOT will instruct and dispatch Resources in Real Time in a manner that does not exceed the operational limits known to ERCOT. The Resources that have been instructed to operate within a range to resolve Local Congestion are paid or pay a price, in accordance with Section 6.8, that depends on whether a Market Solution exists for resolving the Local Congestion.

To the extent possible all constraints will be solved using Balancing Energy bids from Congestion Zones as created using the Commercial Model. The tracking cost of Local Congestion is not allocated to QSEs as a separate charge. The Operational Congestion Costs are embedded in each service deployed to resolve Operational Congestion.

The formula to calculate Local Congestion Replacement Reserve payment can be found in Section 6.8.1.11 of these Protocols.

### 7.4.3 Settlement of Local Congestion Costs

Net Local Congestion costs will be settled in the Balancing Energy settlement process.

[PIP 120: Local Balancing Premiums. The section following needs to be inserted once the system has an equation to settle local congestion separately from other Balancing Energy costs/payments]

7.4.3.1 Balancing Energy Up from a Specific Resource

In accordance with section 6.7.1.2, Deployment of Balancing Energy when Congestion Occurs, if a Market Solution exists, whenever an incremental specific Resource is deployed to solve Local Congestion, the QSE will be paid the incremental premium specified.

LPCRSUqiz 	= 	-1 * Σ((PMqiuz –MCPEiz )* Max(0, OLquiz - ALqiuz))

PMqiuz		=	Max (BPMqiuz, BPMqiuz + MCPEiz )

Where:

LPCRSUqiz:	Payment to QSE for providing Balancing Energy Up from Specific Resource to solve local congestion per QSE per interval per zone

PMqiuz:	Incremental Premium Specified for that specific Resource per interval

BPMqiuz:	Incremental bid premium for that specific Resource per interval

OLquiz:	The resource’s current output level

ALqiuz:	The minimum of the allowed range specified in the Dispatch Instruction at the time of receipt of the Dispatch Instruction

MCPEiz:	Market clearing price of Energy per interval per zone

7.4.3.2 Balancing Energy Down from a Specific Resource

In accordance with section 6.7.1.2, if a Market Solution exists, whenever a decremental specific Resource is deployed to resolve the Local Congestion, the QSE will be paid the difference of MCPE in the commercial zone, which the specific Resource is in, and the decremental bid premium specified.

LPCRSDqiz 	= 	-1 * Σ( (MCPEiz - BPMqiuz ) * LCqiuz)u

Where:

LPCRSDqiz:	Payment to QSE for providing Balancing Energy Down from specific Resource to solve local congestion per QSE per interval per zone

BPMqiuz:	Decremental bid Premium Specified for that specific Resource per interval

LCqiuz:	Balancing Energy Down instruction for that unit to solve local congestion per interval

MCPEiz:	Market clearing price of Energy per interval per zone

7.4.3.3 Balancing Energy Charge to Solve Local Congestion

In accordance with this section, all the cost associated with Balancing Energy from a specific resource to solve Local Congestion will be allocated on a QSE Load Ratio Share.

LCCiq = - 1* Σ ((LPCRSUqiz + LPCRSDqiz) * LRSiq)

Where:

LPCRSUqiz:	Payment to QSE for providing Balancing Energy Up from specific Resource to solve local congestion per QSE per interval per zone

LPCRSDqiz:	Payment to QSE for providing Balancing Energy Down from specific Resource to solve local congestion per QSE per interval per zone

LCCiq:	Local Congestion load allocation charge per QSE per interval

LRSqi 	Load Ratio Share

## 7.5 Transmission Congestion Rights

### 7.5.1 Determination of Transmission Congestion Rights (TCRs) Use in the ERCOT Market

In accordance with this Section, ERCOT will determine when it will implement the use of TCRs and the allocation of CSC Congestion costs using the direct assignment of cost methodology of CSC method.    Implementation of the TCR auction and direct assignment of CSC Congestion costs shall begin on or about Feburary 15, 2002.

### 7.5.2 Function of Transmission Congestion Rights

TCRs function as financial hedges against the marginal costs to resolve CSC Congestion.  The total costs of CSC Congestion comprise those portions of RPRS costs and the Balancing Energy Service costs associated with managing CSC Congestion.  The TCR holder will receive an amount equal to the directly assigned congestion costs for an equivalent quantity of scheduled flow.  TCRs are not deratable due to changes of the transfer capability of the CSC or interface.

- A TCR is a financial right on a specified directional interface for a particular hour that entitles the holder of record to receive remuneration equal to the sum of Shadow Prices ($/MW/15-minute) over all 15-minute intervals within the hour for the corresponding interface multiplied by 1 MW.

- A TCR is a financial option, not an obligation.

- Annually determined flow limits for CSCs will provide the basis for, but not necessarily the amount of, TCRs to be awarded to successful bidders.  The flow limit established for each CSC on an annual basis might be deratable from time to time based on changes in system conditions.

- Upon implementation of direct assignment of CSC congestion costs:

  - CSC congestion costs will be directly assigned (paid) to those QSE’s that are determined to be utilizing (unloading) the relevant CSC interface, based on the shift-factors updated and maintained in ERCOT’s operational model and the published shadow price(s) for the same; and

  - Credits will be directly assigned to those TCR holders of record in ERCOT’s database for the relevant CSC interface, based on the published shadow price(s) for the same.

### Procedure for Computation of Transmission Congestion Rights Quantities

ERCOT will model the ERCOT System with guidance and assistance from the appropriate ERCOT TAC Subcommittee using steady-state and dynamic power system simulation software and the CSC interfaces determined in accordance with Section 7.2.  The limits determined by these studies will meet NERC and ERCOT  planning criteria as defined in the Operating Guides. Remedial plans that will allow some flexibility in the determination of thermal limits are permitted. Limits that are dynamic, or limits that are likely to cause cascading outages if they are violated, will be less flexible. The capacity of the CSCs will be fully used and there will be no reservation of capacity for any particular segment of Load.

Upon review and approval of the TCR amount, ERCOT will determine and post on the MIS the total quantity, the amount pre-assigned, and the remaining available quantity of TCRs for each CSC.  The remaining available quantity of TCRs for auction will be the total amount of TCRs less the amount pre-assigned.

### 7.5.4 Annual and Monthly Auction of Transmission Congestion Rights

#### 7.5.4.1 Annual and Monthly Auction Summary

Sixty percent (60%) of the available quantity of TCRs for any given CSC path will be allocated to Market Participants based on the results of an initial annual auction. These TCRs will be made available in the annual auction for each hour of the year.  TCRs not sold in the annual auction will be sold in the monthly auctions.

The remaining available quantity of TCRs based on the monthly system conditions, as determined by ERCOT, for any given CSC path will be allocated to Market Participants based on the results of monthly auctions. These TCRs will be made available in the monthly auction for all hours of each day of each month for which the auction is being held.

#### 7.5.4.2 Auction Procedures

ERCOT will develop a procedure for authenticating ownership for each TCR.

ERCOT, or its designee, will conduct simple, single round, single-clearing-price auction for each of the CSCs.  The auction awards TCRs from the highest price to the lowest price until one hundred percent (100%) have been awarded.  The lowest awarded price becomes the market-clearing price for all awarded  TCRs in the annual and month auction.  ERCOT shall implement a single round, simultaneous combinatorial auction in 2003, if required by PUCT order.

The auction process will be open to all Market Participants except TDSPs. To participate in the auctions, a bidder must meet financial security requirements established by ERCOT and must have access to the computer hardware, software and communications equipment required to participate.

##### 7.5.4.2.1 Notice for Annual Auction

Sixty-days (60)  prior to the annual auction and ten (10) days prior to the monthly auction, ERCOT will post:

- The zone-to-zone impact matrix (to determine the megawatt impact on each CSC);

- The number of TCRs to be issued for each period (annual, monthly) in that auction;

- Deadline for bidders to satisfy financial requirements;

- Specifications for the equipment necessary to participate in the auction;

- The date and time by which bids must be submitted;

- The bid format;

- The closely related elements (CRE);

- Any other information of commercial significance to bidders.

##### 7.5.4.2.2 Auction

The auction will be a simple, single round, single-clearing-price auction with the following steps:

- The auction will start with the CSC that has the largest amount of capacity available to be auctioned.

- Bidders will submit bids containing descending price/quantity pairs.

  - The auction system will check the possible award amount of the bid against the credit posted by the bidder.  If the bid violates credit posted by the participant, the whole bid will be rejected.

  - The auction system will check the time stamp of bids to make sure it does not violate the biding period.

  - The auction system will check to see whether the bids from any one participant exceed the number of TCRs available for auction.

- The auction system will compile all bids submitted by auction participants into a bid stack starting with the highest bid.

- The auction system will award bids starting with the highest priced bid.  The auction system will then award to the next highest priced bid and continue this process until all of the capacity available for the particular CSC is awarded.

  - If all of the annual bids are awarded and there are TCRs remaining, the left over TCRs will be added to the monthly auction.

  - If all of the monthly bids are awarded and there are TCRs remaining, the left over TCRs will be lost until the next auction.

- The last bid/quantity pair awarded will set the price for all TCRs on that particular CSC called the clearing price.

- In the event that there are multiple bids with prices equal to the TCR clearing price, the remaining TCRs will be awarded on a pro-rata basis.  The remainder of TCRs that cannot be distributed in whole integers will be dropped from the auction.

- The auctioneer shall announce the results of the auction simultaneously to all TCR bidders, by posting the results on the MIS Website. For each TCR Interface, the quantities of TCRs awarded to each bidder, the clearing price for each TCR Interface, the compiled bid curve, and the number of awardees will be posted.

- The total value of the TCRs awarded will be deducted from the available credit line for the next auction for each auction participant.

[PIP ???: TCR Auction:. The section following needs to be inserted once the auction system has been developed for the monthly and annual auction]

7.5.4.2.2 Auction

The auction will be a single round, simultaneous combinatorial auction.

#### 7.5.4.3 TCR Auction Charge

TCR auction proceeds will be collected in the following manner:

TCRCRMPi = TCRCSCRMPi * MCPTTCRi

Where:

i     	Interval, could be monthly or annually.

TCRCRMPi 	TCR Charge per RMP for that interval

TCRCSCRMPi	TCR quantity awarded in MW to the RMP (by flow direction) of that interval

MCPTTCRi 	TCR Market Clearing Price for the TCR quantity for that interval

RMP	Registered Market Participant

Registered Market Participants must be qualified by ERCOT to pay via the same standards, as are QSE’s.  TCR’s can be purchased by any Registered Market Participant and sold or transferred to QSE’s.  Only QSE’s are able to apply TCR’s to settlements.

[PIP 161:The process for the invoicing and collection of the TCR funds and the methodology for distribution of the funds have not been determined. TCR auctions will not happen until 2004, or a fully zonal model.]

#### 7.5.5 Allocation Method and Timing for Distributing TCR Auction Revenues

The auction revenues from each annual auction will be placed in an account, the Auction Revenue Fund (ARF) and, to the extent necessary, drawn from to remedy shortfalls in CSC/Zonal Congestion costs collected.  In the event that the account proceeds are exhausted, any remaining shortfall will be uplifted to all QSEs on a Load Ratio Share basis for the same 15-minute interval.

The auction revenues from each monthly auction will be placed in the ARF and, to the extent necessary, drawn from to remedy any shortfalls in Congestion costs collected.  In the event that account proceeds are exhausted prior to the end of the calendar year, any remaining shortfall will be uplifted to all QSEs on a Load Ratio Share basis for the same 15-minute interval.

#### 7.5.6 TCR Settlement

To participate in ERCOT’s TCR settlements, a TCR holder need not be a QSE nor be represented by a QSE, but must be registered as a TCR account holder with ERCOT, comply with creditworthiness requirements established by ERCOT, and have the ability to make and accept electronic transfer of funds.

ERCOT will settle with the holder of record at designated settlement time.

Congestion Credits, based on the published shadow prices for the relevant congested CSC interfaces, will be issued to the TCR holders of record in ERCOT’s database.  Shadow prices will be published as public information at the same time that the corresponding Zonal BES prices are published.

#### 7.5.7 Direct Allocation of TCRs

Upon the zonal method being implemented, MOUs and ECs which own or have a long-term (greater than five years) contractual commitment for annual capacity and energy from a specific remote Generation Resource, and that commitment was entered into prior to September 1, 1999, are eligible for pre-assigned TCRs.  The pre-assigned TCRs will be allocated as follows:

- The pre-assigned TCRs will extend three years after a MOUs or ECs enters into Customer Choice or the effective date of the removal of Federal Private Use Act restrictions that may be applicable to specific Generation Resources.

- The pre-assigned TCRs cost shall be a flat rate that is equal to the three year average (1997-99) of the Entity’s Load Ratio Share of the total ERCOT re-dispatch costs for planned transactions.

- The allocation of pre-assigned TCRs will be sufficient to isolate the MOUs and ECs from any direct-assigned costs associated with transporting the output of their remote Generation Resources to their native Load.

- Pre-assigned TCRs may only be used to schedule the eligible Generation Resources.

- Pre-assigned TCRs may not be traded in the secondary market.

- Holders of pre-assigned TCRs shall not be precluded from participating in the market to purchase additional TCRs

- Pre-assigned TCRs are subject to change or elimination at any time, upon ERCOT Board of Directors approval or PUCT order.

### 7.5.8 Secondary Market Exchange of Transmission Congestion Rights

With the exception of pre-assigned TCRs, Market Participants can exchange TCRs in any secondary market. ERCOT will maintain a database of annual and monthly first-purchasers of TCRs.  Subsequent holders or owners (other than first-purchasers) of the TCRs who want the change in ownership to be recorded in the ERCOT TCR ownership database will be responsible for assuring that the sellers report the transactions to ERCOT’s satisfaction and that the sellers authorize the transaction within the ERCOT database in accordance to ERCOT’s procedures.

### 7.5.9 Transmission Congestion Right Value Under Physical Curtailment or De-rating

TCRs will retain their full value even in the event of physical curtailment or flow limitation below the megawatt quantity for which TCRs were defined on any given CSC path.

### 7.5.10 Settlement of Transmission Congestion Rights

Settlement of TCRs will offset the impact of the QSE’s schedule on CSC Congestion costs including both Balancing Energy Service and RPRS costs allocated to CSC Congestion.

## 7.6 Incorporation of Reliability Must-Run and Out of Merit Order Resources

RMR and OOM Resources will be used for Congestion Management as described in Sections 4, Scheduling, Section 5, Dispatch and Section 6, Ancillary Services. RMR and OOM Resources will be used for Congestion Management only in the absence of Market Solutions to alleviate CSC or Local Congestion .  RMR and OOM Resources will be compensated in accordance with Section 6.8.  Net ERCOT costs for RMR and OOM Resources for Congestion Management will be allocated to QSE's via the SCF, direct assignment of cost methodology of CSC, or uplift, consistent with the allocation methods for other RPRS and Balancing Energy costs for Congestion Management as described in this Section.

## 7.7 Remedies to Congestion Through Transmission Expansion

ERCOT will review the cost of correcting localized transmission limitations through new construction or other means, and will compare this to the costs incurred to correct those problems.  ERCOT shall publish the average cost of the constraint by period for each transmission limitation subtotaled by TDSP.  This information will be included in ERCOT’s  annual transmission planning report. If the projected or actual cost of ERCOT directed	 Congestion Management including all energy and capacity tools, is greater than the cost of correcting the transmission limitations through construction of Facilities, then ERCOT may recommend an upgrade of Facilities to the TDSP.

| ## Sponsor |  |
| --- | --- |
| Name | Pamula Dautel |
| E-mail Address | pdautel@ercot.com |
| Company | ERCOT |
| Company Address | 2705 West Lake Drive, Taylor, Texas 76574 |
| Phone Number | 512-248-3955 |
| Fax Number | 512-248-3995 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |