# I do not get along with people?

- Demy orders me to go places, do things, find solutions that upset people. What should I do?

- Harvey – I had to answer his report – I did it gently; he refused to provide me with SEG data

- Kevin – I corrected him in meetings on use of a solid state switch. This made me his enemy.

- Henning & Wilhelm – I tried to bring up code compliance – ridiculed by Kevin; Demy wants me to redo crowbar. What should I do?

- Tim Mohamed – I helped him many times but he treated me bad – Erasmo and CJ know it

- Email – not copied – is a psycho; copied all he did; gave tech answer again -- on paper

# Poor Electrical Engineering

- Demy does have low standards, so does the QC department.

- The Germans (Henning, SEG engineer) are different – sharp, fast decisions

- In the meeting w/Henning Val, Harvey, Tim – incompetent; Kevin, Demy, and I – competent

- I tried to work within the system in Demy’s department to improve things. It is useless.

- If you’re below average at Enron, you’ll be popular.

- You can’t challenge Kevin

- QC’s bad electrical engineers (Kevin, Val)

- Mismanaged Power Systems Department

- Demy does not return calls or emails for a week

- Code issues – we need to go by NEC – e.g. 1900A, not 2000A C/B

- Questionable hiring procedures

- Unqualified electrical engineers

# Tim Mohamed

- lack of electrical engineering fundamentals.

- represented engineering in a meeting w/Bob Rugh – agreed not to use ABB C/B (500k loss)

- ABB power panel

- ABB called me that he his requirements do not make sense – they could not believe it

- I overheard Tim’s telephone conversation to ABB

- He wrote email to Henning and Wilhelm Janssen. Talk to them; also called Henning in the past.

- Obnoxious pushy attitude – witnessed by others, lies

- Threatened Enron employees

# New pad-mount XFMR C/B

- ABB, not C-H should have been bought

- Kevin does not know power at all

- Attacked me repeatedly on code issues

- Wrong approach to contractor installation

- Solid state switch

- Does not fail open

- Not suitable for available short circuit current

- Expensive

- Vacuum contactor – crowbar may be needed

- Bad attitude – gets even

- Dan Linquist did not want me in the meeting; was disappointed that I was not in meeting w/Henning

- Remote MMI commissioning could have been specified long time ago

# Solutions

- Mission statement

- Training

- Scheduling and budgeting

- Not even time cards with projects and hours

- One electrical boss for Demy, Kevin, etc., -- who’ll need to do a lot of micro-management

- If we do not improve electrical, the Germans will institute their own changes. I’ve seen it before.