# I do not get along with people?

- Harvey – I had to answer his report – I did it gently; he refused to provide me with SEG data

- Kevin – I corrected him in meetings on use of a solid state switch. This made me his enemy.

- Henning & Wilhelm – I tried to bring up code compliance – ridiculed by Kevin

- Tim Mohamed – I helped him many times but he treated me bad – Erasmo and CJ know it

- Email – not copied – is a psycho; copied all he did; gave tech answer again -- on paper

# Engineering

- The Germans (Henning, SEG engineer) are different – sharp, fast decisions

- In the meeting w/Henning Kevin, Demy, and I – competent

- You can’t challenge Kevin

# Tim Mohamed

- lack of electrical engineering fundamentals.

- ABB power panel

- ABB called me that he his requirements do not make sense – they could not believe it

- I overheard Tim’s telephone conversation to ABB

- He wrote email to Henning and Wilhelm Janssen. Talk to them; also called Henning in the past.

- Obnoxious pushy attitude – witnessed by others, lies

# New pad-mount XFMR C/B

- Kevin does not know power at all

- Attacked me repeatedly on code issues

- Wrong approach to contractor installation

- Solid state switch

- Does not fail open

- Not suitable for available short circuit current

- Expensive

- Vacuum contactor – crowbar may be needed

- Bad attitude – gets even

- Dan Linquist did not want me in the meeting; was disappointed that I was not in meeting w/Henning

- Remote MMI commissioning could have been specified long time ago

# Solutions

- Mission statement

- Training

- Scheduling and budgeting