Requestor:      								Date:

Project Name:      				Lead Developer:

Location of Project:      			AM Assigned:

Work Order #:      		 		O&M Assigned:

Development Engineer:

PROJECT DATA

- Type of Estimate:	 Mobilization	    Operations & Maintenance	 Project Management

Notes:

- Critical Dates:		Financial Close:      		NTP:      							Construction Start:      		Commercial Operation:

Notes:

- Project Term:      				Project Ownership:

Notes:

- Project type:		 Independent Power Project	 Cogeneration		 Steam only				 Other      			 CC GT		 SC GT				 Rankine Cycle		 Biomass (fuel      )	 Baseload				 Cycling			 Int. Load		 Peaking				 GreenField			 Acquisition

Notes:

- Primary Fuel 		 Natural Gas			 Heavy Fuel Oil	 LNG					 Other

Notes:

- Backup Fuel		 Heavy Fuel Oil		 LNG			 Other

Notes:

- Method of Delivery	 SPM		 Barge	 Rail		 Truck

Notes:

- Total Electrical Generation	      MW	      KWH/yr	      hertz	      PF

Notes:

- Total Steam Generation		      Klbs/hr	@      psig	@       temperature

Notes:

- Local Labor Forces	 Union	 Non-union	 Skilled	 Semi-skilled					 Unknown

Notes:

- Major Equipment

Notes:

- Water Treatment:	 Demineralizer		 Reverse Osmosis		 Clarifier				 Water Softners	 Thermal Desalination Acid	 Mixed Bed				 Other (specify)

Notes:

- Emission Controls:	 Dry Low Nox Burner (DLN)	 SCR		 NSCR					 Water Injection		 Steam Injection						 Wet/Dry Scrubber		 Bag house filter	 ESP					 Other (specify)

Notes:

- Water Source:	 Municipal	 Well	Fresh 	 River	 Brackish	 Other

Notes:

- Location:	 Urban	 Rural	 Industrial	 Coastal					Distance to the nearest occupied dwelling/business:

Notes:

- High Pressure Steam Drum Pressure:	      psig	Condensate Return Rate:      %

Notes:

- NOx Steam Injection Rate:	      Klbs/hr	Cooling Tower Heat Load:       MMBtu/hr

Notes:

- Specify Water Supply Source:

- Boiler Feedwater Demineralization Source:      @$     /Kgal

- Cooling Tower Water Source:      @$     /Kgal

- Water Analysis (please attach results):	 Attached	 Not attached

Notes:

19.	Backup Fuel Supply expected to be used       per year for       hours.  Fuel Specs for primary & backup:

Notes:

- Switchyard/Substation Description:

Notes:

- Please attach plant loading (PLF) cycle as estimated by power purchaser(s), particularly maintenance scheduling, or restrictions on maintenance:

Notes:

- Please identify any other pertinent factors relevant to the project:

Notes:

- List of Contracts:

a.	Fuel Supply	 Yes	 No	 Copy

b.	PPA		 Yes	 No	 Copy

c.	Inter-connect	 Yes	 No	 Copy

d.	Wheeling	 Yes	 No	 Copy

e.	Turnkey	 Yes	 No	 Copy

f.	EPC		 Yes	 No	 Copy

g.	Spare Parts	 Yes	 No	 Copy

h.	O & M		 Yes	 No	 Copy

i.	A & M		 Yes	 No	 Copy

j.	Marine		 Yes	 No	 Copy

Notes:

24.	JV corporate staff or Enron contract management?	 JV		 Enron

Notes:

25.	Indicate executive positions applicable:		 General Manager	 Finance Director							 HR Director		 Fuel Manager							 Commercial Director	 C&E Manager

Notes:

- Expected location of JV office:

Notes: