Originator/Developer Information Guidelines.

- General Description of the Project Opportunity. Include In Service Commercial Date.

When investigating project opportunities, the following information should be obtained to the greatest degree possible by the originator/developer:

| # Site Description |  |  |
| --- | --- | --- |
| - Location: Country, State, County, City, Longitude and Latitude (map if possible) | EPC |  |
| - Altitude of Site | EPC |  |
| - Greenfield / Existing Facility [circle one] (describe any existing facility, i.e. existing turbines) | EPC |  |
| - Site Accessibility: Road / Rail / Marine [circle applicable choice(s)] (give distance of each from site and port name, if applicable) | EPC |  |
| - Available Construction Footprint Dimensions and Description (i.e. flat, rocky, agricultural) | EPC |  |
| - Soil Conditions: Foundation Requirements (will piling be required?) | EPC |  |
| - Pre-existing Conditions: Contamination and/or Obstructions (both subsurface and surface) | EPC |  |
| ## III. Plant Output – Power |  |  |
| - Peak, Average and Minimum Load (desired capacity) | EPC |  |
| - Load Profile and Load Factor (i.e. 5x16 @ 90%) | EPC |  |
| - Interruptibility | EPC |  |
| - Minimum dependable load required | EPC |  |
| - Redundancy requirements | EPC |  |
| - Scheduled system outages | EPC |  |
| ## IV. Plant Output – Steam |  |  |
| - Pressure and temperature | EPC |  |
| - Peak, average, & minimum demand | EPC |  |
| - Demand Curve or Profile | EPC |  |
| - Annual consumption | EPC |  |
| - Interruptibility | EPC |  |
| - Minimum Dependable Load | EPC |  |
| - Redundancy requirements | EPC |  |
| - Condensate Return %, quality, contamination | EPC |  |

| V. Plant Output – Water: Hot / Chilled [circle applicable choice(s)] |  |  |
| --- | --- | --- |
| - Circulating Water Rate | EPC |  |
| - Supply and return temps and pressures | EPC |  |
| - Peak, Average, and Minimum Load | EPC |  |
| - Load Curves, Profile, Load Factor | EPC |  |
| - System losses | EPC |  |
| VI. Plant Output – Other Services: |  |  |
| - Black Start Capacity | EPC |  |
| - VAR Support | EPC |  |
| - Spinning Reserve | EPC |  |
| - Compressed air | EPC |  |
| - Waste disposal | EPC |  |
| - Water treatment/supply | EPC |  |
| - Other (describe) | EPC |  |
| ## VII. Plant Input – Fuel: Gas / #2 Oil / Heavy Oil [circle applicable choice(s)] |  |  |
| - Distance to Interconnect, Pipe Diameter, Line Capacity and Variability (gas) | EPC |  |
| - Permitting / Acquisition / Interconnection Costs (gas) | EPC |  |
| - Operating Pressure: Max Design / Min Actual (gas) | EPC |  |
| - Composition, HHV & LHV (gas or oil) | EPC |  |
| - Price, delivered (gas or oil) | EPC |  |
| - Source of Supply & Nearest Storage Capacity (oil) | EPC |  |
| - Delivery Options:Pipeline / Rail / Truck / Marine (oil) [circle applicable choice(s)] | EPC |  |
| - Sulfur content (oil) | EPC |  |
| ### Plant Input - Other Fuels: Off Gasses / Waste Steam Fuels / Bio Mass / Coal / Low BTU Gas / Other [circle applicable choice(s)] (For each, specify quantity, source, quantity available, method of supply, sulfur content, pressure, temperature, heat value, composition, variability in supply.) |  |  |

| # Plant Input – Water: Surface / Ground / Utility [circle applicable choice] | EPC |  |
| --- | --- | --- |
| - Source Location and Distance from Site | EPC |  |
| - Available Quantity (express in gallons per minute – GPM) | EPC |  |
| - Quality and Treatment Requirements (include temperature in quality description) | EPC |  |
| - Permitting / Acquisition / Interconnection Costs | EPC |  |
| - Unit Cost / Delivered Price | EPC |  |
| ## X. Waste Disposal |  |  |
| - Utility Sewer Service Availability (capacity, pretreatment requirements, cost) | EPC |  |
| - Is Surface Discharge Allowed with Pretreatment? | EPC |  |
| - Zero Discharge Requirements (describe as applicable) | EPC |  |
| - Thermal Discharge Restrictions (describe as applicable) | EPC |  |
| ## XI. Electrical Interconnection |  |  |
| - Number of Supply Points and Voltages | EPC |  |
| - Connection Type: Single / Double / Looped [circle applicable choice] | EPC |  |
| - Transmission Export Capacity (describe possible constraints / upgrades) | EPC |  |
| - Special Interconnection Requirements | EPC |  |
| - Distance of Interconnect Points from Site | EPC |  |
| ## XII. Environmental Constraints: Air Emissions |  |  |
| - Air Quality Region | EPC |  |
| - Attainment / Non-Attainment Area [circle applicable choice] (describe specific emissions limits. I.e. ppmdv, tons/year, lbs/mmbtu. Will other sources be shut down?) | EPC |  |
| - Required Offsets (describe) | EPC |  |
| - Expected Permitting: PSD / Non-PSD [circle one] | EPC |  |
| - Background Data (describe, if data is available) | EPC |  |
| - Background Sampling Required: Yes / No [circle one] | EPC |  |
| ## XIII. Environmental Constraints: Liquid Emissions |  |  |
| - Define Any Constraints | EPC |  |
| ## XIV. Environmental Constraints: Noise Emissions |  |  |
| - Distance to Nearest Receptor | EPC |  |
| - Day / Night Background Level | EPC |  |
| - Describe Regulatory Requirements and Agency Involved | EPC |  |