UNITED STATES OF AMERICA 97 FERC µ 61,099

FEDERAL ENERGY REGULATORY COMMISSION

18 CFR Part 35

[Docket No. RM02-1-000]

Standardizing Generator Interconnection Agreements and Procedures

Advance Notice of Proposed Rulemaking

(October 25, 2001)

AGENCY:   Federal Energy Regulatory Commission.

ACTION:   Advance Notice of Proposed Rulemaking

SUMMARY: The Federal Energy Regulatory Commission (Commission)

seeks comments on a standard generator interconnection agreement

and procedures that would be applicable to all public utilities

that own, operate or control transmission facilities under the

Federal Power Act.

DATES:   Written comments must be received by the Commission by

December 21, 2001.

ADDRESS:  Office of the Secretary

Federal Energy Regulatory Commission

888 First Street, N.E.

Washington, D.C.  20426

FOR FURTHER INFORMATION CONTACT:

David Faerberg (Legal Information)

Office of the General Counsel

Federal Energy Regulatory Commission

888 First Street, N.E.

Washington, D.C.  20426

(202) 208-1275

Patrick Rooney (Technical Information)

Office of Market, Tariffs and Rates

Federal Energy Regulatory Commission

888 First Street, N.E.

Washington, D.C.  20426

(202) 501-5546

Roland Wentworth (Technical Information)

Docket No. RM02-1-000     -2-

Office of Market, Tariffs and Rates

Federal Energy Regulatory Commission

888 First Street, N.E.

Washington, D.C.  20426

(202) 208-1288

SUPPLEMENTARY INFORMATION:

UNITED STATES OF AMERICA

FEDERAL ENERGY REGULATORY COMMISSION

Standardizing Generator Interconnection      Docket No. RM02-1-

000

Agreements and Procedures

Advance Notice of Proposed Rulemaking

(October 25, 2001)

The Federal Energy Regulatory Commission (Commission)

intends to adopt a standard generator interconnection agreement

and procedures that would be applicable to all public utilities

that own, operate or control transmission facilities under the

Federal Power Act.  As discussed more fully below, the Commission

requests comments on these contractual provisions and procedures.

After receiving and considering these comments, the Commission

will issue a notice of proposed rulemaking (NOPR).

I.   Background

Docket No. RM02-1-000     -2-

1

In Order No. 888,   the Commission mandated that public

utilities provide non-discriminatory or comparable open access

transmission service.  Order No. 888 also  established

standardized terms and conditions for public utility-provided

transmission service, i.e., a pro forma transmission tariff.

However, Order No. 888 does not directly address generator

interconnections, which are implicitly included as a part of

2

transmission service.  In Tennessee Power Company (Tennessee) ,

the Commission held that interconnection service is an element of

transmission service, that customers have the right to request

interconnection separately from the delivery component of

transmission service, and that interconnection must be offered

under the terms of the pro forma tariff.  The Commission has also

held that customers have the right  to request the transmission

provider to file an unexecuted interconnection agreement if a

3

dispute cannot be quickly resolved.

1

Promoting Wholesale Competition Through Open Access

Nondiscriminatory Transmission Services by Public Utilities;

Recovery of Stranded Costs by Public Utilities and Transmitting

Utilities, Order No. 888, FERC Stats. & Regs. µ 31,036 (1996),

clarified, 76 FERC µ 61,009 and 76 FERC µ 61,347 (1996), on

reh'g, Order No. 888-A, FERC Stats. & Regs. µ 31,048, clarified,

79 FERC µ 61,182 (1997), on reh'g, Order No. 888-C, 82 FERC

µ 61,046 (1998), aff'd sub nom. Transmission Access Policy Study

Group v. FERC, 225 F.3d 667 (D.C. Cir. 2000), cert. granted in

part and denied in part, 69 U.S.L.W. 3574 (U.S. Feb. 26, 2001).

2

90 FERC µ 61,238 (2000), order on reh'g, 91 FERC 61,271

(2000).

3

See, e.g., American Electric Power Service Corporation, 91

FERC µ 61,308 (2000); Commonwealth Edison Company, et al., 92

FERC µ 61,018 (2000).

Docket No. RM02-1-000     -3-

Although a number of parties have requested that the

Commission initiate a generic proceeding or industry

collaboration to address interconnection concerns, the Commission

until now has declined to do so.  In addressing these requests,

the Commission encouraged utilities to revise their open access

transmission tariffs (OATTs) to include procedures for requesting

interconnections services and the criteria for evaluating those

requests.  The Commission has also stated that because a regional

transmission organization (RTO) will administer its pro forma

tariff, it was the Commission's hope that compliance with the RTO

4

rulemaking in Order No. 2000  would eliminate concerns about

interconnection procedures.

Consistent with the Commission's encouragement, a number of

transmission providers have filed interconnection procedures as

5

part of their pro forma tariffs.   Some of these providers have

filed pro forma interconnection agreements, while others have

submitted only procedures explaining how interconnection requests

will be processed.            While there have been a number of

positive developments with respect to interconnection procedures,

the Commission recognizes that there is still dissatisfaction and

4

Regional Transmission Organizations, Order No. 2000, FERC

Stats. & Regs. µ 31,089 (1999), order on reh'g, Order No. 2000-A,

FERC Stats. & Regs. µ 31,092 (2000), petitions for review pending

sub nom. Public Utility District No. 1 of Snohomish County,

Washington v. FERC, Nos. 00-1174, et al.

5

See, e.g., American Electric Power Service Corp., 91 FERC

µ 61,308 (2000); Southwest Power Pool, Inc., 92 FERC µ 61,109

(2000); Carolina Power & Light Company, 93 FERC µ 61,032 (2000);

Virginia Electric and Power Co., 93 FERC 61,307 (2000); Consumers

Energy Co., 93 FERC µ 61,339 (2000).

Docket No. RM02-1-000     -4-

uncertainty with existing interconnection policy and procedures

that may have resulted in less investment in infrastructure and

less confidence in the competitiveness of the markets.  In a

number of contexts, the Commission has received comments from

both generators and transmission providers concerning existing

interconnection policy and procedures.

Generators assert, among other things, that (1) there is

difficulty in securing interconnection without requesting

delivery, (2) the treatment they receive is not

comparable to the treatment received by the transmission

provider s own generation,

(3) system upgrade costs charged to generators are sometimes not

related to the interconnection, (4) there are delays and

uncertainty due to the lack of binding commitments and firm

deadlines in transmission providers' pro forma tariffs, and (5)

there is a lack of transparency of transmission information

needed to make an independent assessment of the impact of an

interconnection request.

On the other hand, transmission providers argue that they

need (1) minimum commitments from generators seeking to

interconnect prior to performing studies to weed out those who

will likely never interconnect, resulting in a more manageable

and realistic queue, (2) assurance that their control area will

benefit from, or at least not be burdened by, adding generators,

particularly when the new generator seeks to locate on one system

Docket No. RM02-1-000     -5-

but serve load on another, and (3) improved communication between

the generators and the loads they serve.

II.  Discussion

Generator interconnection is a critical aspect of open

access transmission service.

In order to fully realize the benefits of open access

transmission service, interconnection procedures must be

established that will encourage needed investment in

infrastructure, remove incentives for transmission providers to

favor their own generation, ease entry for competitors, and

encourage efficient siting decisions.  In the Commission's view,

standard interconnection procedures are essential for providing

the right incentives for both transmission providers and

generators.  Accordingly, the Commission intends to adopt a

standard generator interconnection agreement and procedures that

would be applicable to all public utilities that own, operate or

control transmission facilities under the Federal Power Act.

The Commission is considering basing the standard

interconnection agreement and procedures on the Standard

Generator Interconnection Agreement and Generation

Interconnection Procedure of the Electric Reliability Council of

6

Texas (ERCOT),  as supplemented and modified by the various "best

practices" that have been identified by the Commission in

6

The ERCOT agreement and procedures are attached as Appendix

A to this order.

Docket No. RM02-1-000     -6-

Attachment A to this order.  (References in the ERCOT Agreement

and Procedure to the Public Utility Commission of Texas should be

generally understood for purposes of this ANOPR as references to

FERC).  These "best practices" are based, in part, on generator

interconnection agreements and procedures that have been approved

by the Commission in past cases.  For purposes of commenting in

this proceeding, assume that our current pricing policy as

reflected in Attachment B is in effect.  However, commenters

should not interpret this as an indicator of our preference for a

long-term pricing policy.  Cost responsibility and pricing will

be addressed in a subsequent rulemaking.

Commenters advocating a standard agreement and procedures

other than the ERCOT model as supplemented and modified by the

"best practices" in Attachment A should specify in detail how

their proposals differ from the foregoing and are superior to or

more appropriate than the proposal herein.  Any approaches

suggested by commenters must be in the public interest by

promoting competition and economic efficiency .

The Commission strongly encourages interested persons to

pursue consensus on these issues through procedures that will be

initiated through a separate notice.  As part of these procedures

and separate from comments on this ANOPR, by December 14, 2001,

participants will be required to file a single document

reflecting as much consensus as possible on a standard generator

interconnection agreement and procedures as well as pros and cons

on issues where consensus was not reached.  Any consensus reached

Docket No. RM02-1-000     -7-

among all interested persons will be the foundation for the

subsequent NOPR, to the extent consistent with the Commission's

statutory responsibility and the guidance above.  Issues not

resolved by consensus among all interested persons will be

addressed in the subsequent NOPR consistent with this and the

preceding paragraph.

III. Comment Procedures

The Commission invites interested persons to submit

comments, data, views and other information concerning matters

set out in this notice.

To facilitate the Commission's review of the comments,

commenters are requested to provide an executive summary of their

position on the issues raised in the Advance Notice of Proposed

Rulemaking (ANOPR).  Commenters are requested to identify each

specific issue posed by the ANOPR that their discussion addresses

and to use appropriate headings.  Additional issues the

commenters wish to raise should be identified separately.  The

commenters should double-space their comments.

Comments may be filed on paper or electronically via the

Internet and must be received by the Commission by December 21,

2001.  Those filing electronically do not need to make a paper

filing.  For paper filings, the original and 14 copies of such

comments should be submitted to the Office of the Secretary,

Federal Energy Regulatory Commission, 888 First Street, N.E.,

Washington D.C. 20426 and should refer to Docket No. RM02-1-000.

Docket No. RM02-1-000     -8-

Comments filed via the Internet must be prepared in

WordPerfect, MS Word, Portable Document Format, or ASCII format.

To file the document, access the Commission's website at

www.ferc.gov and click on "e-Filing," and then follow the

instructions for each screen.  First time users will have to

establish a user name and password.  The Commission will send an

automatic acknowledgment to the sender's E-Mail address upon

receipt of comments.

User assistance for electronic filing is available at 202-

208-0258 or by E-Mail to efiling@ferc.fed.us. Comments should not

be submitted to the E-Mail address.  All comments will be placed

in the Commission s public files and will be available for

inspection in the Commission s Public Reference Room at 888 First

Street, N.E., Washington D.C. 20426, during regular business

hours.  Additionally, all comments may be viewed, printed, or

downloaded remotely via the Internet through FERC's Homepage

using the RIMS link.  User assistance for RIMS is available at

202-208-2222, or by E-mail to RimsMaster@ferc.fed.us .

IV.  Document Availability

The Commission provides all interested persons an

opportunity to view and/or print the contents of this document

via the Internet through FERC's Home Page

(http://www.ferc.gov ) and in FERC's Public Reference Room during

normal business hours (8:30 a.m. to 5:00 p.m. Eastern time) at

888 First Street, N.E., Room 2A, Washington, DC 20426.  This

document will be published in the Federal Register without the

Docket No. RM02-1-000     -9-

ERCOT Standard Generator Interconnection Agreement and Generation

Interconnection Procedure.  Those documents can be viewed in the

Public Reference Room or via the internet at

http://www.ferc.gov/electric/gen_inter.htm.

From FERC's Home Page on the Internet, this information is

available in both the

Commission Issuance Posting System (CIPS) and the Records and

Information Management System (RIMS).

- -  CIPS provides access to the texts of formal documents issued

by the Commission since November 14, 1994.

- -  CIPS can be accessed using the CIPS link or the Energy

Information Online icon.

The full text of this document is available on CIPS in ASCII

and

WordPerfect 8.0 format for viewing, printing, and/or

downloading.

- -  RIMS contains images of documents submitted to and issued by

the Commission

after November 16, 1981.  Documents from November 1995 to

the present can be

viewed and printed from FERC's Home Page using the RIMS link

or the Energy

Information Online icon.  Descriptions of documents back to

November 16, 1981,

are also available from RIMS-on-the-Web; requests for copies

of these and other

Docket No. RM02-1-000     -10-

older documents should be submitted to the Public Reference

Room.

User assistance is available for RIMS, CIPS, and the Website

during normal business hours from our Help line at (202) 208-2222

(E-Mail to

WebMaster@ferc.fed.us ) or the Public Reference at (202) 208-1371

(E-Mail to

public.referenceroom@ferc.fed.us ).

During normal business hours, documents can also be viewed

and/or printed in FERC's Public Reference Room, where RIMS, CIPS,

and the FERC Website are

available.  User assistance is also available.

By direction of the Commission.

( S E A L )

David P. Boergers,

Secretary.

Docket No. RM02-1-000     -11-

Attachment A

BEST PRACTICES

The items discussed in this attachment are intended to be

additions or modifications to the ERCOT Interconnection

Procedures.

1.   Comparable Treatment:

Transmission Providers who are also load serving

entities are currently permitted to reserve (set aside)

transmission capacity for use by future network

resources to meet projected load growth.  Under the new

interconnection procedures, other suppliers such as

merchant plants will be allowed to be competing network

resources for meeting load and load growth without

having to be selected as a designated  network resource

at the time of interconnection.

2.   Generators Must be Offered Multiple Interconnection

7

Products:

Energy Resource:    If the Generator elects to become

an energy resource, it will be

permitted to connect to the

Transmission Provider's system and

deliver the generating facility's

output using the existing capacity

of the transmission system on an

"as available" basis.   The

Transmission Provider must conduct

the necessary studies and construct

minimal network facilities needed

to allow the Generator to

interconnect its facility to the

grid and deliver the output on an

"as available" basis.

Capacity Resource:  The Transmission Provider must

conduct the necessary studies and

construct the network facilities

needed to integrate the

Generators's facility in a manner

comparable to that in which the

Transmission Provider integrates

7

The definitions are adapted from those used by PJM.

See PJM Interconnection L.L.C., 87 FERC µ 61,299

(1999).

Docket No. RM02-1-000     -12-

its generating facilities to serve

native load customers.

3.   Exemptions

Small generators (20 MW and below), including those

owned by Transmission Providers or their affiliates,

will be exempt from paying for interconnection studies

or network upgrades.   Interconnection of generating

facilities of this size will not materially affect the

Transmission Provider's system.   The Transmission

Provider will have streamlined procedures in place for

administering interconnection requests from small

generators (e.g., only conducting a feasibility study

at no charge to determine the minimal facilities

necessary to accommodate the request).

4.    Queuing

If requests are processed on an individual basis, the

initial queue position for all interconnection requests

will be based on the date that the Transmission

Provider receives the request.   If requests are

processed jointly, the initial queue protocol may be

modified.   The interconnection procedures will set

forth reasonable milestones and requirements which the

Generator must meet to retain its position in the

queue.   In addition to the time line procedures listed

in Section 7 of this attachment, if the Generator

misses any stipulated milestones or requirements (i.e.,

milestones tied to obtaining necessary application and

governmental approvals to show the project is on track)

it will be given 10 working days to correct any

deficiencies or lose its place in the queue (unless the

Generator can reasonably demonstrate that extraordinary

circumstances prevented it from meeting the deadlines).

A Generator will also risk losing its queue position

if material changes are made to the initial request

(e.g., substantially revising the size or configuration

of the facility).

5.   Deposits:

Generators will be responsible for the costs of all

required studies.   Generators will be required to

submit a $2,000 non-refundable deposit at the time it

submits the initial interconnection request; a $10,000

non-refundable deposit and demonstration that it has

applied for necessary permits before any feasibility

studies commence; a $50,000 deposit if the Transmission

Docket No. RM02-1-000     -13-

Provider is asked to proceed with a System Impact Study

(with any amount over the actual study costs

refundable); and a $100,000 if the Transmission

Provider is asked to proceed with a Facilities Study

(with any amount over the actual study costs

refundable).

6    Generator Siting

Transmission Providers will post on their web site

what, in their view, are the optimal and non-optimal

sites on their system for locating prospective

generating facilities.   Transmission Providers need to

identify areas where, for example, due to load growth,

siting would require minimal network upgrades.  Also,

the Transmission Provider should identify areas where,

for example, due to transmission constraints,

significant network upgrades would be required, and the

expected delay before such upgrades will be made.

7.   Project Time lines

The time lines associated with the construction of both

Generator's and Transmission Provider's interconnection

facilities must be the same.   At the Transmission

Provider's option, System Impact Studies may be

conducted in response to individual requests or,

alternatively, all requests received may be studied

jointly every six months (e.g., June 30th and December

31st) during the year.   If the latter approach is

taken, the study completion date would become 90 days

after the joint study commencement date.

Review Interconnection Request

and Acknowledgment:           Within 5 business days

Perform Initial Feasibility Study:      Within 30

business days

of receipt of

acknowledgment

of request

System Impact Study Agreement

Tendered to Generator:             Within 15 days of

completed study

Executed System Impact

Study Agreement:                   Within 15 business

days of receipt of

System Impact Study

Agreement

Docket No. RM02-1-000     -14-

Completed System Impact Study:          Within 60 days

of receipt of

Executed   8

Agreement

Facilities Study Agreement

Tendered to Generator:             Within 30 days of

completed System

Impact Study

Executed Facilities Study

Agreement Filed:                   Within 15 days of

receipt of

Facilities Study

Agreement

Perform Facilities Study:               Within 60 days

of receipt of

Executed

Agreement

Execute or Request Filing of

Unexecuted Interconnection

Agreement:                    Within 30 days of receipt

of Facilities Study

8

Applies only if Transmission Provider elects to conduct

studies on an individual basis.

Docket No. RM02-1-000     -15-

Attachment B

PRICING

1.   Interconnection Facilities:   Direct Assignment

Interconnection Facilities are defined as all

facilities needed to establish the direct electrical

interconnection between the Generator's facility and

the Transmission Provider's network.   The Generator is

obligated to pay for 100 percent of the cost of all the

interconnection facilities.

2.   Network Facilities

Network Facilities are defined as all facilities from

the point where the generator connects to the grid,

including facilities necessary to remedy short-circuit

and stability problems.   As discussed further below,

the costs of these facilities will be borne initially

by the Generator and will be credited back to the

generator that funded them (including the time value of

money) through payments for transmission service.

3.   Credits to Follow Transmission Service

In general, the Generator will be required to pay up

front for any network upgrades that would not be needed

"but for" the interconnecting customer.  Generators

will then be entitled to a credit, to be applied

through future transmission rates, for any such costs

that they are required to bear.  The transmission rates

through which this credit will be applied will include

rates for all transmission service utilized by the

Generator after the date of the interconnection.  Such

service will include not only new point to point

service taken by the Generator from the location of its

new facility, but also any other transmission service

taken by that Generator from the Transmission Provider.

In addition, the credit will be applied to the rates

for any transmission service, including both point to

point and network service, used by loads to deliver the

output of the new facility to their location.

4.   Time Value for Network Upgrade Costs

Docket No. RM02-1-000     -16-

Generators will be entitled to receive interest on the

outstanding balance of network upgrade costs that they

are required to bear.  Interest will be calculated

annually consistent with 18 CFR § 35.19a(a)(2) of the

Commission's Regulations.

THE ERCOT STANDARD GENERATION INTERCONNECTION AGREEMENT IS

AVAILABLE IN THE PUBLIC REFERENCE ROOM AND RIMS.