BEFORE THE PUBLIC UTILITIES COMMISSION OF THE
STATE OF CALIFORNIA

| Order Instituting Investigation Into Implementation of Assembly Bill 970 Regarding the Identification of Electric Transmission and Distribution Constraints, and Related Matters Affecting the Reliability of Electric Supply. | ))))))) | I.00-11-001 (Filed November 2, 2000) |
| --- | --- | --- |

STATEMENT OF SOUTHERN CALIFORNIA EDISON COMPANY (U 338-E) on PHASE 2 TRANSMISSION PROJECTS

MEGAN SCOTT-KAKURES

MICHAEL D. MONTOYA

JENNIFER R. HASBROUCK

Attorneys for
SOUTHERN CALIFORNIA EDISON COMPANY

2244 Walnut Grove Avenue
Post Office Box 800
Rosemead, California  91770

Telephone:	(626) 302-6057

Facsimile:	(626) 302-2050

E-mail:	mike.montoya@sce.com

Dated:  March 20, 2001

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE
STATE OF CALIFORNIA

| Order Instituting Investigation Into Implementation of Assembly Bill 970 Regarding the Identification of Electric Transmission and Distribution Constraints, and Related Matters Affecting the Reliability of Electric Supply. | ))))))) | I.00-11-001 (Filed November 2, 2000) |
| --- | --- | --- |

STATEMENT OF SOUTHERN CALIFORNIA EDISON COMPANY (U 338-E) on PHASE 2 TRANSMISSION PROJECTS

Pursuant to the direction of Administrative Law Judge Meg Gottstein at the March 13, 2001 prehearing conference, SCE submits the following statements and recommendations on Phase 2 of the subject proceeding.

Phase 2 Topics

SCE recommends the following Phase 2 transmission topics in order of priority:

- Valley – Rainbow

- Path 15

- Palos Verde – San Diego

- Path 26. /

### Tehachapi 230 kV line

In its Prehearing Conference Statement, Ridgetop, LLC (“Ridgetop”) urged that consideration be given to a new 220 kV line for the Tehachapi area to accommodate an additional 1000 MW of new wind generation.  While SCE appreciates that generation conditions in the future may necessitate the need for additional transmission capacity in the Tehachapi area, at this point in time, it is too speculative to warrant a focus in this proceeding.  ALJ Gottstein indicated at the prehearing conference that the immediate focus of Phase 2 should be on facilitating the CPCN process and not on vague considerations.

SCE has not received any indication, other than Ridgetop’s unverified statements in this proceeding, that there is 1000 MW of generation ready willing and able to come on line in the near future.  From a study standpoint, the wind generators need to take the lead on a study plan for this area.  Before a transmission study should take place, the wind generators need to present details on the locations of the wind machines, the date the wind machines would go on line, and the electrical characteristics of each of the machines./  Moreover, the generators must show that they have the economic and financing capability to build the wind machines, the lower voltage collector/subtransmission system and a new 220 kV transmission project.  After the generation scenarios are completed and look attractive/competitive, then consideration of a new transmission line might be warranted.

Respectfully submitted,

MEGAN SCOTT-KAKURES

MICHAEL D. MONTOYA

JENNIFER R. HASBROUCK

| By: | Michael D. Montoya |
| --- | --- |

Attorneys for
SOUTHERN CALIFORNIA EDISON COMPANY

March 20, 2001

Docket Clerk
California Public Utilities Commission
505 Van Ness Avenue
San Francisco, California  94102

Re:  i.00-11-001

Dear Docket Clerk:

Enclosed for filing with the Commission are the original and five copies of the STATEMENT OF SOUTHERN CALIFORNIA EDISON COMPANY (U 338-E) ON PHASE 2 TRANSMISSION PROJECT in the above-referenced proceeding.

We request that a copy of this document be file-stamped and returned for our records.  A self-addressed, stamped envelope is enclosed for your convenience.

Your courtesy in this matter is appreciated.

Very truly yours,

Michael D. Montoya

MDM:dyt:LW010780017

Enclosures

cc:		All Parties of Record

(U 338-E)

ALJ Meg Gottstein (via overnight mail)

CERTIFICATE OF SERVICE

I hereby certify that, pursuant to the Commission’s Rules of Practice and Procedure, I have this day served a true copy of STATEMENT OF SOUTHERN CALIFORNIA EDISON COMPANY (U 338-E) ON PHASE 2 TRANSMISSION PROJECT on all parties identified on the attached service list.  Service was effected by means indicated below:

Placing the copies in properly addressed sealed envelopes and depositing such envelopes in the United States mail with first-class postage prepaid (Via First Class Mail);

Placing the copies in sealed envelopes and causing such envelopes to be delivered by hand to the offices of each addressee (Via Courier);

Transmitting the copies via facsimile, modem, or other electronic means (Via Electronic Means).

Executed this 20th day of  March, 2001, at Rosemead, California.

______________________________________________
Susan Quon
Project Analyst
SOUTHERN CALIFORNIA EDISON COMPANY

2244 Walnut Grove Avenue

Post Office Box 800

Rosemead, California  91770

ATTACHMENT A

/	This topic may be inappropriate for inclusion as the ALJ indicated at the prehearing conference that the Commission is primarily interested in projects that require an application for a Certificate of Public Convenience and Necessity (CPCN).  Preliminary indications suggest that this project may only require the upgrading of existing substation equipment for SCE facilities.  PG&E, however, may need to reconductor their half of the path.

/	A copy of the necessary detailed wind-machine data requirements is included as Attachment A.  As pointed out at the prehearing conference, SCE has an obligation to interconnect new generation and provide wholesale distribution service pursuant to its Transmission Owner Tariff and its Wholesale Distribution Access Tariff (“Tariffs”).  Pursuant to the Tariffs, the party requesting interconnection is responsible for submitting an application for service, providing SCE project specific information, as well as, the technical data required for SCE to perform the interconnection studies, and payment for such interconnection studies.  The interconnection studies performed by SCE determine the impacts of the proposed generation project to SCE’s electrical system, and the necessary interconnection facilities and system upgrades required to connect the project to the grid.  The costs of such interconnection facilities and associated system upgrades are the responsibility of the interconnector.