December 10, 2001

TO:		Vermont Yankee Stakeholders

FROM:	Bobbi Kilburn – Treasury and Risk Administrator

SUBJECT:  	Vermont Yankee Notification (UPDATE)

Due to the fuel leak that was recently identified; the plant will be doing some testing to try to identify the fuel bundle that is leaking.  On December 4, 2001 I sent out a schedule that we utilized beginning Thursday, 12/6/01 through the weekend.  That schedule has been modified.  The information below is a forecast from Monday, December 10, 2001 to Thursday, December 13, 2001:

| Date | Timeframe | Power Output | Explanation |
| --- | --- | --- | --- |
| Mon., 12/10/01 | 1300 | 96% | Plant output reached 96% at approx. 1300 hours. |
| Mon. 12/10/01-Tues., 12/11/01 | 1300 – 0030 | 96% | Plant will remain at 96% power. |
| Tues., 12/11/01 | 0030-0100 | - | Plant output will decrease to 85% power. |
| Tues., 12/11/01 | 0100-0130 | 85% | Control Rod Exercise |
| Tues., 12/11/01 | 0130-0200 | - | Plant output will decrease to 65% and ramp up to 100% during the next 32 hours. |
| Tues., 12/11/01 | 0200-2400 | - | Continue to ramp up to 100%. |
| Wed., 12/12/01 | 0100-1200 | - | Continue to ramp up to 100%. |
| Wed., 12/12/01 | 1200-1900 | 100% | Plant will remain at 100% until 1900 12/12/01. |
| Wed., 12/12/01 | 1900-1930 | - | Plant output will decrease to 90% to pull control rods. |
| Wed., 12/12/01 | 1930-2400 | - | Plant will continue to ramp up to 100%. |
| Thurs., 12/13/01 | 0100-0600 | - | Plant will continue to ramp up to 100%. |
| Thurs., 12/13/01 | 0600 | 100% | Plant will maintain 100%. |

This schedule is based on a forecast and is subject to change without any prior notice.  Due to the complexity of this schedule please do not hesitate to contact me at (802) 258-4120 should you have any questions and/or concerns.