Enron Gas Deal Procedure

# For a Wednesday On-Peak Power Day -

| Step | New York Time | Task | Person Responsible |
| --- | --- | --- | --- |
| 1 | Monday before 12:00 Noon | Independence provides AOG the following bid data: Plant hourly output with gas cutback DAM/NMPC/NYISO RT amounts Heat rate data for the 570 MW Startup Cost Variable O&M Cost End points for block bid structure Variable gas transportation charges | Independence |
| 2 | Monday by 4:00 PM | Enron provides estimate of gas price for Wednesday on-peak purchases (7 AM – 11 PM) plus startup time. Form confirming quote is e-mailed to Sithe. | Enron will call AOG (Janine) (See Confirm Form) |
| 3 | Monday after 4:00 PM | AOG develops and submits DAM bids in accordance to Attachment A) | AOG (Sam) |
| 4 | Tuesday starting at 9:30 AM & every 30 minutes until 11:30 AM cutoff. | DAM closes by 11:00 AM. AOG begins at 9:30 AM and checks every 30 minutes until DAM dispatch has been posted. AOG downloads data and determines if plant is dispatched on. AOG calls Enron (see confirm form) with gas estimate by gas day and sends DAM schedule to Independence. When providing the estimate to Enron, specify “Estimate” and read off the “Yellow Data” from the confirmation form. | AOG (Sam) |
| 5 | Tuesday by noon or as early as reasonably practicable | If the NYISO dispatches the 570 MW in DAM, Independence calculates the additional fuel requirements (hourly fuel requirements including startup and shutdown fuel). Send info to AOG. | Independence |
| 6 | Tuesday by noon or as early as reasonably practicable | AOG calls Enron (see confirm form) with the “Final Volumes” required for the on-peak dispatch. Final gas information by gas day is provided to Enron based on the procedures on the confirmation form. AOG must talk to somebody and not just leave message. When providing the final volumes to Enron, specify “Final” and read off the “Yellow Data” from the confirmation form. AOG adds the hourly dispatch information to the confirmation form and e-mails the revised form back to Enron. | AOG (Janine) |
| 7 | Tuesday afternoon | Enron requests IT transportation discounts, if applicable, and schedules fuel deliveries based on the hourly gas schedule by gas day provided by AOG to Independence Station for Wednesday on-peak power day all the way to burner tip. Enron updates the final information on the confirmation form and e-mails the final confirmation to Sithe. | Enron (See Confirm Form) |
| 8 | Tuesday afternoon | AOG submits Wednesday’s RT bid for Independence. The hourly upper operating limit in the RT bid is lowered to match the DAM schedule to prevent the NYISO from dispatching the plant beyond the DAM schedule. Entire plant, subject to the upper operating limit, is bid in at zero. | AOG (Sam) |

For Mondays and Tuesdays, steps 1 through 3 will take place on the Friday before.

Special Procedures may be put in-place when conditions warrant changes.