Comparison of Locational Marginal Pricing (LMP) Congestion Management (CM) Schemes

|  | Nodal | Zonal | Flow-based |
| --- | --- | --- | --- |
| Objectives of CM |  |  |  |
| Theoretical Efficiency | Sound in theory. In practice, dependent on software and input assumptions. (i.e., assumptions and judgement "in the control room"). | Efficient to the extent of aggregation error (determined at design stage). | Efficient forward market pricing, overall efficiency dependent on combined efficiency of forward and real-time energy markets and selection of flowgates. |
| Implementation | Centralization costly. Most suitable for ‘tight’ pools such as PJM, NY and NE or to RTOs with few control areas. | Easier implementation in large RTOs with multiple control areas. Challenge lies in zone definition and flowgate selection at design stage. | Selection criteria required for ‘commercially significant’ flowgates. Provides basis for “seam” management between RTOs. |
| Bilateral Market Activity | Complexity, price unpredictability/ unmanageability, and time required to calculate prices are barriers to entry and trading. Discourages bilateral trading. | Encourages bilateral trading, Market participants set price of transmission based on expected values. | Encourages bilateral trading, Market participants set price of transmission based on expected values. |
| Equity | Can lead to inequitable outcomes at a local level (e.g., factor of 10 difference in prices in same substation in PJM due to different voltage level or price differentials based solely on definition of system components as in Delmarva); consumers pay the price for operator decisions (e.g., deferred investments and arbitrary prices when model won’t solve). | Equitable in the absence of significant, unanticipated intra-zonal congestion (which can be mitigated by adding new zones or flowgates). | Equitable in the absence of significant congestion on non-tradable transmission elements (which can be mitigated by adding new flowgates). |

|  | Nodal | Zonal | Flow-based |
| --- | --- | --- | --- |
| Objectives of CM |  |  |  |
| Cost Allocation | Accurate, within limits of assumptions; finest level of system detail (granularity). May unnecessarily penalize loads for localized transmission problems. | Accurate with market-defined zones and constraint selection. | Accurate with appropriate flowgate selection. |
| Future Investment | Provides correct signals for generation, deters creation of ‘local’ congestion. Little incentive for transmission investment. | Provides correct signals for generation, but with less spatial specificity (greater granularity). TransCo can be designed to have incentive for transmission investment (e.g., take on risk/ reward of intra-zonal congestion management). | Provides correct signals for generation, but with less spatial specificity (greater granularity). TransCo can be designed to have incentive for transmission investment (e.g., take on risk/reward of intra-zonal congestion management). |
| Retail Access | Complexity and ex-post pricing hinders retail participation. | Effective, because of ex-ante, market-based pricing and limited pricing areas. | Effective, because of ex ante, market-based pricing and limited pricing areas. |
| Methodology |  |  |  |
| Transmission Property Rights |  |  |  |
| Definition | Financial Rights, defined point-to-point. No flow guarantee, but hedge against resulting price difference between nodes. Obligation to pay if congestion reverses. Physical rights would not be easily definable in a nodal system. | Implementable with physical and financial rights - proposed mostly with physical rights - defined for "commercially significant" constraints only. These define the boundaries between the zones. | Implementable with physical and financial rights - proposed mostly with physical rights - defined for "commercially significant" constraints only. |
| Nomenclature | FTRs (Fixed Transmission Rights) in PJM, (Transmission Congestion Contracts) TCCs in New York, (Financial Congestion Rights) FCRs in NEPOOL. | (Firm Transmission Rights) FTRs in California and in Mountain West ISA. | PTRs (Physical Transmission Rights) in the Flow-based model, Firm Transmission Rights (FTRs) in the Northwest RTO. |

|  | Nodal | Zonal | Flow-based |
| --- | --- | --- | --- |
| Capacity Release | Periodic auctions, capacity released based on auction bids. Auction requires OPF model. Rights can theoretically be traded in secondary markets, though transfers require RTO intervention in NY and PJM, and location-specificity hinders trading. In PJM, quantity-based rationing provides incentives to hoard FTRs. | Periodic auctions on chosen paths based on simultaneous transfer limits. Incremental capacity released continuously into bilateral market. Independently operated exchange allows for continuously cleared bilateral, secondary market for capacity. | Periodic auctions on “commercially significant” flowgates based on individual flowgate transfer limits. Independently operated exchange allows for continuously cleared bilateral, secondary market for capacity. |
| Updating of Nodes or Zones | In theory all nodes are defined at the time of system design. In practice in PJM additional facilities are turned over to IO at request of transmission owners that results in significant unanticipated and permanent price differentials. | Zonal boundaries are defined to occur at commercially significant constraints. Definitions are reviewed annually (or more frequently) as a step in the annual reallocation / auction process. | Flowgates for allocation or auction are defined to be those that are “commercially significant.” Definitions are reviewed annually (or more frequently) as a step in the annual reallocation / auction process. |
| Handling Loop Flows (within RTO) | Internalized into Optimal Power Flow (OPF). | Handled by defining capacity rights using simultaneously feasible flow limits and requiring zone-to-zone purchases to purchase rights on flowgates in accordance with NERC distribution factor-based flow contributions (for e.g., as a bundled package) | Handled by requiring transactions to purchase flowgate rights based on contribution of transactions to flows on each flowgate (NERC distribution factors). |
| Handling Loop Flows (outside RTO) | Ignores external effects in current implementations. No proven way to synchronize nodal prices or trade congestion rights between RTO’s who have separate optimizations. | Physical rights can be traded at interfaces between RTOs. | Flowgate capacity in adjacent RTOs is required to permit schedules that have significant impact in those RTOs to address external effects of schedules. |

|  | Nodal | Zonal | Flow-based |
| --- | --- | --- | --- |
| Market Operation |  |  |  |
| Payment | Payments made to RTO in auctions. Revenues distributed to reduce fixed charges. In PJM, FTRs are allocated to load in complex, rule-based system that effectively grandfathers existing LSEs. In secondary markets, financial transaction is purely bilateral. | Payments made to RTO in initial auctions. Revenues distributed to reduce fixed charges. Thereafter, transactions purely bilateral, based on market prices, not cost. | Payments made to RTO in initial auctions. Revenues distributed to reduce fixed charges. Thereafter, transactions purely bilateral, based on market prices, not cost. Capacity purchased based on transaction flow contributions to flowgates. |
| Energy Price Calculation | Calculated by RTO ex-post in all markets (real-time and forward) using OPFs at nodal level. Can create hubs (e.g., PJM Western Hub) or have zonal prices for loads (some form of weighted average nodal prices, as in NY). Time required to solve optimization precludes continuously clearing forward markets. | Bilaterally-determined ex-ante and continuously in forward markets. In real time, derived from zonal inc. and dec. bid stacks in the balancing market. Zones determined in several ways: - In radial systems, based on flowgate locations; - In complex grids, based on either distribution factor- or nodal price-clustering. | Bilaterally-determined ex-ante in the forward markets. In real time, method may be implemented with either nodal or zonal prices as described in adjoining columns. |
| Market Operation |  |  |  |
| Bid Structure | Three-part bid (start-up, min. gen, and energy) or one-part bid is used in scheduling time frame (day ahead). In real-time uses energy and ancillary service bids from day-ahead/hour-ahead markets to balance system. | No restriction in forward markets, since markets are bilateral. In real-time, use ancillary service bids and supplemental energy inc. and dec. bids for balancing. | No restriction in forward markets, since markets are bilateral. In real-time, use ancillary service bids and supplemental energy inc. and dec. bids for balancing. |

|  | Nodal | Zonal | Flow-based |
| --- | --- | --- | --- |
| Market Operation |  |  |  |
| Forward Markets | - Transmission: secondary market for FTRs - liquidity an issue, given complexity and non-fungible products. Transfer of FTRs requires RTO involvement. - Energy: Centralized, designated markets (day-ahead, hourly) cleared by RTO using bid-based OPF, no requirement to balance schedules. | - Transmission: Bilateral forward markets available and continuously clearing for commercially significant transmission paths; assures liquid market. - Energy, transmission and ancillary services traded in exchanges (e.g., CA PX) where products are continuously traded and cleared bilaterally up until real-time (however defined). Balanced schedules required to be submitted to dispatcher. | - Transmission: Bilateral forward markets available and continuously clearing for commercially significant transmission paths; assures liquid market. - Energy, transmission and ancillary services traded in exchanges (e.g., CA PX) where products are continuously traded and cleared bilaterally up until real-time (however defined). Balanced schedules required to be submitted to dispatcher. |
| Bilateral Activity (energy) | Use contracts for differences (CfDs) against pool prices; bid zero or negative into pool to ensure delivery. - Price and FTR complexity can limit liquidity of bilateral trades for delivery - NY and PJM show poor liquidity of contracts for delivery and much difficulty with wheels, imports, and exports. | Dominant transaction form continuously traded in independent exchanges. Market simplicity (price and transmission rights) enables high liquidity. | Dominant transaction form continuously traded in independent exchanges. Market simplicity (price and transmission rights) enables high liquidity. |
| Real-time Balancing Market/ Dispatch | Centralized RTO performs real-time security-constrained dispatch, restrictions on external schedules only, deep, liquid spot market. In NY, real-time prices revised up to 2 weeks ex post. | Control area-level or centralized dispatch. Former requires coordination mechanisms among control areas. Real-time market only for balancing. | Dispatch can be at the RTO- or control area-level. Real-time market only for balancing. |

|  | Nodal | Zonal | Flow-based |
| --- | --- | --- | --- |
| System Expansion |  |  |  |
| Siting New Generation | Provides correct price signals for generation, deters creation of ‘local’ congestion. | Provides correct signals for generation, but with possibility of increased ‘local’ congestion. | Provides correct price signals for generation. Potential for ‘local’ congestion dependent on use of nodal vs. zonal real-time pricing. |
| Transmission Planning | Little incentive for transmission investment. | Transco can be designed to have incentive for transmission investment (e.g., take on risk/ reward of intra-zonal congestion management). | Transco can be designed to have incentive for transmission investment (e.g., take on risk/reward of intra-zonal congestion management). |
| FERC Objectives |  |  |  |
| 12 RTO Principles | Conforms with all characteristics and functional requirements. | Conforms with all characteristics and functional requirements. | Conforms with all characteristics and functional requirements. |
| Institutional Structure |  |  |  |
| RTO Role in Forward Markets |  |  |  |
| Transmission | - Controls and manages market for FTRs including capacity release, auction and secondary market. - Manages single OASIS site. | - Defines and releases transmission capacity in auctions. - Manages single OASIS site. | - Defines and releases transmission capacity in auctions. - Manages single OASIS site. |
| Energy | Controlling Involvement: - Controls and operates energy market for all settlement periods. | Minimal: - No involvement in energy market, except for real-time balancing. | Minimal: - No involvement in energy market, except for real-time balancing. |
| Ancillary Services | Offers all ancillary services, and serves as provider of last resort. Depending on implementation, may offer ancillary services market (reserves and frequency control) separate from or combined with energy market. | - Calculates and posts ancillary service (reserves) and loss requirements. - May purchase ‘call’ contracts in forward markets - Provider of last resort | - Calculates and posts ancillary service (reserves) and loss requirements. - May purchase ‘call’ contracts in forward markets - Provider of last resort |

|  | Nodal | Zonal | Flow-based |
| --- | --- | --- | --- |
| RTO Role in Real-time | RTO performs: - Scheduling, system control and dispatch - Reactive supply and voltage support - Regulation and frequency response - Energy imbalance service - Spinning reserve - Supplemental reserve | Implementation dependent - In decentralized (multiple control area) dispatch, RTO provides: - Information for scheduling to separate control area dispatchers – coordination function. - Balancing market for RTO areas Control area dispatchers perform all other ancillary services. In centralized dispatch, all ancillary services performed by RTO. | Role dependent upon the manner in which real-time operations are implemented. |
| RTO Structure | Typically not-for profit ISO. For-profit TransCo possible, but serious conflict of interest issues arise due to operation of energy market and the transmission system. | Can be an ISO or a for-profit Transco. | Can be an ISO or a for-profit Transco. |
| Market Experience |  |  |  |
|  | PJM - 4/1/98 NY ISO - 11/18/99 (load-zonal) New England (under development) New Zealand (no FTRs) Peru Argentina Bolivia Chile Mexico (proposed) UK - (abandoning centralized approach in '00) | California - 4/1/98 (zonal-financial) Mountain West ISA (proposed zonal) Desert Star - (proposed flowgate/ zonal) Australia (state-based zones) Norway (dynamic zones) ERCOT - (proposed flowgate/zonal) | Desert Star - (proposed flowgate/ zonal) ERCOT - (proposed flowgate/zonal) Northwest RTO (proposed flowgate/ zonal) |

Acronyms:

FTR: Financial Transmission Right, Firm Transmission Right

CA PX: California Power Exchange

ISO: Independent System Operator

ISA: Independent Scheduling Administrator

RTO: Regional Transmission Operator

OPF: Optimal Power Flow

CfD: Contract for Differences

Definition:

Granularity:  The level of detail captured in the pricing / modeling structure.  Nodal systems such as PJM and New York have a higher level of granularity – are more fine grained – than are zonal systems, such as California.