Docket No. 23220

Technical Conference

January 19, 2001

Additional PUC Staff Selected Questions

The following includes some of the questions raised by Dr. Oren regarding the ERCOT Protocols:

- Clarify the mechanisms that will discourage QSEs from balancing their schedule by submitting fictitious load.

- In section 4.4.10 QSEs have an incentive to create congestion or capacity shortage so as to allow schedule updates.  Is there mechanism in place to discourage such behavior?

- Are there restrictions on schedule updates at 13:00 so that CSC or capacity shortages are not worsen?

- Are there two settlement for before and during adjustment periods or do MCPC apply to the entire quantity?

- In section 4.5.9. Is there a separate settlement for additional offers?

- Are the called RMR units counted in the balanced schedules of the QSE?

- Can we think of uncommitted capacity of operating resources as uncompensated replacement reserves capacity?

- Section 6.3.1. (5). In the sequential dispatch is it possible that an offer that was not accepted for up-reg (because of high price) will receive an even higher price in a subsequent round (e.g. responsive reserves)?

- Why not substitute one ancillary service for another? Please explain why avoiding such substitution will not results in inequitable treatment of bids.

- Section 6.4.1 (5). Why ERCOT cannot decrease AS requirement (create asymmetric risk)?

- Section 6.5.2 (7) Please provide example where Merit order of bids and ramp rate may yield a different dispatch than expected MCPE.

- Referring to Balancing Energy Up and Balancing Energy Down bids, please explain Section 6.5.2 (9) with an example.

- In section 6.5.3 (5) Is there a duration requirement on the resources providing RGS or only a start time requirement?

- Section 6.6.1 (5). Referring to the possibility of one QSE to provide AS on behalf of another QSE, doesn’t this reduce market liquidity? [Since ERCOT cannot substitute but QSE can, there may be incentives to bypass market to the detriment of those who buy from market (cream skimming).]

- Section 6.6.3.1. What monitoring criteria have been established to identify price reversals? What will trigger action by ERCOT Board to activate software option?

- Referring to the ERCOT Responses to selected questions raised by the Commission Staff, Question A 3, ERCOT selects QSE 1 based on the calculated offer price of $4/MW.  (The original offer for this bid was $6/MW Capacity plus $2 per MW hourly, for total of 3 hours.)  However, the actual cost of procuring reserves is based on the whole unit, thus the total cost form selecting QSE 1 is $4/MW  x 120 MW = $480.  Had QSE 2 been selected instead, the total cost would have been $4.25/MW x 100 MW = $425. (The original offer by QSE 2 was $4.50/MW Capacity plus $2.75 per MW hourly, for total of 3 hours.)  Which indicates that replacement reserves costs have not been minimized. Should the algorithm take into account the fact that a whole unit is taken in the minimization of the cost of replacement reserves?

- Section 6.6.3.2.1. (3) Why not allowing hourly offers for capacity?  (Shouldn't managing this type of risk be left to the suppliers of resources?)

- What means are being used to monitor or prevent market participants from profiting by solving local congestion problems that they create through over scheduling?

- Section 6.8.1.1 (1) Explain what is meant by “the highest MCPC of all the procurement processes for that service for Operating Hour.”

- Section 6.8.1.2. Are day ahead and hour ahead prices based on the same bids? Is a multi settlement system being used or is there a single settlement for both day ahead and hour ahead?

- Why are multi round auctions recommended? Instead, why can't we use portfolio bids with simple LP based selection and prices based on shadow prices in LP?

- Who covers difference between actual and commercial cost of congestion?

- Who insures power transfer dispatch factor (PTDF or shift factor) changes? Is real time congestion charges based on commercial or actual PTDFs?

- Are there any measures taken to prevent overuse of balancing market (for example one can assign capacity component of replacement reserves cost only to imbalances)?

- Section 6.8.1.12. Why not pay capacity payment to interruptible load even when not dispatched (call option premium) to make it symmetric with unused but chosen replacement reserves?

- Section 6.10.5.2. Is there a mechanism to monitor or prevent “overscheduling” with the intention to profit from manufactured congestion?

- Section 7.5.4.3. Is there any interim mechanism to hedge congestion if zonal prices are activated before TCRs are introduced?