Rev. 2/00

# PROPOSED DELIVERY INTERCONNECT DATA SHEET

This completed Data Sheet will be the basis for Transco to determine the Scope of Work and the related Cost Estimate for the proposed facility.  When Customer agrees to the scope and estimated cost of the project, then an Interconnect Agreement is executed and submitted with a Prepayment, if applicable.  Only then will Transco proceed with engineering design, filing a Prior Notice application with FERC, acquiring a site, surveying, applying for permits and clearances, procuring materials, bidding and constructing.  GENERALLY, the entire process from receipt of an executed Agreement to in-service of facilities takes from six to twelve months to complete, depending upon the scope of work, site acquisition, permits and clearances, and long delivery materials.  Significant changes in the Scope after project authorization will affect the Estimate and schedule as well.

Directions for completing this form on a computer:

Use MS Word 97 or later version.  SINCE THE “FORMS” FEATURE FOR MS WORD HAS LIMITATIONS, PLEASE FOLLOW THESE INSTRUCTIONS CAREFULLY TO MINIMIZE ERRORS OR CORRUPTION OF THE FORM.  (1) Fill in the blanks on the form, which are indicated as lightly shaded BLANK areas, while the form is a “Protected Document”, i.e. no changes are allowed except in the shaded blank areas.  Move forward to the next blank on the form by pressing the “Tab” key and backward to the previous blank by pressing the “Shift + Tab” keys.  Check boxes, which have a shaded “box” preceding a “Yes”, “No” or multiple choice response, should be completed by entering an “x” at the appropriate answer.  To revise or correct a response, press the “Escape” key and then enter the correct response.  (2) When the blanks are completed, unprotect the form to enable the automatic calculation feature by going to the toolbar and selecting “Tools” and “Unprotect Document”.  Go to the first cell which has automatic calculation (Table 1, Line 6) and is indicated by a “0” in the shaded cell, and place the cursor over the “0” and press Function Key F9 to automatically calculate the underlying equation.  (3) Continue to the next  auto-calculate cell  by pressing  the “Tab” key and then “F9” each time.  (4) When completed, protect the document by selecting “Tools” and “Protect Document”.  (5) Save the form as a document with “.doc” file extension.

To complete the form by hand, fill in the blanks, including the cells which have underlying equations.

PART I:   CUSTOMER NAME AND CONTACTS

| Full name of Customer, Shipper or Local Distribution Company (LDC), all referred to herein as "Customer": |  |  |
| --- | --- | --- |
| Athens Development Company, L.L.C. |  |  |
| Address: 1400 Smith Street Houston, Tx 77002 |  |  |
| Business Contact Name:John Hodge |  | Phone: 713-853-7276 |
| Fax No. 713-646-8453 | Cellular Phone: 713-825-6281 | e-mail address: John.Hodge@Enron.com |
| Engineering or Technical Contact: |  | Phone: |
| Phone: | Cellular Phone: | e-mail address: |

## PART II:   CUSTOMER’S FACILITY DESCRIPTION

This request is for (A) a new interconnect or (B) expansion/modification of an existing interconnect

If (B), what is the name of the existing interconnect?

If (B), can the facility be out of service for the duration of construction (assume 3 months)? Yes, No

If “No”, how many days can it be out of service? What time period is best for the outage?

Brief description of Customer's existing system, proposed facilities and use: Power Generation Plant

Specify whether delivery will be Firm Transportation (FT), Released Capacity or Interruptible Transportation (IT).

## PART III:   FLOW RATE PROFILE

To ensure that measurement facilities are appropriately designed for the full range of anticipated flow, please provide hourly flow RATES.  Where minimum hourly flow rate is requested below, Minimum Flow is the lowest sustained hourly flow rate other than “no flow” or “0”; for power generation facilities, it occurs while there is no power generation, yet minimal gas is delivered for plant utilities and for any heaters prior to operating the combustion turbines.

Abbreviations and conversion factors:

Mscfh = 1,000 scfh (@ 14.73 psia pressure base, 60 F temp. base);  MMcfd = 1,000,000 scf per day

1,030 BTU/scf, i.e. 1.03 MMBTU/hr = 1.03 dt/hr = 1 Mscfh, OR MMBTU/hr  1.03 = Mscfh

where MMBTU = 1,000,000 BTU and dt = dekatherm

Specify TBD for “To Be Determined”, NA for “Not Applicable”, NR for “Not Required”

NOTE:  For Future Phases, enter incremental values to the previous Phase.

GENERAL The deliveries will be for (check all that apply):

LDC or City Gate (residential, commercial) – (Complete Table 1 below), Direct, Industrial Load or Electric Power Generation – (Complete Table 2 below)

Deliveries will generally be Constant year round (base load), summer peaking, winter peaking, standby/alternate delivery point for city gate/LDC, or Other (specify)

| ##### TABLE 1 – FLOW RATE PROFILE FOR LDC OR CITY GATE |  |  |  |
| --- | --- | --- | --- |
|  | Initial – Phase 1 | Future – Phase 2 | Total |
| ## Peak Season |  |  |  |
| 1. In-service Date (m/d/yy) |  |  |  |
| 2. Annual Peaking occurs from (m/d – m/d) |  | Same |  |
| 3. Peak Days – no. days per year |  |  |  |
| 4. No. of hours peaking during each peak day |  |  |  |
| 5. Peak Hourly Flow QPeak on Peak Day (Mscfh)8 |  |  | 0 |
| 6. Convert QPeak to Daily Rate (24 x Mscfh/1000 = MMcfd) | 0.0 | 0.0 | 0.0 |
| ## 7. Minimum (Nighttime) Hourly Flow QPeakMin on Peak Day (Mscfh) |  |  |  |
| 8. Convert QPeakMin to Daily Rate (24 x Mscfh/1000 = MMcfd) | 0.0 | 0.0 |  |
| ## Off-Peak Season (Period other than above Peak Season) |  |  |  |
| 9. Max. Hourly Flow QMax on Non Peak Day (Mscfh)14 |  |  | 0 |
| 10. Convert QMax to Daily Rate (24 x Mscfh/1000 = MMcfd) | 0.0 | 0.0 | 0.0 |
| 11.Min. Hourly Flow (> 0) QMin on Non-Peak Day (Mscfh) |  |  |  |
| 12. Convert QMin to Daily Rate (24 x Mscfh/1000 = MMcfd) | 0.0 | 0.0 |  |

| # TABLE 2 – FLOW RATE PROFILE FOR # INDUSTRIALS AND POWER GENERATION PLANTS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Make and Model of Combustion Turbines (CTs) | GE 7FA |  |  |  |
|  | Initial – Phase 1 | Future – Phase 2 | Future – Phase 3 | Total |
| ##### Combustion Turbines for Power Generation |  |  |  |  |
| 1. No. CTs Installed5 | 2 |  |  | 0 |
| 2. In-service Date, incl. Eqmt Testing (mm/dd/yy) | 5/1/03 |  |  |  |
| 3. Annual Peaking occurs from (mm/dd – mm/dd) |  | Same | Same |  |
| 4. Peak Days – no. days per year |  |  |  |  |
| 5. No. of hours peaking during each peak day |  |  |  |  |
| 6. MW Rating of each CT unit (MW) | 180 |  |  | 0 |
| 7. What is the fewest no. of CTs which could be operating for a sustained period of several hours or more? | 1 | Same | Same | Same |
| ## Fuel Rate during Peak CT Operation |  |  |  |  |
| 8. Hourly Fuel Rate per CT @ 100% load (dt/hr = MMBTU/hr)13 |  |  |  |  |
| 9. Fuel Gas per CT @ 100% load (Mscfh) (#8 1.03) | 0.0 | 0.0 | 0.0 |  |
| 10. Peak Fuel Rate QPeak – all CTs @ 100% load (Mscfh) (#1 x #9) | 0.0 | 0.0 | 0.0 | 0.0 |
| Fuel Rate during Off-Peak or Baseload CT Operation |  |  |  |  |
| 11. No. of CTs on-line during off-peak or baseload period | 2 |  |  | 0 |
| 12. Hourly Fuel Rate per CT @ 100% load (dt/hr)19 | 1748 |  |  |  |
| 13. Fuel Gas per CT@ 100% load (Mscfh) (#12 1.03) | 1697.09 | 0.0 | 0.0 |  |
| 14. Total Off-Peak Fuel Rate QOffPeak – (Mscfh) (#11 x #13) | 3394.18 | 0.0 | 0.0 | 3394.18 |
| Fuel Rate during Start-up of the First CT Unit |  |  |  |  |
| 15. Duration of start-up of first CT to 100% load (minutes) | 210 | Same | Same |  |
| 16. Initial rate during firing up of CT (the instant when fuel is first introduced into the CT during start up) QStart (Mscfh) | 525 |  |  |  |
| ##### Heaters for Heating Fuel Gas for the Combustion Turbines |  |  |  |  |
| 17. Will gas fired heaters be used to heat the fuel gas for the CTs? Yes No (If yes, complete the following) |  |  |  |  |
| Heater Fuel Rate during Peak CT Operation |  |  |  |  |
| 18 .No. of Heaters Installed30 |  |  |  | 0 |
| 19. Max. BTU Required per Heater (MMBTU/hr) |  |  |  |  |
| 20. Max. Fuel Rate Req’d per Heater (Mscfh) (#19 1.03) | 0.0 | 0.0 | 0.0 |  |
| 21. Total Heater Fuel QHtrPeak -all Heaters (Mscfh)(#18 x #20) | 0.0 | 0.0 | 0.0 | 0.0 |
| ## Heater Fuel Rate during Off-Peak/Baseload CT Operat’n |  |  |  |  |
| 22. During non-peaking hours (i.e. overnight), will heaters operate at less than 100% (“standby”) load? Yes No |  |  |  |  |
| ## 23. If yes, how many heaters37? |  |  |  | 0 |
| ## 24. Heater Fuel Rate during standby per heater (Mscfh) |  |  |  |  |
| ## 25. Total Heater Fuel Rate QHtrOffPeak during standby (Mscfh) (#23 x #24) | 0 | 0 | 0 | 0 |
| Utility and Other Fuel Gas Consumption (i.e. space heating for bldgs., water heater, etc.) |  |  |  |  |
| 26. Are there “gas utility” requirements other than the CTs and Heaters? Yes No (If Yes, complete the following.) |  |  |  |  |
| 27. Gas for utilities will be required Year-round, 24 hr/d Year-round, daytime only During Peaking season (#3 specified above), daytime only Other (specify) |  |  |  |  |
| ## 28. Minimum Utility Fuel Rate QMinUtl (Mscfh)44 |  |  |  |  |
| ## 29. Maximum Utility Fuel Rate QMaxUtl (Mscfh) |  |  |  |  |
| ##### TOTAL GAS FLOW RATE SUMMARY |  |  |  |  |
| 30. Total Peak Hourly Rate QTotPeak = QPeak + QHtrPeak + QMaxUtl (Mscfh) (#10 + #21 + #29)48 | 0.0 | 0.0 | 0.0 | 0.0 |
| 31. Convert QTotPeak to Daily Rate (24 x Mscfh/1000 = MMcfd) | 0.0 | 0.0 | 0.0 | 0.0 |
| 32. Total Non-Peak Hourly Rate QTotOffPeak = QOffPeak + QHtrOffPeak + QMinUtl (Mscfh) (#14 + #25 + #28)51 | 3394.18 | 0.0 | 0.0 | 3394.18 |
| 33. Convert QTotOffPeak to Daily Rate (24 x Mscfh/1000 = MMcfd) | 81.46 | 0.0 | 0.0 | 81.46 |
| 34. Total Hourly Rate during Start-up, incl. Utilities QTotStart = QStart + QHtrOffPeak QMaxUtl (Mscfh) (#16 + #25 + #29) | 525 | 0 | 0 |  |
| 35. Convert QTotStart to Daily Rate (24 x Mscfh/1000 = MMcfd)55 | 12.6 | 0.0 | 0.0 |  |
| 36. Total Hourly Rate during CT Shutdown– Utility Only QTotShutdown = QMinUtl (Mscfh) (#29) | 0 | 0 | 0 | 0 |
| 37. Convert QTotShutdown to Daily Rate (24 x Mscfh/1000 = MMcfd) | 0.0 | 0.0 | 0.0 | 0.0 |

## PART IV:   DESIGNATION OF RESPONSIBILITIES

As a general rule, Transco recommends that each party design and construct those facilities which it proposes to own, operate and maintain, as indicated in the table below.  In all instances, Transco shall design, construct, own, operate and maintain the tap valve(s) to their pipeline(s) and all custody transfer measurement equipment as indicated below.  If otherwise, please designate "C" for Customer responsibility or "T" for Transco responsibility, "NR"  for Not Required, or "NA" for Not Applicable.

(Customer-owned and operated facilities installed in Transco's yard may be subject to limited review by Transco for (1) compliance with federal codes and industry standards, (2) compliance with Transco's own design and operating requirements, (3) compatibility with Transco's equipment and system operation, and (4) adequate work space and safety for Transco's field operating personnel.  Such review does not constitute that Transco has verified and approved Customer's design calculations for MAOP, wall thickness and yield of materials, pressure drop, gas velocity, sizing of control valves, relief valve sizing, suitability of materials and coating, pipe stress and supports, compliance with all jurisdictional agency directives, regulations and limitations, and the like.)

| Description | Design, Procure Materials, Permits | Con-struct | Own | Oper-ate and Main-tain |
| --- | --- | --- | --- | --- |
| Acquire meter station site | C |  | C |  |
| Obtain clearances for cultural resource, threatened and endangered species, wetlands delineation, etc. for Prior Notice | T |  |  |  |
| Obtain state and local approvals, variances and building permits for zoning, subdivision, conditional use and site plan |  |  |  |  |
| Survey, topography, boundaries/easements, geotechnical |  |  |  |  |
| Site development, clearing, grading, access road, parking, fencing, gravel, landscaping, soil erosion control | C | C | C | C |
| Tap valve(s) and manifold | T | T | T | T |
| Water bath gas heater, if applicable (see Part IV) | C | C | C | C |
| Meter tubes, isolation valves, tubes switching actuator and controls, chromatograph | T | T | T | T |
| Meter station headers, yard piping, building and foundation | T | T | T | T |
| Custody transfer flow computer/RTU, transmitters, phone line, radio or other data communications | T | T | T | T |
| Furnish electric power to site, if required | C | C | C | C |
| Pressure regulation and overpressure monitoring (see part VI) | C | C | C | C |
| Odorization system (storage tank, injection pump, flare) |  |  |  |  |
| Other: |  |  |  |  |

## PART V:   PROPOSED METER STATION LOCATION

The location of the interconnect and tap(s) shall be mutually agreed upon by both parties prior to site acquisition.  Unless otherwise agreed upon by Transco, the meter station site will be located abutting Transco's pipeline Right-of-Way or on Customer’s plant site.  NOTE: Any parcel or tract acquired by Customer for Transco's facilities shall require Customer to provide an exclusive easement to Transco for the installation and operation of its facilities.

| Township, city, county, and state: Clarke County, GA |  |
| --- | --- |
| County road, state or US highway fronting or nearest the site: |  |
| Transco Mainline or Lateral Mile Post (if known): |  |
| Approximate dimensions of site and acreage (if known): 10 acres |  |
| What is the current zoning designation of the site? No zoning |  |
| Brief description of topography, existing condition and use: |  |
| Length of access road to be constructed: |  |
| Distance to nearest utilities: Electric | Telephone |
| Distance of site to Customer's pipeline, plant or facility: |  |
| Please attach a drawing of the site, route of Customer's pipeline, tract size/shape and the nearest highway/road. |  |
| Customer facilities installed on Transco property may require an occupancy agreement. Will Customer occupy a portion of Transco's yard? Yes No If “Yes”, give approximate area required and list what facilities will be installed. |  |

## PART VI:   METER TYPE, CONTINUITY OF SERVICE AND POINT OF OWNERSHIP CHANGE

If ultrasonic meters are determined to be more suitable and cost effective than orifice meters for this interconnect, will Customer accept the use of ultrasonic meters (designed according the AGA Report No. 9) for custody transfer measurement?    Yes    No  If “No”, orifice meters will be proposed.

Does Customer want the meter station and tap designed for  (A) initial flow rate only (i.e. piping and equipment not sized to facilitate future incremental capacity expansion nor space provided for future meter tubes), i.e. not expandable,  (B) initial flow rate for the meters only; ultimate flow rate for yard piping, taps and headers, i.e. phased expansion,  (C) ultimate flow rate for all facilities designed and installed during initial phase.

Occasionally, Transco will temporarily remove a section of the pipeline from service for maintenance, repairs, smart pigging, upgrade and modification, or emergencies.  If Transco has more than one pipeline available, does Customer want a second tap on the second line to minimize service interruptions?  Yes  No

Does Customer desire to have block and bypass valves installed in the meter station yard piping (i.e. station bypass) to continue service if the meter station is temporarily shut in? (This can also facilitate future expansion of the meter station while gas flows through the bypass.)   Yes  No

The tie-in and point of ownership change between Transco and Customer facilities shall be located downstream of Transco's meter station at the underground ANSI 600 RF isolating flange set installed by Transco.  What is Customer's proposed line size, wall thickness and yield strength at the tie-in?  12” Schedule 40 Carbon Steel

## PART VII:   PRESSURE REGULATION, OVERPRESSURE PROTECTION AND GAS HEATING

Transco's Maximum Operating Pressure (MAOP) ranges from 350 psig to 1,300 psig, depending upon the location.  Customer shall be responsible for designing, constructing, owning and operating pressure reduction and overpressure protection facilities capable of receiving gas at Transco’s prevailing pipeline pressure, up to the MAOP.  Transco  prefers that Customer operate, monitor and control their own system pressure, using their own design criteria and material specifications.  Any regulation facility that Transco installs is for the purpose of improving measurement accuracy and will not reduce the inlet pressure by more than one half.

Will Customer  (A) operate its pipeline downstream of the meter station at Transco's pipeline pressure OR  B) install pressure regulation immediately downstream of (and adjacent to) the meter station and before their pipeline?

If (B), what will the reduced or outlet pressure be? 450		   psig	Design pressure: 695		   psig

Customer shall also be responsible for designing, constructing, owning and operating any required water bath gas heater(s).  If the heaters are installed between the tap valve and meter station inlet, then the block and bypass valves to the heaters are installed, owned and operated by Transco.  If the heaters are installed downstream of Transco's meter station and the isolating flange, which designates the point of ownership change, then Customer shall install, own and operate the block and bypass valves.  Any heaters must be located at least 50 feet from all other yard facilities, including the meter building, control building, vessels, and above ground high pressure yard piping.  Fuel gas shall be supplied by the Customer.

Will Customer install heaters at the meter station site?  Yes No  If “Yes”, please complete Questions #17 through #25 in Table 2 above.

Customer shall design the regulator facility and heaters with consideration for minimizing noise and air emissions to comply with local, state and federal regulations and ordinances, and shall be responsible for obtaining any permits, approvals and variances for their equipment.

## PART VIII:   GAS ODORIZATION

If Customer agrees to install, own and operate gas odorization at the meter station OR desires unodorized gas for any reason, Customer must execute a letter of indemnity with Transco relieving Transco from this responsibility.

## PART XI:   ELECTRONIC FLOW MEASUREMENT

Will Customer install electronic flow measurement and monitoring equipment and communications at the meter station?  Yes  No  If “No”, will Customer want to   (A) connect transducers directly onto Transco's meter tubes and feed the inputs to their own flow computer,   (B) receive an instantaneous flow "rate" signal (corrected for temperature and pressure only, but not for BTU or specific gravity) directly from Transco's flow computer (4 - 20 ma), (C) install their own check meter tube piping, instruments and flow computer downstream of Transco's meter station in the same yard, OR (D) other (please specify/describe):

## PART X:   OTHER REMARKS OR SPECIAL REQUIREMENTS

Fuel requirements for GE 7FA on Line 12, Page 3 are for 50 degree F ambient air.  Plants chill air to this temperature.  The fuel requirement changes to 1768 Dth/hr at 44 degrees and 1803 Dth/hr at 32 degrees.  This request includes our acceptance of ultrasonic meters.  Our previous request was for orifice meters.

Prepared by: John Hodge								Date: 4/25/01