Permit to Drill Well

State of Arizona

Regulatory Agency:	Arizona Department of Water Resources

Phone #: 	(602) 417-2465

Permit: 	Drill Card

Permit Application:	Notice of Intention to Drill, Deepen, Replace or Modify a Well (NOI) or

Application for Permit to Drill a Non-Exempt, Non-Service Area Well Within an Active Management Area (Permit)

Application Due Date: NOI – ADWR has 15 days to approve/deny/request additional information

Permit – ADWR has 90 days to approve/deny/request additional information

Permit Fee:	NOI - $10 fee

Permit - $80

Notes:	There are five Active Management Areas (AMAs) in Arizona (Prescott, Pinal, Phoenix, Tucson, Santa Cruz).

Non-AMA – For any well outside of an AMA, applicant must file NOI.  Once approved and drill card issued, applicant has one year from date of NOI submittal to have certified drilling company complete drilling of the well.

AMA – Wells within AMAs are divided into two categories:

- Exempt Wells – well that pumps 35 gallons/minute and 10 acre-feet/year or less.  Follow NOI process.

- Non-Exempt Wells – well that pumps over 35 gallons/minute and/or 10 acre-feet/year.  Prior to permit, applicant must obtain legal water right and ADWR must conduct an impact analysis showing that no nearby wells will be affected.  Once approved and permit and drill card issued, applicant has one year from date of approval to have certified drilling company complete drilling of the well.

Required Information:	Required information is listed in the attached NOI/Application.  Listed below is some of the information required.  Refer to the NOI/Permit Application for a complete list of specific instructions and requirements.

NOI

- Legal description

- Date of construction

- Casing type

- Design pump capacity

- Whether drill site is located near septic tank, sewage disposal area, landfill, hazardous waste facility, etc.

- Drilling Firm

Permit Application (in addition to above)

- Annual volume of water

- Sub-basin of AMA

- Well construction plan

- Method of well development

- Construction diagram

- Water rights

- Impact analysis

Permit to Drill Well

State of New Mexico

Regulatory Agency:	New Mexico Office of the State Engineer

Phone #: 	(505) 827-6120

Permit: 	Permit to Use Underground Waters

Permit Application:	Application for Permit to Use Underground Waters

Application Due Date: Allow one month.

Permit Fee:	$5 fee.

Notes:	Allowed for temporary use, not to exceed 3 acre-feet per year.  For long-term wells, applicant should contact the NM State Engineer’s Office.

Required Information:	Required information is listed in the attached Application.  Listed below is some of the information required.  Refer to the Application for a complete list of specific instructions and requirements.

- Legal description of location of well

- Land owner

- Use of water

- Drilling firm

- Purpose of well