EXECUTIVE SUMMARY REPORT

By Maurice-Xavier Francois

Professor Pierre & Marie CURIE University (Paris)

Director of the Fluid Mechanics Laboratory of the

French National Scientific Research Agency (CNRS)

NXE COGENERATION PROTOTYPE

November 9, 2001

Preliminary statement:

Using data provided by the following activities:

- Tests conducted on the prototype built at the PTC’s plant between June and September 2001

- Validation of various calculations in orders of magnitude of several data points

- A theoretical approach that I may further expand and support

I have verified that the proposal of this executive summary is reasonable within the limits of existing technological tools required to create a level of flow compatible with industrial power generation.

The detailed background data and calculations used to support this executive summary are still in a raw format and would require a very substantial amount of work to be published in a complete “white paper”. Such effort is considered to be part of the development contemplated in this plan.

# INTRODUCTION

Based on the tests conducted on the existing prototype I have made the following findings:

- The existing sensors and gauges were insufficient to determine the overall energy balance of the prototype.

- The latest tests conducted have been used to explore theoretical avenues that did not comply with the initial design using a turbine.

- Because of the above remarks (1) and (2) we have faced certain difficulties in reading the test results regarding heat dissipation created by mechanical effects of the pump.

In addition, I wish to emphasize the extreme difficulty to control a biphasic fluid flow (water-steam), and furthermore there is extreme difficulty to build and calculate a numerical model of the behavior of such biphasic fluid: Indeed, in the case of a liquid-steam fluid generated by a heat supply, we only know the total mass-flow. On the other hand, the respective mass-flow of each individual phase is determined by a very complex balance involving masses, motion quantities, kinetic contributions, pressures, enthalpies and total energy (rather than partial),

The initial design of the prototype rests on the capability to control the behavior of a biphasic liquid in the Reducer-Condenser-Divergent (RCD) unit, which constitutes an ambitious but valuable goal.

Based upon our testing experience, this executive summary has 2 goals:

- Define the directions to be followed by the R&D efforts in order to obtain a zero-pollution power generation unit using an economically attractive and efficient RCD component acting as an “energy-converter” rather than an “energy-creator”

- Establish a clear list of the theoretical exploration domains that may ultimately affect the efficiency of the industrial prototype and need to be further investigated.

### DIRECTIONS FOR FUTURE DEVELOPMENTS

Within the acceptable constraints listed below, I propose to use the properties of water-steam flows to convert heat at low temperatures or slightly above 100-Celsius degrees into power, assuming that the supporting fluid is water. Then, we will use the following components:

- A closed circuit comprising a circulating pump, a RCD unit in which the C-Channel is a condenser (in the latest tests we have used a simple sleeve instead) and a unit generating steam either directly inside the main flow (vaporizer / boiler) or via a deviation re-injected at a controlled flow upstream from the Reducer.

- A heat supply to the biphasic flow will increase the “dynhalpy” of the flow, while maintaining the pressure at a high level in spite of the kinetic energy generated by the reducer.

- A turbine placed downstream from the RCD unit will use the super-pressure so generated and will furnish the electrical power.

### ACCEPTED ASSUMPTIONS

The following assumptions are to be investigated and established from a theoretical standpoint during the upcoming developments. From that standpoint they are strictly speaking “unknowns”, however, based on our past experience we believe that they constitute a reasonable and acceptable platform for future developments:

- The basic assumption rests on the hydrodynamic behavior of the water-steam system in the Reducer. We assume that the biphasic flow is in a state of thermodynamic quasi-equilibrium at the inlet of the RCD, and keeps its speed up in the section located within the Reducer. In concrete terms, this means:

  - A moderate acceleration

  - The absence of re-circulation areas (turbulences)

  - A uniform distribution of steam bubbles in the flow

  - A heat exchange topology allowing a powerful enough heat transfer corresponding to the energy available in the turbine

  - The construction of a heat exchanger featuring low pressure drops so that the recovered heat might be re-injected into the boiler / vaporizer.

- During the tests conducted from June to September 2001, we found it most difficult to create the water-steam flow, i.e. to vaporize liquid water upstream from the Reducer: In a monophasic fluid, the presence of a “natural low pressure point” downstream from this same Reducer, indeed constitutes an inescapable reference point of the flow. As a matter of fact, the vaporizer behaves as a heater and inevitably also as a “compressor” because temperature and pressure (because of the imposed total volume) are linked by the dilation coefficient. The partial draining operation of the circuit necessarily entails the build-up of steam at the low pressure point that has never been located upstream from the Reducer in our preceding tests. Consequently to accomplish the development goals, we require changes from the existing piping design.

- The system will be improved in order to:

- Monitor in real-time the volumetric flow of water and steam in the “active area”

- Increase the measurements accuracy for temperature, heat power, flows, electrical power

- Reinforce thermal insulation

- Provide a data collection system with real-time calculations and appropriate software to record the results stemming from the operations.

CONCLUSION

My recommended plan is (i) to engineer, study and size a new industrial-size power generation unit using economical and zero-pollution features to convert heat into electrical power and then (ii) to build this new industrial-size power generation unit. This plan is made of 2 phases:

- Phase#1: Theoretical Deepening, Engineering and Sizing of the power generation unit that will include:

- Development of an analytical model of the unit

- All calculations regarding the sizing of the target power-generation unit,

- Validation of the economic viability of the target unit

- Phase#2: Construction and testing on the new power generation unit

- Complete monitoring and data collection of the process

# Maurice-Xavier Francois