February 26, 2001

Murray O'Neil

Enron Capital & Trade

121 SW Salmon 3WTC 0306

Portland,  OR   97204

Subject:		Self Audit of Settlement Quality Meter Data

As a Scheduling Coordinator (SC) who submits Settlement Quality Meter Data (SQMD) to the ISO, you are responsible for assuring that the SQMD meets the ISO Tariff and Metering Protocol requirements.

The Metering Protocol requires that your SQMD is accurate, complete, and timely.  One of the most important actions to ensure accurate and complete SQMD is for you to “…at least annually conduct (or engage and independent, qualified entity to conduct) audits and tests of the Metering Facilities of the SC Metered Entities that it represents and the Meter Data provided to the SC in order to ensure compliance with all applicable requirements of any relevant Local Regulatory Authority.  SC’s shall undertake any other actions that are reasonably necessary to ensure the accuracy and integrity of the Settlement Quality Meter Data provided by them to the ISO” (Section MP 4.2.1 (a)).

Your audit is significant in that it provides you the opportunity to evaluate the meter data processing systems of your participants as well as any metering facility (generation or load) that you represent.  To aid in the process of performing your audit we have scheduled a conference call , on March 8, 2001, to address questions and clarify any issues you might have with the audit scope.  It would be helpful to have your questions at least one week in advance of the conference call so we can clearly address your issues. Please send all questions to Jeanette Plumley at jplumley@caiso.com.

As with last year’s successful audit, we request that you provide an audit plan by April 13, 2001.  Your completed audit report must be submitted to the ISO by close of business on September 28, 2001.

Attached is a list of the minimum requirements for you to use in developing the audit plan for your activities.  Also, guidelines for documenting your report are provided. The timeline and audit requirements can also be located on our website at www.caiso.com/clientserv/metering under the Settlement Quality Meter Data (SQMD) section.  If you have any questions,  please feel free to contact me.  I can be reached at gperez@caiso.com or 916-351-2135.

Sincerely,

Glen Perez

California ISO, Data Quality Manager

Attachments:  A:  Audit Timeline

B:  Audit Guidelines and Requirements