Key Points of Comparison

CALIFORNIA	V.	TEXAS

Generation Market

- Almost no new power plant construction since mid-80s.

- Most of CA fossil fleet is over 30-40 years old, and has very low fuel efficiency and high forced outage rates.

- Siting process is long and difficult, including both local and state land use, environmental and air quality issues.

- Current reserve margin (all capacity) close to zero, with no actual (real-time) operating reserves above actual demand.

- Demand increased 5,500 MW from 1996-1999

- 672 MW of new generation added from 1995-2000

- 4,000 MW of planned generation expected by Summer 2002

- Lead time to construct new generating plants:  7 years

- Imports almost 25 percent of peak power requirements

- 23 new plants built since 1995, for 8,652 MW, with more under construction.

- Most of TX power plants are much younger and have higher fuel efficiency and low forced outage rates.

- Siting process is relatively fast, involving state air and water regulation and local land use issues.

- Reserve margins above realistic demand forecasts, and operating reserves well above actual demands.

- Demand increased almost 13,000 MW from 1994-2000

- 5,700 MW of new generation added from 1995-2000

- 10,000 MW of planned generation expected by Summer of 2002

- Lead time to construct new generating plants:  2-3 years

- Imports less than 1 percent of peak power requirements

Wholesale Market

- Under federal regulation

- Power pool arrangement guarantees highest prices to generators, passed on to consumers

- Spot market purchases leave consumers vulnerable to price spikes during peak demand

- Until recently, utilities bought in spot market only, with highest bid setting market-wide price

- Largely exempt from federal regulation

- Bilateral contracts allow for greater pricing flexibility and better long-term planning

- Long-term contracts shield customers from price volatility.  Very limited spot market activity anticipated

- Bilateral contracts are standard with some spot market purchases

Retail Market

- Retail choice began before market was truly competitive

- Wholesale and retail market restructuring combined in just 2 years

- Stranded costs paid off in 2-5 years

- Customer rate caps removed once stranded costs are paid off

- Retail rates were frozen, so as energy prices skyrocketed, utilities couldn’t raise rates to cover energy costs.

- Retail rate structure (stranded cost recovery charge) kept retail competitors from effectively competing on price against the incumbent utility.

- Most customers never see price signals about true value of energy, so have no incentive to conserve or change usage patterns.

PUC can delay retail choice until competitive market exists

- Retail markets set to open 5 years after wholesale restructuring

- Stranded costs paid off over 12 years

- No correlation between stranded cost repayment and price to beat, which must be offered to all small customers until January 1, 2007

- Retail rates will drop by 6 % from 12/31/01 base rates and hold there as a cap for 5 years; may be adjusted twice yearly for significant changes in fuel or purchased energy costs.

- Price-to-beat structure builds in competitive “head-room” for competing retail electric providers.

- Price signals will change as energy market costs change, and competitors have enough flexibility to create diverse price and feature offerings.