# West Desk

# February 22nd

# El Paso – Line Pack: 6.329 Yesterday’s:  6.364

# Normal Line Pack range is 6.2 to 6.6 with a 6.5 average.  They are currently neither injecting nor withdrawing @ Washington Ranch (max withdrawal 200.000).  San Juan lateral has 103.075 available capacity West, 429 available capacity East.   Bondad has 112.863 available capacity.

El Paso Field Services  -  No customer advisories currently in effect.

Transwestern – No customer advisories currently in effect.

TransColorado – No customer advisories currently in effect.

PGT – St 7 down to 2120 o n 2/24, Kingsgate restricted to 2.340

PG&E – OFO for High Inventory for the 21st.  PG&E is currently forecasting inventories to be on target for the next several days.  PG&E is forecasting storage to be a 123.000 withdrawal for today on sendouts of 2.730 and withdrew 70.000 yesterday on sendouts of 2,539.  They’re forecasting a injection of 30,000 at Wild Goose for today (maximum withdrawal @ 200.000), yesterday the injection was 65.000.

Williams Field Services – No customer advisories currently in effect.

Northwest Pipeline – Clay Basin Receipts were @ 0 for the 21st and back to normal for the 22nd.  Chehalis has 402.624 available capacity, Kemmerer has 32.406 available capacity @ 495.000.

Socal –  Withdrew 90.000  on Sunday on sendouts of 2.956, withdrew 213.000 on Saturday on sendouts of 2.592 and withdrew 792.000 on Friday on sendouts of 3.243.   Forecasting a withdrawal of 191 for Monday on sendouts of 2.960.  Currently El Paso Topock is scheduled  @ window capacity.

CIG – No customer advisories currently in effect.

Questar – Feb Fidlar maintenance postponed to March 8-10.

Kern – No customer advisories currently in effect.

Trailblazer – No customer advisories currently in effect.

# Hydro –  see attached

Power – Coal Plants:

Outage     Facility                  Owner                Location            MW  Restart

Jan 31     Navajo 2             SRP                    Southwest        750  Restart 3/3

Jan 24     Cherokee            PSC                   Rocky Mtn       158  Restart 2/25

Feb 7       San Juan 3         PNM                  Southwest         488  Restart 3/6

Feb 8       Cholla 3            APS                    Southwest         260  Restart 3/20

Feb 16    Springerville                                Southwest       380  Restart 2/23

Feb 17     Centralia 1        Pacificorp          Northwest      670   Restart 2/22

Nuclear:

WNP #2 @ 100%.

Diablo Canyon 1 is @ 100%

Diablo Canyon 2 is @ 100%

Palo Verde 1 @ 100%

Palo Verde 2 @ 100%

Palo Verde 3 @ 100%

Comanche Peak 1 @ 100%

Comanche Peak 2 @ 100%

South Texas 1 @ 93% coasting down for refueling

South Texas 2 @ 100%