## Slide 1: Gen Issues Task Force
5/08/01

## Slide 2: OOM Information Proposal
ISO dispatchers post daily to the web OOM request.
Example of Posting:
  TP-XX request XXXX out of merit for local security. 138kv load pocket at 07:25 5/1/01

## Slide 3: OOM Information Proposal
All OOM request received by the ISO dispatchers are sent to the MMU for review.
MMU reviews dispatcher log book for any additional information needed on the OOM request.

## Slide 4: DMNC Test
The 5 day notification time is consistent with A-1 notification requirements for transmission outages.
The 5 day notification only applies to generators whose capacity is greater than 100 MW.
If a greater than 100MW generator is scheduled within 100 MW of its current DMNC in the DAM, then the five day notification requirement is waived.

## Slide 5: DMNC Test
When the unit is scheduled in the DAM within 100 MW’s of its current DMNC, it has until hour 14:00 of the day prior to the energy day to notify the ISO Scheduling Department of the DMNC test.
A unit is expected to bid into the hour-ahead market (BME) so that the unit will be scheduled at the level of the DMNC test.
Additional information regarding scheduling DMNC test refer to Tech Bulletin #29.

## Slide 6: SCUC changes 2/2/01
The changes made to SCUC have reduced the number on OOM requests by TO’s to ensure ISO Security.
TO will notify the ISO of any actual or predicted overhead or underground cable constraints.

## Slide 7: SCUC changes 2/2/01
TO’s are responsible for local 138kv system constraints.

## Slide 8: Regulation performance MPT/PSF
Survey found that PI’s ranged from .34 to .99
>95% of contracted MW’s had a PI > .75
Goal- to encourage more participation in the regulation market by making it an incentive based vs. a penalty based program.

## Slide 9: Regulation Performance MPT/PSF
MMU will review performance and work with poor performers to identify reasons for poor performance and allow for performance improvements.
Payments based on PI will reduce costs to the loads.
NYISO does not want to chase providers out of the market before MMU has an opportunity to work with the poor performers.

## Slide 10: Regulation Performance MPT/PSF
NYISO recommends that the initial MPT and PSF values be set to 0, through the summer of 2001.

## Slide 11: Bringing Tripped Units Back On Line in R/T
Generating Units with a DAM schedule that trip off-line in R/T have their limits set to zero in BME and SCD.
When a Unit restores itself to operable condition after a trip, it often has to wait for BME to “see” its non-derated bid before getting a schedule to run.
This delay temporarily removes available MW’s from R/T operation, and exposes the unit to Balancing Energy costs.
Operating Procedures are being developed to allow SCD to recognize the returned unit as on-line, and provide base points.

## Slide 12: Bringing Tripped Units Back On Line in R/T
Unit must have a DAM schedule.
Generator operator must communicate estimated time of unit availability to ISO, and coordinate unit ramp with ISO dispatchers.
ISO Dispatchers will review and approve or disapprove removing unit derate.

## Slide 13: Bringing Tripped Units Back On Line in R/T
Unit will have its limited increased in SCD, and will be set as Off-Dispatch regardless of bid, until the unit receives a new BME schedule.
Limits in SCD will be set from estimated unit ramping information provided by generator operator, so close coordination with ISO Dispatcher is crucial.
Unit will be set OOM until it receives a new BME schedule.