## Slide 1
What About the California Wholesale Market Really Needs Fixing?
August 24, 2000
Mary Hain
Director, Federal Regulatory Affairs
Enron Corp.
Notes: <number>
<footer>
<header>
09/27/25

## Slide 2: Summary
High prices in peak periods are the result of scarcity and are necessary to incent needed generation investment
California Retail/Wholesale Market Interaction
  Retail customers are benefiting from the low prices during shoulder months caused by wholesale competition
  The major problem is in the retail market where high peak period wholesale prices have not been mitigated by forward purchases
  Underscheduling in forward market causes high demand and reliability problems during real time
-2-

## Slide 3: Summary (Continued)
Some wholesale market remedies are necessary now
  The FERC should analyze whether there are Market Power Concerns Associated with Times of Scarcity and then determine appropriate level of Price Caps
  Publicize Market Information
  Encourage structure/ technological innovation to enhance demand side participation

## Slide 4: Agenda
Supply and demand data showing scarcity
Current supply/demand economics
Background - ISO and PX market structure
Regulatory overlay
Explanation of retail market problems
Wholesale market issues requiring staff investigation
Recommendations

## Slide 5: Western Supply and Demand Fundamentals
-3-

## Slide 6: Western Supply and Demand Indicates Scarcity
California competes vigorously with the rest of the growing west for increasingly scarce supplies
Load growth fueled by strong economy
No significant new generation in California since the 1980s
Market was fooled by excellent hydro years
The existing thermal generation fleet is aging: 61% > 30 years
The complete lack of available NOx credits may have prevented generators from running

## Slide 7: California Competes with the Rest of the West for Scarce Supplies
-13-
Ample long distance transmission
Traditional Northwest players’ best opportunities often outside of the NW
  Powerex Accesses Alberta Pool, Northwest, California
  BPA often prices daily offer at PX Index price
  Spread between COB and Northern California close to $0/MWh
Turbine market is national --> Northwest and California must compete with all of North America for new resources

## Slide 8
-4-

## Slide 9
-5-

## Slide 10
-6-

## Slide 11
WSCC Loads (GW)
California is not an island and cannot develop a self-contained solution.
5

## Slide 12
WSCC Capacity Additions
-10-
Notes: <number>
<footer>
<header>
09/27/25

## Slide 13
-11-

## Slide 14: Has Recent Unusually Strong Hydro Fooled Us?
-7-
Volume Runoff Percent of Normal
Notes: <number>
<footer>
<header>
09/27/25

## Slide 15
-9-

## Slide 16
-8-

## Slide 17
21

## Slide 18: In Sum, Scarcity is Real - Generation is Needed
-11-
Scarcity is real
Energy prices driven by scarcity
New generation required

## Slide 19: Current Supply/Demand Economics

## Slide 20: FERC Regulatory Overlay
Allowed Cal ISO to set “bid” caps
  Price reduced from $250 to $750 on 10/1/99
  Reduced from $750 to $500 on 6/29/00
  Reduced from $500 to $250 on 8/7/00
Cal PX - recently reduced from $2500 implicit cap to $350 explicit cap

## Slide 21: Price Controls Will Perpetuate Scarcity
-12-
Power plants are needed; Demand is still not very price responsive
Operating costs of plants are increasing
  Gas prices high
  Gas generally is on the Margin in WSCC (I.e., Gas-fired generation sets the electricity generating market price)
Power plant economics will keep generators from investing in generation if they anticipate price cap
In state and out of state generation will be incented to sell out of state

## Slide 22
20

## Slide 23: Power Plant Economics
Investors will not invest in power plants if they can only earn short term marginal cost (I.e., the cost of fuel and operation and maintenance without earning a return on their investments)
The $250 price cap may not provide a return on investment

## Slide 24: Peaker Plant Economics
-14-
Technology: GE LM 6000
Fuel: Natural Gas
Heat Rate: 10,000 Btu/Kwh
Capacity: 48 MW
Capital Structure:
  60% Debt @ 9%
  40% Equity @ 18%
  15 Year Amortization
Total Cost to Build: $27 million
Annual Capital Recovery: $3.7 million
Annual Fixed O&M: $1.5 million
Annual Total: $5.2 million
Notes: <number>
<footer>
<header>
09/27/25

## Slide 25: Baseload Plant Economics
-17-
Technology: GE Frame 7FA Combined Cycle
Fuel: Natural Gas
Heat Rate: 7,100 Btu/Kwh
Capacity: 280 MW
Capital Structure:
  50% Debt @ 9%
  50% Equity @ 15%
  15 Year Amortization
Total Cost to Build: $180 million
Annual Capital Recovery: 24 million
Annual Fixed O&M: 3 million
Annual Total: $27 million
Notes: <number>
<footer>
<header>
09/27/25

## Slide 27
18% ROE
-15-

## Slide 28
-16-

## Slide 29
15% ROE
-18-

## Slide 30
-19-

## Slide 31: Load Responsiveness
-20-
2700 MW of Load theoretically available under the Interruptible Tariffs
New Load Management Programs Have Been Expensive and Small
  100 MW to 300 MW of Shared Savings with IOU’s When Prices Exceed $250/MWh
  230 MW in CAISO Participating Load Agreement with Capacity Costs of $750/MWh and Energy Costs Up to $750/MWh
  Seldom Used - Most Participants Already Under Interruptible Tariff

## Slide 32: The ISO’s Demand Side Program Has Not Been Very Effective
The proponents of price caps claim that as soon as the demand side is "workably competitive" then there is no need for price caps
But if ISO sets the caps too low it will not get demand response
The utilities have up to 2700 MW of available interruptible load, yet only a small fraction responds when called (600 MW)
Uncut loads willingly lose value of up to $1,500 per MWh
Thus, during times of scarcity, the value of energy is at least $1,500 per MWh

## Slide 33: Price Controls are Detrimental to Investment and Other Markets
-22-
Merchant generation subject to volatile commodity prices -- caps will inhibit investment
Creates asymmetry between load response and generation
Suppliers will sell outside California where markets are more predictable and prices are higher.
Because of the interdependent linkages in California’s electric market, cannot change one aspect of structure without impacting all others
Uncertainty in the marketplace will dry up the growing forward markets

## Slide 34: Background ISO and PX Market

## Slide 35: California Independent System Operator
Real Time Energy Market - Based on complex computer model
Day ahead and hour ahead ancillary service market
Day ahead and hour ahead transmission market

## Slide 36
Load
Generation
ISO
Linkages in California’s Electric Markets
A/S
Ex Post Price
MWh
Capacity $
Ex Post Price
MWh
Capacity $
A/S
9

## Slide 37: California Power Exchange
Day Ahead Energy Market - Single price auction based on cross of supply and demand bids.
IOUs all energy purchased from this market deemed “prudent” by PUC.

## Slide 38
Load
Generation
ISO
PX Day Ahead
MWh
D.A. PX Index
D.A. PX Index
MWh
A/S
Capacity $
MWh
Ex Post Price
Capacity $
MWh
Ex Post Price
A/S
Linkages in California’s Electric Markets
10

## Slide 39
PX Block Forward
Load
Generation
ISO
PX Day Ahead
Fixed Price
MWh
Fixed Price
MWh
MWh
D.A. PX Index
D.A. PX Index
MWh
MWh
Ex Post Price
A/S
Capacity $
MWh
Ex Post Price
A/S
Capacity $
Linkages in California’s Electric Markets
11

## Slide 40
PX Block Forward
Load
Generation
ISO
PX Day Ahead
Non CAISO MARKET
Fixed Price
MWh
Fixed Price
MWh
MWh
Negotiated Price
MWh
D.A. PX Index
D.A. PX Index
MWh
MWh
Negotiated Price
MWh
Ex Post Price
A/S
Capacity $
MWh
A/S
Ex Post Price
Capacity $
Linkages in California’s Electric Markets
12

## Slide 41: California Regulatory Overlay
Assembly Bill 1890
  Provided mechanism for recovery of stranded costs.
  Required divestiture of thermal generating resources.
  Froze IOU retail rates until either April of 2002 or stranded costs are recovered, whichever is sooner.

## Slide 42: Recent California Events
CPUC limits on hedging in the “forward” (longer term) market
8/03/00 CPUC allowed PG&E and SoCal Edison to do bilateral deals in forward market (subject to previously established hedging limits) if PX schedules the deal
CPUC performs expedited, upfront prudence review
CPUC considering similar proposal by SDG&E

## Slide 43: Retail/Wholesale Market Interaction

## Slide 44: Are Retail Prices High and Do They Indicate Wholesale Market Failures?
DMA admits that there is workable competition for 98-99% of the total annual hours
It assumes that market power is present when bids exceed only short run marginal cost rather than considering long term returns, or other market power indices.

## Slide 45
-15-

## Slide 46
-16-

## Slide 47: Do these Prices Warrant Wholesale Market Intervention?
Overall, even with scarcity conditions, retail prices have not been significantly increased due to wholesale competition in California (for SDG&E 10-20 percent annual increase, possible 10-20% overall decrease when adjusted for SDG&E rebate)
Is it appropriate to institute wholesale price controls to mitigate retail price risk?
Wholesale futures prices are behaving rationally regardless of these short term retail prices

## Slide 48
-19-
The Market Assumes That Wholesale Prices Are Decreasing with New Resource Additions

## Slide 49
*Estimates for QF contract prices based on Lawrence Berkeley Laboratory Report published in 1996.
-21-
The Market Assumes That Wholesale Prices Are Decreasing with New Resource Additions

## Slide 50: Lack of IOU Hedging Has Distorted Price Impacts
The IOUs had a choice of buying their power in the PX Block Forward, PX Day Ahead, PX Day Of, and CAISO Ex Post
Hedging limits prevented some purchases of forward energy
IOU claims notwithstanding, there have been significant opportunities to hedge forward prices
  ~ 1800 MW in entire PX block forward for SP15 in June, 2000
  Only ~800 MW for SCE out of 2,200 MW authorized
  Clear market signals to hedge
Fear of prudence review kept IOUs from hedging the risk of day ahead and real time prices

## Slide 51
22

## Slide 52: Stranded Cost Recovery Incents IOUs to Underschedule in the Forward Market and Buy in the Spot Market
CTC payments can theoretically be increased by underscheduling demand in the PX Day ahead markets
But, underscheduling demand increases ISO prices and reduces reliability
  ~ 30% of ISO load in real time market on 06/14/00
  Only 100 MW of blackouts--a remarkable achievement
13

## Slide 53
Gross Underscheduling of Load Is a Real Problem
If all power scheduled in PX Day Ahead market, except for small imbalances, market should be in equilibrium: PX DA, PX HA, ISO Ex Post
14

## Slide 54
Gross Underscheduling of Load Is a Real Problem
In actual fact, there is an incentive to underschedule, but consequence is pressure on real time reliability as Ex Post load grows.
15

## Slide 55
Gross Underscheduling of Load Is a Real Problem
But when there is massive underscheduling in a tight supply market, the ISO may have to take drastic action.
Increasing load
to Ex Post
16

## Slide 56
Gross Underscheduling of Load Is a Real Problem
And, when load is growing faster than forecasts, the consequences are amplified.
Increasing load
to Ex Post
17

## Slide 57
Gross Underscheduling of Load Is a Real Problem
When price caps are reduced to $250/MWh in a scarce supply market, ISO may not be able to maintain reliability due to magnitude of Ex Post load.
18

## Slide 58: Underscheduling’s Effects on Reliability Are Observable
-12-
Stage 1 Emergency
  In Anticipation of Low Reserves
  Users Asked to Voluntarily Reduce Consumption
  15 Times From May 22 to August 5
Stage 2 Emergency
  Reserves Fall Below 5%
  2700 MW of Interruptible Load Curtailed
  9 Times From May 22 to August 5
Stage 3 Emergency
  Reserves Fall Below 1.5%
  Firm Load Cut - Rolling Blackouts
  0 Times From May 22 to August 5
Notes: <number>
<footer>
<header>
09/27/25

## Slide 59: Wholesale Market Remedies Necessary Now
Analyze whether there are market power concerns associated with times of scarcity and then determine appropriate level of price caps
Publicize market information
Encourage structure/ technological innovation to enhance demand side participation
Don’t mistake San Diego’s failure to hedge as failures in the wholesale market
Decide whether FERC has a role in the underscheduling issue: Are the California utilities exercising monopsony power by underscheduling load into the PX day ahead market?
19

## Slide 60: ISO Should Do More Rigorous Market Power Analysis
The Market Analysis Unit report and the UC Energy Institute Report wrongly uses pricing above short term marginal cost to conclude that there is market power
Some market power analysis failed to take into consideration changes in supply and demand like the decrease in hydro generation
To distinguish market power from scarcity, FERC should instruct the ISO to use rigorous analytical measures to determine market power
Under such measures Enron does not have market power

## Slide 61: ISO Should Allow Scarcity Rents
At points of scarcity (e.g., at Stage 2 when you’re getting low on reserves and you’re cutting load) marginal cost is no longer a reasonable price.
Rather when you reach scarcity you should price scarcity rents at the value of energy (e.g., $1,500 as illustrated in the interruptible market)

## Slide 62: To Investigate the Source of High Prices FERC Should Review:
High gas prices
Below normal Hydro
Lack of NOx credits
High demand
How many MWs did the CA ISO procure during the Summer 2000 compared with 1999?
Has PG&E changed its bidding behavior associated with its Hydro facilities in 2000?
Were baseload facilities operated differently in 2000 than in 1999?

## Slide 63: To Investigate the Source of High Prices FERC Should Review (Continued)
Were any generation plants off-line due to unplanned maintenance during Summer 2000?
Were other Western power markets prices higher (year-on-year)?
What options did SDG&E have to "hedge" its retail rates?
What were prices in the CAL PX block forward market on Jan 15, 2000 and May 15, 2000?
FERC and the ISO should consider the regional impacts of any price caps implemented in California, such as prices not corresponding to flows

## Slide 64: Other Market Growing Pains
Only a limited number of out-of state participants can access spin and non-spin markets
Rate freeze prevents consumers from receiving price signals (I.e., some amount of load increase is illogical behavior)
Intrazonal congestion not explicitly priced--Socialized across all loads
Complex computer model used to price transmission
Relatively little transmission available in forward markets
Stakeholder board subject to political pressure
Forward market liquidity has evaporated due to price cap changes

## Slide 65: We Do Not Have All the Answers. Why?
Much information that is necessary to analyze the California PX and ISO markets is not available to markets participants
We believe that California can significantly enhance competition in its electricity markets if this information is made available

## Slide 66: Why Would Information Make the Market More Competitive?
Publishing price information would provide better price signals producing a more efficient market
Publishing generation and load information would remove competitive advantages held by monopsony load servers and generators with a large percentage of the market
Publishing transmission information would remove the ATC knowledge advantage retained by grandfathered transmission contract holders
More information would help the market to self-police

## Slide 67: Generation and Load Information That Should be Available
"After the fact" actual meter information depicting actual unit-by-unit production and consumption within each zone.
Unit outage information showing planned and forced outages.
Water levels, or hydro outputs. Weekly/monthly information.
Data on significant unit outages etc. in the peak prices hours in question.
Calls by the ISO on plants with Reliability Must Run contracts.

## Slide 68: Energy and Ancillary Service Price Information That Should be Available
All bid information in both Day Ahead and Hour Ahead Markets, including generation and load, energy and ancillary services
The information for these markets should include: initial preferred schedules, final schedules and the BEEP stack, all day ahead load and generation bids by Scheduling Coordinator

## Slide 69: Transmission Information That Should be Available
The information should include adjustment bids, day ahead schedules, hour ahead schedules, real time adjustments, actual flows, and transmission availability by category of ownership
This information should be provided for all transmission lines
Significant Intra-zonal congestion by transmission path
Data should be differentiated by existing and new, firm use transmission contracts

## Slide 70: When Should This Information Be Available?
The information listed above ought to be provided as close to "real time" as possible.
At a minimum it ought to be provided to the market within 24 hours.