## Slide 1
Oregon Public Utility Commission
August 14, 2000
Tim Belden
Vice President
Enron North America

## Slide 2: Understanding Recent Power Prices
Fundamental Summary
Generation Response
Load Response
Questions for the Future
-2-

## Slide 3: Fundamental Summary Is Power Scarce?
Load Growth Fueled by Strong Economy
Fooled by Excellent Hydro Years
Little New Generation in Recent Years
-3-

## Slide 4
-4-

## Slide 5
-5-

## Slide 6
-6-

## Slide 7
Have We Been Fooled by Unusually Strong Hydro in Recent Years?
-7-
Volume Runoff Percent of Normal

## Slide 8
-8-

## Slide 9
-9-

## Slide 10
WSCC Capacity Additions
-10-

## Slide 11
-11-

## Slide 12: California Reliability Problems
Stage 1 Emergency
  In Anticipation of Low Reserves.
  Users Asked to Voluntarily Reduce Consumption
  15 Times From May 22 to August 5
Stage 2 Emergency
  Reserves Fall Below 5%
  2700 MW of Interruptible Load Curtailed
  9 Times From May 22 to August 5
Stage 3 Emergency
  Reserves Fall Below 1.5%
  Firm Load Cut - Rolling Blackouts
  0 Times From May 22 to August 5
-12-

## Slide 13: Fundamental Summary
-13-
Scarcity is Real
Energy Prices Driven by Scarcity
New Resources Required

## Slide 14: Peaker Plant Economics
Technology: GE LM 6000
Fuel: Natural Gas
Heat Rate: 10,000 Btu/Kwh
Capacity: 48 MW
Capital Structure:
  60% Debt @ 9%
  40% Equity @ 18%
  15 Year Amortization
Total Cost to Build: $27 million
Annual Capital Recovery: $3.7 million
Annual Fixed O&M: $1.5 million
Annual Total: $5.2 million
-14-

## Slide 15
18% ROE
-15-

## Slide 16
-16-

## Slide 17: Baseload Plant Economics
Technology: GE Frame 7FA Combined Cycle
Fuel: Natural Gas
Heat Rate: 7,100 Btu/Kwh
Capacity: 280 MW
Capital Structure:
  50% Debt @ 9%
  50% Equity @ 15%
  15 Year Amortization
Total Cost to Build: $180 million
Annual Capital Recovery: 24 million
Annual Fixed O&M: 3 million
Annual Total: $27 million
-17-

## Slide 18
15% ROE
-18-

## Slide 19
-19-

## Slide 20: Load Responsiveness
-20-
2700 MW of Load on Interruptible Tariff
New Load Management Programs Have Been Expensive and Small
  100 MW to 300 MW of Shared Savings with IOU’s When Prices Exceed $250/MWh
  230 MW in CAISO Participating Load Agreement with Capacity Costs of $750/MWh and Energy Costs Up to $750/MWh
  Seldom Used - Most Participants Already Under Interruptible Tariff

## Slide 21
*Estimates for QF contract prices based on Lawrence Berkeley Laboratory Report published in 1996.
-21-
The Path from Regulated to Market Based Wholesale Prices

## Slide 22: Where Do We Go From Here?
-22-
Bust and Boom Cycle of Electricity Prices
Merchant Generation Subject to Volatile Commodity Prices -- Caps Will Inhibit Investment
Or Ratebase New Resources With Guaranteed Capital Recovery -- Stranded Cost Problem!
What Will It Take to Get the Demand Side Involved in a Significant Way? Technological Change and Price Signals!