## Slide 1: California Energy Solutions Group
Pipelines and Power Generation
William J. Keese, Chairman
California Energy Commission
May 10, 2001

## Slide 2: Topics
The Power Generation Picture and Impact on Natural Gas Demand
Infrastructure Responses
Outlook for 2001 and Beyond

## Slide 3
Power Generation in Perspective...
Power generation can account for as much as 40% of natural gas consumed in California.
Forecasted CA Natural Gas Demand in MMCF/D
Power generation in surrounding states impacts gas available to California.

## Slide 4
Proposed Generation Within the Western Systems Coordinating Council - MW
http://www.energy.ca.gov/electricity/wscc_proposed_generation.html

## Slide 5: Power Plants in California

## Slide 6
Pastoria - Enron (750 MW)
High Desert - Constellation (720 MW)
La Paloma - PG&E (1050 MW)
Elk Hills - Oxy/Sempra (500 MW)
Sunrise - Mission Energy (320 MW)
Midway Sunset - Midway Cogen (500 MW)
Antelope Valley - Enron (1000 MW)
Apex - Mirant (1150 MW)
Moapa - Duke (1200 MW)
Meadow Valley - PG&E (1000 MW)
Arrow Canyon - Reliant (500 MW)
Crystal - Calpine (760 MW)
El Dorado - Reliant/Sempra (480 MW)
Under Development
10
1
2
3
4
5
6
7
8
9
11
12
CEC Approved
Under Construction
13
Kern River
Transmission
PG&E
Mojave
SoCal
3
1
2
3
4
5
7
8
9
10
11
12
6
13
Potential Power Generation Along Kern River/Mojave
Operational
Source: Kern River

## Slide 8: Current Interstate Delivery Capacity MMcfd
PG&E-GTN@Malin: 1,930
Kern River: 700
Transwestern@ Needles: 1,090
El Paso@Topock: 2,080
El Paso@Ehrenburg: 1,210
Total Delivery Capacity: 7,010
Total = 7,010 MMCF/D

## Slide 9: Current California Receipt Capacity MMcfd
PG&E
Redwood-Malin 1,905
Baja Path 1,140
Kern River/Mojave (400)
Needles (400)
Topock (1,140)
SoCalGas
Needles 750
Hector Road 50
Topock 540
Ehrenburg 1,210
Mojave 400
Needles (300)
Topock (400)
Kern River 700
Winter receipts at Malin drop to 1500 to 1750 MMcfd due to increased demand in the Pacific NW.
In addition, there is about 1,000 MMcfd in California production
Total = 6,700 MMCF/D

## Slide 10
California Storage Facilities
Los
Pleasant Creek
S
S
Medanos
McDonald Island
S
S
Wild Goose
S
Lodi Gas Storage
S
S
S
S
Honor Rancho
Playa Del Rey
Aliso Canyon
Goleta
Map not to scale

## Slide 11: Interstate Pipeline Expansions
Kern River
    135 MMcfd by July 1, 2001
    2001: 900 MMcfd expansion for operation in 2003
PG&E - GTN Expansion
    200 MMcfd partially available this winter, rest by summer 2002
    April 2001 - Open season for 2003 service
    Within the next 10 years, 1,000 MMcfd expansion expected
Questar Southern Trails Pipeline
    90 MMcfd to California border
    126 MMcfd to Los Angeles Basin
    By spring 2002

## Slide 12: Interstate Pipeline Expansions (Cont.)
El Paso Natural Gas Company
  Plains All American Pipeline
    By late August would have 230 MMcfd in capacity added from the conversion to a gas line from a crude line.
    Pipeline capacity could be increased to 500 MMcfd
  Recent open season produced 76 responses for 4.5 BCF/D of requested capacity to California.
Transwestern Pipeline Company
  Presently holding open season for 150 MMcfd - Operational in June 2002
North Baja Pipeline
  500 MMcfd in capacity
  Operational by September 2002
  Will require El Paso and possibly Transwestern expansion

## Slide 13: Interstate Pipeline Expansions (Cont.)
Sonoran Pipeline - Kinder Morgan and Calpine
  Phase one: 750 MMcfd pipeline from San Juan Basin to California border at Needles
    Completion summer 2003
  Phase two: extends Phase one with 1,000-1,500 MMcfd from Needles to San Francisco Bay Area
Ruby Pipeline
  750 MMcfd pipeline from the Rockies to northern California, near Sacramento
    Would begin service in late 2003

## Slide 14: Instate Capacity Expansions
SoCalGas
Utility currently planning to expand system by 175 MMCF/D.
  85 MMcfd at Wheeler Ridge
  50 MMcfd at North Needles
  40 MMcfd on Line 85
Increase storage availability by 24 billion cubic feet.
  10-12 BCF from Montebello (one time availability)
  14 BCF from Aliso Canyon and La Goleta (Increases storage capacity in long term).
PG&E
PG&E presently holding open season to determine interest in adding new pipeline and storage capacity to its system.
Redwood Path (Line 400/401)
200 MMcfd by adding more pipeline capacity
200 MMcfd by adding more compression
Baja Path (Line 300 A&B)
200 MMcfd via combination of new pipeline and
compression

## Slide 15: What About This Year?
Scenario Analysis Assumptions
Base case
  Anticipated hydro conditions
  SONGS out until mid-June
  No plant retrofits this year.
Alternative Scenarios
  1) High unscheduled maintenance, SONGS outage extended to 10/1/01
  2) CA Hydro reduced by 10%, SONGS outage extended to 10/1/01
  3) CA Hydro reduced by 10%, 1,400 MW of QFs out for year
  4) Worst hydro conditions, ISO retrofit maintenance schedule, QFs out for the year.

## Slide 16: 2001 Electric Generation Scenarios- PG&E

## Slide 17: 2001 Electric Generation Scenarios- SoCalGas

## Slide 18: 2001 PG&E Supply and Demand - Base Case

## Slide 19: 2001 PG&E Monthly Storage Levels
PG&E has physical ability to place natural gas into storage for core and noncore demand under main adverse scenarios
CPUC lets PG&E bill storage
Bankruptcy judge says gas part of company not at issue, so PG&E should have the ability to purchase natural gas for storage
PG&E’s problem will be the price
Noncore should “decide” to put natural gas into storage

## Slide 20: 2001 SoCalGas Supply and Demand -Base Case

## Slide 21: 2001 SoCalGas Monthly Storage Levels
Assumptions
  June 2001: 12 Bcf of storage at Montebello
  July 2001: 100 mmcfd additional receipt capacity from current locations
  Dec 2001
    Goleta/Aliso Canyon storage: 14 Bcf cushion gas to working and 14 Bcf additional capacity
    Pipeline expansion (Wheeler Ridge, Line 85 & N. Needles) totaling 125 mmcfd

## Slide 22: Natural Gas Storage for Summer 2001 -Electric Generation
Core customers
  PG&E: 33 Bcf
  SCG: 70 Bcf
Heat storms
  PG&E : 2.1 Bcf
  SoCalGas: 13.0 Bcf
  SDG&E : 0.3 Bcf

## Slide 23: Futures Prices - Generators and Storage
Electric Generators face these price signals
  Low incentive to put gas in storage
  Without gas in storage, more demand strains pipeline capacity for all customers
With storage- increases supply options
Without storage - increases price pressure for all customers

## Slide 24: Conclusions
Gas availability will be tight this summer at best.
Natural gas demand continues to grow.
Pipeline capacity and storage are critical to meeting needs.
Some capacity relief expected by this winter.
Interstate pipeline companies are taking steps to augment capacity.
Current Focus….
  Address issues concerning intra-state infrastructure expansion
  Concerns with electric generators placing gas in storage

## Slide 25: What to Watch for
Status of QFs is most important
  3,000 - 10,000 MW could be out
Weather: Pray for a cool summer
  About 4,500 MW swing from an average to hot temperature year
Injections into So. California storage
  Is storage below 20 Bcf after April?
  Is storage above 70 Bcf by Nov. 1?
Are pipe additions proceeding at their expected pace?