## Slide 1: Western Grid Constraints
Driven by increased production in the Western Canadian Sedimentary Basin and the San Juan Basin, capacity in the western U.S. increased by 52% between 1990 and 1996. California was the largest beneficiary of this excess capacity.
However, over the 1999-2000 period, as a result of the large capacity increase the region had the least amount of capacity growth in the United States.
Macroeconomic and demographic trends are changing this situation. California, Arizona, and Nevada have had some of the highest population growths in the nation, sustaining rates of 26%, 3.2%, and 4.7%. Population growth is closely linked to strong economic growth in these states.
The resulting strain on the energy infrastructure has led to some of the largest increases in new generation and pipeline expansion projects in the country. While pipeline utilization rates have exceeded 90%, 36,829 MWs will come on line between 2001 and 2006.
California, no longer the beneficiary of excess capacity, has experienced significant increases in energy prices.

## Slide 2: Debottlenecking California
Wide basis spreads continue to be a leading indicator of the need for new transportation into the state.
While California has approximately 7 bcf in interstate receipt capacity, it only has 6.44 bcf in intra-state take-away capacity.
This deficit will worsen over time as 12.8 GW of new gas-fired generation comes on-line over the next four years to meet the states burgeoning power needs. The problem will be particularly acute during 2001 and 2002.
Most of the interstate capacity relief will come on-line in 2003: Ruby, Kern, PGT, and Sonoran
Most of these expansions are being financed by generators, and are by no means certain.

## Slide 3: Increased Power Needs Driving California Gas Demand
Source: ENA Long Term Fundamentals
New Gas Fired Generation
Incremental Pipeline Capacity to Border
Pipeline Capacity Growth Will Be Slow Relative to New Power Generation

## Slide 4: Approximately 3.5 Bcf/Day in New California Pipeline Capacity
 | Existing | 2001Q3 | 2001Q4 | 2002 | 2003 | TBD | TOTAL
CIG Ruby | - | - | - | - | 750 |  | 750
El Paso | 2,890 | - | - | - | - |  | 2,890
Kern | 700 | 135 | - | - | 900 |  | 1,735
Mojave | 400 | - | - | - | - |  | 400
PGT | 1,930 | - | - | 200 | 300 – 500 |  | 2,430 – 2,630
Sonora I & II | - | - | - | - | 750 – 1,000 | 1,000 | 1,750 – 2,000
Southern Trails | - | - | - | 80 – 120 | - |  | 80 - 120
Trans-western | 1,090 | - | - | 150 | - |  | 1,240
TOTAL | 7,010 | 135 | - | 430 - 470 | 2,700 – 3,150 | 1,000 | 11,275 – 11,765
Wheeler Ridge, CA
Blythe, CA/
Ehrenberg, AZ
All Capacity Figures in MMCF/day
Malin, OR
PGT
CIG Ruby
Kern River
Transwestern
El Paso North/Mojave
Sonora I
North Needles, CA
El Paso South
Reno, NV
Wild Goose Storage
Antioch, CA
Southern Trails
Dagget, CA
Sonora II
Topock, AZ

## Slide 5: PG&E and SoCal Gas Take-Away Capacity
Blythe, CA/
Ehrenberg, AZ
Topock
All Capacity Figures in MMCF/day
Malin
PGT
Kern River
El Paso South
North Needles
El Paso North
Transwestern
Dagget, CA
 | Existing | 2001Q4 | TOTAL
Blythe | 1,210 | - | 1,210
Topock | 540 | - | 540
N. Needles | 750 | 50 | 800
Hector Rd. | 50 | - | 50
Wheeler | 680 | 85 | 765
Line 85 | 150 | 40 | 190
N. Coastal | 120 | - | 120
Kramer Junction | - | 200 | 200
TOTAL | 3,500 | 375 | 3,875
 | Existing | TBD | TOTAL
Line 300 – Baja | 1,140 | 200 | 1,340
Line 400/401 – Redwood | 1,803 | 400 | 2,203
TOTAL | 2,943 | 600 | 3,543
PG&E Capacity
So Cal Gas Capacity
Wheeler Ridge
Antioch, CA
PG&E Redwood Path
PG&E
Baja Path

## Slide 6: California Conclusions
With increased production and demand, and the resulting build-out in pipelines, there will be a capacity glut post-2003
Basis spreads could return to pre-winter 2000 levels with the resulting effect on transport values
Of fundamental importance will be financing for the pipeline expansions
  None of the 2003 expansions are certain
  Generators are the primary backbone for the financing
  Power plant economics may change such that financing dries up
  Who will take their place?